REPUBLIC OF GHANA

MINISTRY OF LABOUR, JOBS AND EMPLOYMENT

PROCUREMENT OF GOODS

PRICE QUOTATIONS

Accra, Ghana

September, 2026

i

Table Contents

Table Contents	i

Introduction and Instructions	1

Section I. Invitation for Sealed Quotation	2

Section II. Conditions of Contract	3

Section III. Form of Contract	7

Section IV. Sample Forms	9

Price Schedule for Goods Offered from Abroad	10

Price Schedule for Domestic Goods Offered from within Ghana	…….11

Section V. Schedule of Requirements	12

Section VI. Technical Specifications	13

Section I. Invitation for Sealed Quotation

Name of Procurement Entity: Ministry of Labour, Jobs and Employment

Address of Procurement Entity: P.O.Box MB 84 Ministries, Accra

Sealed Quotation No: GR/MLJE/GD/002/26

Date of Invitation: 14th September, 2026

  - The Ministry of Labour, Jobs and Employment invites sealed quotations from the eligible registered Supplier for the supply of Printed Materials (Temporary Jackets and File Covers).

  - The Ministry now invites sealed quotations from your company among others; vide the Standard Tender Documents attached, for immediate supply of Printed Materials (Temporary Jackets and File Covers).

  - The Purchaser now invites sealed quotations from eligible Tenders for the Supply of Printed Materials (Temporary Jackets and File Covers).

  - Tendering will be conducted through the Price Quotation procedures specified in the Republic of Ghana’s Procurement Act, 2003, Act 663 as amended and is open to all Tenderers from eligible source countries as defined in the Guidelines of the Public Procurement Authority of the Republic of Ghana.

  - Quotations must be delivered online through the Ghaneps platform on or before 24th September, 2026 at 11:00am.

  - Sealed quotations must be delivered online through the Ghaneps platform on or before 11:00am on 24th September, 2026

  - Where necessary, sealed quotations will be opened in the presence of Supplier's Representatives who choose to attend at 11:30am on 24th September, 2026

at the Ministry of Labour, Jobs and Employment, Ground Floor; Conference Room.

9. It is mandatory that Tenderers submit with their tender the following statutory

documents:

- Valid GRA Tax Clearance Certificate.

- Valid SSNIT Clearance Certificate.

- Valid  VAT Registration Certificate

- Valid Business Registration Certificate

- Valid Certificate of Incorporation

- Valid Certificate of Commencement.

- Valid Registration Certificate from PPA

Section II. Conditions of Contract

1.	Definitions

1.1 In this contract, the following terms shall be interpreted as indicated:

a. "The Contract" means the agreement entered into between the Purchaser and the Supplier, as recorded in the Contract Form Signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein;

b. "The Contract Price" means the price payable to the Supplier under the contract for the full and proper performance of its contractual obligation;

c. "The Goods" means Equipment and related Accessories and spare-parts which the Supplier is required to supply to the Purchaser under the contract;

d. "Services" means services ancillary to the supply of the goods such as transportation and insurance including the installation, commissioning and the operational and maintenance training of the supplied equipment.

e. "The Purchaser" means the organization purchasing the goods;

f. "The Supplier" means the organization supplying the goods and services under this contract.

2. Technical

Specification

2.1 The goods supplied under this contract shall conform to the standards mentioned in the Technical Specification.

3. Patent Right

3.1 The Supplier shall indemnify the Purchaser against all third party claims of infringement of patent, trademark or industrial design rights arising from use of goods or any part there of in the Purchaser's country.

4. Inspection and Tests

4. The Purchaser or its Representative shall have the right to inspect and/or test the goods to confirm their conformity to the Technical Specification and the quality of performance after the supply and delivery of good to Purchaser's premises.

The inspection shall involve the Purchasers team and Supplier Representative.

5. Packing

5.1 The Supplier shall provide such packing of the goods as is required to prevent their damage or deterioration during

5

transit to their final destination as indicated in the contract.

5.2	The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit and open storage.

5.3	Packing case, size and weights shall take into consideration, where appropriate, the remoteness of the goods' final destination and the absence of heavy handling facilities at all points in transit.

5.4	The packing, marking and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided in accordance with international standard and practice.

6. Delivery of

Goods

6.       Delivery of the goods shall be made by the Supplier in accordance with the terms specified by the Purchaser in its schedule of requirements.

6.2	For purposes of the contract "FOB", "C&F", "CIF", "CIP" and other trade terms used to describe the obligations of the parties shall have the meanings assigned to them by the current edition of the International Rules for the Interpretation of the Trade Terms (INCOTERMS) published by the International Chamber of Commerce (ICC), Paris.

7. Insurance

7.1     The goods supplied under the contract shall be fully insured in the currency of the tender price against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery in the manner specified.

7.2	Where delivery of the goods is required by the Purchaser on a CIF or CIP basis to a specified destination, the Supplier shall arrange and pay for insurance, naming the Purchaser as the Beneficiary and the Supplier shall be required to meet all transport and storage expenses until delivery.

8. Warranty

88.1 The Supplier warrants that all the goods supplied under the contract shall fully comply with the specification laid down in the contract.

8.2	The warranty shall remain valid for one year after the goods have been delivered to the final destination indicated in the

6

contract, and accepted by the Purchaser after installation and

commissioning of equipment by the Supplier.

8.3	The Purchaser shall promptly notify the Supplier in writing

of any claims arising under this warranty.

8.4	Upon receipt of such notice, the Supplier shall, within 30

days replace the defective goods without cost to the

Purchaser. The Supplier will be required to remove, at its

own risk and cost, the defective goods.

9. Payment	9.1		Payment shall be made in the currency in which the contract

price has been stated in the Supplier's tender.

9.2             Payment of the goods supplied from within Ghana shall be

made in Ghanaian Cedis after the delivery and installation

and commissioning of goods to the satisfaction of the

Purchaser.

9.3           Payment of the goods to be supplied from abroad shall be

made in the following manner:

Full payment on satisfactory delivery and acceptance of goods

9.4           Delay in payment of any amount due under sub-clause 9.3 shall

attract interest at […] calculated from the last date due for

Payment

10. Prices	10.1	Prices charged by the Supplier for goods delivered under the

contract shall not vary from the prices quoted by the Supplier

in its sealed quotation and not be subjected to Exchange Rate

Fluctuations.

7

- Liquidated Damages    11.1 If the Supplier fails to deliver any or all of the goods within the time period specified in the contract, the Purchaser shall, without prejudice to its other remedies under the contract,

deduct from the contract price, as liquidated damages, a sum equivalent to 1.0 percent of the contract price of delayed goods for each week of delay until actual delivery, up to a maximum deduction of 10 percent of the delayed goods' contract price. Once the maximum is reached, the Purchaser may consider termination of the contract.

12. Resolution of	12.1	The Purchaser and Supplier shall make every effort to resolve

Disputes			amicably by direct informal negotiation any disagreement or

dispute arising between them under or in connection with the

contract.

12.2	If, after thirty (30) days from the commencement of such

informal negotiation, the Purchaser and Supplier have been

unable  to resolve  amicably  a contract  dispute,  it shall  be

referred by either party to an adjudicator agreed by the parties.

In the event of disagreement the dispute shall be resolved

under the Alternative Dispute Resolution Act 2010 (Act

798)

13. Governing	13.1	The Governing Language shall be English

Language

14. Applicable	14.1	The applicable law shall be the Laws of Ghana.

Law

15. Notices	15.1	Purchaser's address for notice purposes:

15.2	Supplier’s address for notice purposes:

| 16. Taxes and | 16.1 | The Supplier shall be entirely responsible for all taxes, duties, |
| --- | --- | --- |
| Duties |  | licence fees and other such levies imposed by the |
|  |  | Government of Ghana. |
| 17. Operation, | 17.1 | The successful Supplier shall supply 2 copies of |
| Maintenance and |  | manufacturer's operation, maintenance and spare-part |
| Spare-parts |  | manuals of the goods (Equipment). |
| Manuals |  |  |

8

Section III. Form of Contract

THIS AGREEMENT made the	day of	20	between [name of

Purchaser] (hereinafter called “the Purchaser”) of the one part and [name of Supplier] of [city and country of Supplier] (hereinafter called “the Supplier”) of the other part:

WHEREAS the Purchaser invited tenders for certain goods and ancillary services, viz.,

[brief description of goods and services]

and has accepted a tender by the Supplier for the supply of those goods and services in the sum of [contract price in words and figures] (hereinafter called “the Contract Price”).

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

  - In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

  - The following documents shall be deemed to form and be read and construed as part of this Agreement, viz.:

        - Tender Form and the Price Schedule submitted by the Supplier;

        - The Schedule of Requirements;

        - The Technical Specifications;

        - The Conditions of Contract; and

        - The Purchaser’s Notification of Award.

  - In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Purchaser to provide the goods and services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

  - The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the goods and services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the contract at the times and

in the manner prescribed by the Contract.

- This Agreement shall not be valid unless;

      - signing by both parties;

    - authorization in the form of a Purchase Order (PO) generated from the Ghana Integrated Financial Management Information Systems (GIFMIS) or in a form specified by the Ministry of Finance (MoF) pursuant to the Applicable Law;

- the fulfilment of conditions precedent such as the submission of performance bond, if any, that may be required on the part of either party under the Agreement or under the Applicable law.

9

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with their respective laws the day and year first above written.

On behalf of the Purchaser	On behalf of the Supplier

Name:	Name:

Designation:	Designation:

Sign:	Sign:

Seal:	Seal:

10

Section IV. Sample Forms

1. Tender and Price Schedules

Date:

To: [name and address of Purchaser]

Gentlemen and/or Ladies:

Having examined the RFQ documents, we the undersigned, offer to supply and deliver

[description of goods and services]

in conformity with the said RFQ documents for the sum of	,

[total tender amount in words and figures] or such other sums as may be ascertained in accordance with the Schedule of Prices attached herewith and made part of this Tender.

We undertake, if our Tender is accepted, to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements.

If our Tender is accepted, we will obtain the guarantee of a bank in a sum equivalent to percent of the Contract Price for the due performance of the Contract, in the form

prescribed by the Purchaser.

We agree to abide by this Tender for a Period of	[number] days from the date

fixed for Tender opening it shall remain binding upon us and may be accepted at any time before the expiration of that period.

Until a formal Contract is prepared and executed, this Tender, together with your written acceptance thereof and your notification of award, shall constitute a binding Contract between us.

We understand that you are not bound to accept the lowest or any tender you may receive.

| Dated this |  |  | day of |  | 20 |  |  | . |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| [signature] |  |  |  |  | [in the capacity of] |  |  |  |  |
| Duly authorized to sign Tender for and on behalf of |  |  |  |  |  |  |  |  |  |

11

Total CIP (place of destination) Price …………………………………(in words)

Signature of Tenderer

Note: In case of discrepancy between unit price and total, the unit price shall prevail.

12

Price Schedule for Goods Offered from within

Ghana

Name of Supplier

| No | Description | Country of Origin | Quantity | Unit Price EXW (specify place) | Total Price EXW | Total Price of Inland delivery to final destination | Total CIP site Plus VAT/NHIL | Incidental Services and others | Total Tender Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | In figure 5 | 6=(4x5) | 7 | 8=(6+7) | 9 | 10=(8+9) |
| Grand Total |  |  |  |  |  |  |  |  |  |

Total CIP (place of destination) Tender Price …………………………………(in words)

Signature of Tenderer

Note: In case of discrepancy between unit price and total, the unit price shall prevail.

13

Section V. Schedule of Requirements

The delivery schedule expressed as weeks/months stipulates hereafter a delivery date which is the date of delivery when the contract is placed on CIP terms.

| No. | ITEMS | QUANTITY | Maximum Schedule for Delivery at Site |
| --- | --- | --- | --- |
|  | Temporary File Jackets | 2,000 pieces |  |
|  | File Covers | 500 pieces |  |

14

Section VI. Technical Specifications

|  | TECHNICAL SPECIFICATIONS |
| --- | --- |

| NO. | ITEM | MINIMUM SPECIFICATIONS REQUIRED | OFFERED SPECIFICATION (Describe all features of model offered including any not specified. Indicate if a special feature or preference is not available.) |
| --- | --- | --- | --- |
| 1. | Temporary File Jackets | Item Description: Printed Temporary File Jacket for circulation of official documents, correspondence, memoranda and files |  |
|  |  | Finished Size: Suitable for A4 documents, with sufficient allowance to accommodate a reasonable number of papers without excessive bending or folding |  |
|  |  | Open/Flat Size: Approximately A3 size, or suitably proportioned to produce the required A4 folded/closed jacket |  |
|  |  | Material: Good-quality white or off-white manila/card stock, suitable for repeated handling |  |
|  |  | Paper Weight: 150–180 GSM minimum; preferably approximately 170 GSM for durability |  |
|  |  | Colour: White with writings and logo in Black |  |
|  |  | Layout: Layout shall substantially follow the approved Ministry specimen supplied to the successful supplier |  |
|  |  | Writing Surface: Surface must permit writing with ordinary ballpoint pens and other standard office writing instruments without excessive smudging |  |
|  |  | Strength: Material must withstand repeated opening, closing, handling and circulation between offices |  |
|  |  | Packaging: Jackets shall be supplied flat and neatly packed to prevent bending, staining or damage during transportation |  |
|  |  | Edges: Clean, straight and properly trimmed; no sharp, rough, frayed or excessively uneven edges |  |
| 2. | File Covers | General description: Office File Cover with blue tape reinforcement for filing, protection, storage and retrieval of official correspondence, memoranda, reports, records and other documents |  |
|  |  | Material: The file cover shall be manufactured from good-quality, heavy-duty manila board, kraft board or equivalent rigid file-cover material with a minimum 300 GSM; preferably 350 GSM |  |
|  |  | Dimensions: Approximately 250 mm × 350 mm with an acceptable tolerance of ± 5 mm |  |
|  |  | # Construction: The file cover shall consist of front cover, back cover, central fold/spine, reinforced edge/spine, adequate internal space for documents and the two panels shall be properly aligned and joined to be able to withstand repeated opening and closing without splitting |  |
|  |  | # Blue Tape/Reinforcement: One longitudinal edge/spine of the file shall be reinforced with blue cloth tape, binding tape or equivalent durable material with an approximate width of 25–40 mm firmly secured along the full length of one edge/spine. |  |
|  |  | # Capacity: The file cover should accommodate approximately 50–100 sheets of standard A4 paper |  |
|  |  | # Durability: The completed file cover shall withstand frequent opening and closing, carrying between offices, storage in filing cabinets, retrieval from shelves, normal writing, handling by multiple officers and repeated insertion and removal of documents. The blue tape shall not detach, fray excessively or separate from the board under normal use. |  |
|  |  | # Packaging: The file covers shall be bundled in uniform quantities, protected against moisture and dirt and neatly packed. |  |