## CHPS
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
BILL NO. 1 (PRELIMINARIES)
A | Perfomance Security
B | EPA Certification
C | Watching and Protection of the Works
D | Transport for Work people
E | First Aid Equipment
F | Project Signboard.
G | Progress Photograph.
H | Setting Out of the Works
J | Allow for providing all scaffolding, and apparatus profile and apparatus generealy required for the proper execution of the works. The Contractor shall provide without extra charge all labour and equipment or apparatus required by the Engineer for the testing and measuring the works and for weighing, proving or testing the efficiency of any portion of the works
K | Water for the Works.
| BILL NO. 1 GENERAL ITEMS (PRELIMINARIES) Carried to General Summary |  | GH₵
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
BILL NO. 2 (CHPS COMPOUND)
SUBSTRUCTURE (ALL PROVISIONAL)
Site Preparation
A | Clear site of all bush and undergrowth and dispose from site | 201 | m2
B | Cut off trees girth exceeding 2.0m girth | 10 | Nr
C | Excavate oversite to remove topsoil average 150mm deep | 201 | m2
Excavation and Earthworks
D | Excavate trench not exceeding 1.50 meters deep commencing 150mm below ground level | 62 | m3
E | Excavate pit for columns not exceeding 1.5 metres deep ditto | 15 | m3
F | Return, fill in and well ram selected excavated material around foundation | 10 | m3
F1 | Excavate trench for Concrete Ramp not exceeding 0.75mm deep | 8 | m3
Hardcore as described, spread, levelled and well rammed and consolidated
G | Filling in layers not exceeding 600mm thick in making up level up under floors | 121 | m3
Concrete Works
H | 50mm Plain in-situ concrete (1:4:8-20mm aggregate) as describrd bed spread and levelled as blinding | 1 | m3
J | Plain in-situ concrete (1:3:6-40mm aggregate as described foundation in trenches: Foundation | 18 | m3
J1 | Concrete ramp | 1 | m3
J2 | 100mm thick floor bed | 21 | m3
To Collection
Reinforced in-situ vibrated concrete (1:2:4-20mm aggregate) as described filled into formwork and packed around reinforcement (both measured separately)
K | Column base | 4 | m3
L | Column | 1 | m3
M | Ground beam | 7 | m3
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
REINFORCEMENT
Supply and fix as described the following mild steel round bar reinforcement with and including all necessary binding wire:
M | 12mm Diameter bars in column base (Mat) | 215 | Kg.
N | 12mm Diameter bars in ground beam | 498 | Kg.
N | 12mm Diameter bars in column | 145 | Kg.
P | 8mm Diameter bars as links and stirrups | 145 | Kg.
FORMWORK
Sawn formwork as described to:
Q | Vertical side of column | 10 | m²
R | Vertical side of ground bean | 93 | m²
S | Edge of bed 150mm wide | 71 | m
BLOCKWORK
S | 150mm Solid sandcrete blockwork in cement mortar (1:4) described | 115 | m2
PLASTERING
T | 20mm Cement and sand render to wall | 18 | m2
U | Dieldrex anti-termite treatment to foundations |  | Item
PAINTING
V | Prepare and apply three coats of emulsion point on rendered wall | 18 | m2
To Collection
COLLECTIONS
Page 1
Page 2
SUBSTRUCTURE CARRIED TO SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUPERSTRUCTURE
CONCRETE WORK
Reinforced in-situ vibrated concrete (1:2:2-20mm aggregate) as described filled into formwork and around reinforement (both measurered separately)
A | Horizontal beam | 6 | m3
B | Column | 3 | m3
| CONCRETE WORK CARRIED TO SUMMARY |  | GH₵
REINFORCEMENT
Supply and fix as described the following mild steel round bar reinforement with and including all necessary binding wire
C | 12mm Diameter bars in column | 265 | Kg.
D | 12mm Diameter bars in beam | 512 | Kg
E | 8mm Diameter bars in stirrups | 194 | Kg.
| REINFORCEMENT CARRIED TO SUMMARY |  | GH₵
FORMWORK
Sawn formwork as described to:
F | Vertical sides of column | 30 | m²
G | Sides of horizontal beam | 70 | m²
H | Props and braces to support beam and column | 21 | m
| FORMWORK CARRIED TO SUMMARY |  | GH₵
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
BLOCKWORK
Solid sandcrete blockwork in cement mortar(1:4) as described in
A | 150mm Wall | 385 | m2
| BLOCKWORK CARRIED TO SUMMARY |  | GH₵
ROOFING
0.4mm Gauge Corrugated Aluminium deep troughed trapezoidal roof sheeting as manufactured by Messrs Ghana Aluminium Products
A | Roof Sheeting | 265 | m2
B | Hip Cap | 39 | m
C | Ridge Cap | 10 | m
D | Rain gutter | 71 | m
| ROOFING CARRIED TO SUMMARY |  | GH₵
CARPENTRY
Sawn hardwood treated with solignum in all surfaces
A | 50mm x 150mm Rafters | 221 | m
B | 50mm x 150mm Tie Beam | 198 | m
C | 50mm x 150mm Wall Plate | 71 | m
D | 50mm x 150mm Hip rafters | 35 | m
E | 50mm x 150mm Purlins | 465 | m
F | 50mm x 150mm King Post | 21 | m
G | 50mm x 150mm Vertical and Diagonal Struts | 155 | m
H | 50mm x 50mm Ceiling joist and noggins | 225 | m
Wrought Treated Harwood -
J | 25mm x 250mm fascia Board | 71 | m
Mild steel rods cut into lengths and threaded through hardwood into all windows
K | 16mm diameter horizontally. | 188 | m
| CARPENTRY WORKS CARRIED TO SUMMARY |  | GH₵
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
JOINERY/ METAL WORKS
Doors
Wrought hardwood as described
A | Flush door 100mm wide intermediate rails, 200mm thick wide bottom rail 20mm thick wooden panel; 900 x 2100 x 45mm | 4 | No
FLUSH DOOR;
B | Ditto 750 x 2100 x 45mm | 7 | No
C | Ditto 1200 x 2050 x 45mm | 4 | No.
FRAMES
Windows
D | 50 x 150mm Wrot hardwood frame, treated with preservative | 110 | m
Doors
E | 50 x 150mm Wrot hardwood frame, treated with preservative | 60 | m
Fillet, etc.
G | Window stops | 42 | m
H | Door battens | 60 | m
Ironmongery
Supply and fix the following ironmongery to hardwood with matching screws
J | Approved Mortice lockset with level handle furniture 225mm | 11 | No
K | Pair 100mm Brass butt hinges | 22 | No
GLAZING
STANDARD UNITS
"Naco" louvre carriers; fixing to hardwood frames with screws to match.
L | Pair Louvre carriers 1125mm long with clips for 8No. 150mm blades and dual control | 48 | No
M | Pair Louvre carriers 550mm long with clips for 4No. 150mm blades and dual control | 12 | No
ITEM | DESCRIPTION | QTY | UNIT
Sundries
N | Obscure glass louvre blade cut into sizes long with slightly rounded edge and fixed in metal clips | 216 | No
P | Aluminium or other equal approved mosquito proof net fixed with hardwood beads (measured separately) | 25 | m²
Q | Square Wire mesh | 25 | m²
R | Supply and fix mild steel/wrought iron balusters into PWD RAMP at the main entrance of the CHPS COMPOUND, 20mm square x 1200mm high spaced at 100mm. Balusters welded to 50mm x 25mm top and bottom mild rails. Include all welding, grinding smooth, one coat red oxide primer and two enamel oil paint finish | 28 | m
| JOINERY/METAL WORKS CARRIED TO SUMMARY |  | GH₵
PLUMBING WORKS
Unplasticized PVC pipework and fittings to BS4514:1969
buried in blockwork or fixed to blockwork with PVC clips
A | 40mm diameter pipe | 20 | m
B | Extra for 40mm bend | 13 | No
C | Extra for 40mm tee | 6 | No
D | Extra for 40mm bottle trap | 9 | No
E | Extra for 38mm floor drain | 8 | No
Soil and vent pipework
Unplasticized PVC pipework and fittings to BS4514:1969
buried in blockwork or fixed to blockwork with PVC clips
F | 100mm diameter waste/vent pipe supported with pipe clips at 1200mm centres | 9 | m
G | 100mm diameter pipe in concrete bed | 15 | m
H | 100mm diameter elbow | 9 | No
J | Extra for 100 mm bend | 9 | No
K | Extra for 100 mm tee | 8 | No
Cold water Installation
UPVC pipework built into chases in blockwork
A | 25mm diameter pipe | 8 | m
B | 25mm diameter bend | 7 | No
C | 25mm - 12mm diameter tee | 7 | No
D | 25mm - 12mm reducer | 5 | No
E | 25mm - 12mm reducer bend | 2 | No
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Cold water Installation (Contd)
UPVC pipework built into chases in blockwork
F | 12mm diameter pipe | 22 | m
G | 12mm diameter bend | 13 | No
H | 12mm diameter tee | 13 | No
J | 12mm diameter faulcet socket | 16 | No
K | 12mm screw down stop cock | 2 | No
L | Flexible tube | 24 | No
M | Twyford or approved equivalent,white vitreous china WC suite comprising the following: | 5 | No
I) WC pot with P or S trap.
ii) Cistern, 7.5 litre capacity
iii) Valve fitting with plastic syphon and support
iv) Inlet & outlet connections.
v) Plastic seat and cover.
N | Twyfords semi-oval vitreous china white wash hand basin with the following: | 3 | No
I) Plastic bottle trap
ii) 12mm chromium plated taps.
iii) 32mm chain waste with overflow slot
iv) Size approx. 560 x 400mm semi oval, fixed to wall with concealed brackets.
A | 150mm long toilet roll holder | 5 | No
B | Soap tray | 4 | No
Accessories for the PWD Toilets
Supply and fix the following chrome coated galvanised
steel accessories
C | 25mm diameter Vertical grabrail 450mm long | 4 | No
D | Ditto; - Drop-down (hinged) rail 625mm long | 2 | No
E | Ditto; - horizontal grabrail 600mm long | 2 | No
F | Ditto; - Pull rail fixed to door 600mm long | 2 | No
G | Shower fiitngs complete | 1 | No
| PLUMBING WORKS CARRIED TO SUMMARY |  | GH₵
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELECTRICAL INSTALLATION
Supply, install, test and commission the following electrical works:
LV Distribution
PVC heavy guage conduit pipe
Lay PVC conduit pipes in chases in blockwork, or in floor screed or concrete floor or through ceiling.
A | 50mm diameter | 30 | LM
Cables
B | Lay 2x16mm² PVC cable in conduit | 20 | LM
Copper Earthing components
C | 16mm² green/yellow copper earthwire drawn in to conduit | 30 | LM
D | 20mm diameter 1.5m long earthrod with clamp driven in to Furse or equal | 5 | No.
E | 1m long air terminal complete; Furse or equal | 2 | No.
F | 3mmx25mm copper tape, clips and clamps | 15 | m
LV Switchgear and Distribution Boards
G | 100A Double pole and neutral moulded case circuit breaker
| (MCCB) complete with earthbar and enclosure; Crabtree or equal. | 1 | No.
H | 12-way 100A 230V, SPN flush mounted memshield
| distribution board incorporating: | 1 | No.
100A SPN Isolator incomer
6Nos. 6A SP MCB outgoing
2Nos. 20A SP MCB outgoing
4Nos. 32A SP MCB outgoing
General lighting and fans
PVC heavy guage conduit and fittings
J | 20mm diameter straight conduit in chases in block work or in floor screed or in concrete floor or in ceiling | 500 | LM
K | Circular boxes | 25 | No.
L | 75mmx75mmx35mm rectangular flush steel boxes | 20 | No.
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PVC Insulated cable, single core stranded copper conductors
1.5mm² cable drawn in to conduit
M | Red insulation | 500 | LM
N | Black insulation | 500 | LM
P | Green/yellow insulation | 500 | LM
Fittings
Supply and install the following lighting fittings complete with
bulbs and tubes including all connections
A | 8W, 230V Energy saving light complete (internal) | 7 | No.
B | 18W, 230V Energy saving light complete (internal) | 12 | No.
C1 | 20W, 230V Energy saving light complete (external) | 6 | No.
C | 230V, 1420mm (56in) sweep ceiling fan with regulator
| Indian Crompton or equal | 10 | No.
Accessories
D | 5A single pole flush plate switches 1-gang 1-way; MEM or equal | 12 | No.
General power
Final Circuits 230V, 13A Switch Socket Outlet for General
Power
E | 20mm diameter PVC rigid conduit laid in chases in block work
| or in floor screed or in concrete floor | 300 | LM
F | 2.5mm² PVC red and black insulated single core copper
| cable drawn in to conduit | 600 | LM
G | 133mmx75mmx35mm flush steel conduit boxes | 21 | No.
H | 2.5mm² green/yellow copper cable drawn into conduit | 300 | LM
J | 13A, 230V twin (2-gang) switch socket outlet MEM or equal | 7 | No.
Final Circuits 230V 20A Double Pole switch for airconditioner
K | 20mm diameter PVC rigid conduit laid in chases in block | 20 | m
work or in floor screed or in concrete floor, beam or column
or in ceiling
PVC insulated cable single core stranded copper conductors
4.0mm² cable drawn into conduit
L | Red insulation | 20 | m
ITEM | DESCRIPTION | QTY | UNIT
M | Black insulation | 20 | m
N | Yellow/Green insulation | 20 | m
P | 75mmx75mmx35mm flush steel conduit boxes | 1 | No
Q | 20A, 230V DP switch marked air conditioner/hand dryer/Water heater | 1 | No
R | Include the Provisional sum of Eight thousand Ghana Cedis (GH¢ 8,000.00) for connection to electricity mains |  | Sum
| ELECTRICAL WORKS CARRIED TO SUMMARY |  | GH₵
PLASTERWORK AND OTHER FLOOR,WALL AND CEILING FINISHES
25mm thick cement sand render on blockwork, beam and column
A | Plastering | 822 | m2
K.LINING / SHEATING / DRY PARTITIONING
B | Plywood Ceilings,10mm thickness to ceilings,width not exceeding 300mm fixing to timber includng the eaves | 245 | m2
C | Ceiling battens | 289 | m
Beds and backings
Cement and sand (1:3) as described on floor to receive floor tiles
D | 50mm level paving, trowelled smooth | 198 | m2
E | 400 x 400 x 12mm porcelain floor tiles porcelain laid basement floor | 198 | m2
Beds and Backings
Cement and sand (1:3) as described 12mm screeded backing to receive
F | Wall tiles (measured separately) | 77 | m2
G | 400 x 250 x 12mm porcelain wall tiles laid on walls in washrooms | 77 | m2
H | Tile Skirting 600mm x 600mm x 10mm | 130 | m
ITEM | DESCRIPTION | QTY | UNIT
| PLASTERWORK AND OTHER FLOOR,WALL AND CEILING CARRIED TO SUMMARY |  | GH₵
FURNISHES
A | Writing Desk | 2 | No.
B | Plastic chairs | 10 | No
C | Double Arm Chairs | 2 | No
D | Bp Apparatus | 2 | No
E | Weighing Scale with height | 1 | No
F | Weighing Scale (hanging) | 1 | No
G | Baby cot | 1 | No
H | Nebulizers | 1 | No
J | Patients Screen (4 folds) | 1 | No
K | Medical Waste Bin(color coded) | 3 | No
L | stethoscope(adult and paediatric) | 2 | No
M | Examination Bed (Couch) | 1 | No
N | Delivery Bed | 2 | No
P | Patient Beds with mattresses | 2 | No.
Q | Infra Red Thermometer | 2 | No.
T | Examination gloves | 5 | No.
U | Wheelchair (normal) | 1 | No.
V | Metal Medicine cabinet | 1 | No.
W | Instrument trolley(three steps) | 1 | No.
X | Pulse oximeter (Big) | 1 | No.
Y | Paediatric ambu bags | 1 | No.
| FURNISHES CARRIED TO SUMMARY |  | GH₵
PAINTING
Prepare surface and apply one coat emulsion paint and two full coats of 'Vinyl Deluxe' or approved equal quality emulsion paint on
A | General surfaces, rendered concrete and block walls girth > 300mm | 795 | m²
B | Ditto Ceiling and ceiling eaves | 243 | m²
Knot, prime, stop and apply undercoats and one finishing coat, gloss 'Deluxe' oil paint on
C | General surfaces, wrot hardwood, girth > 300mm | 65 | m²
| PAINTING CARRIED TO SUMMARY |  | GH₵
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
A | Substructure
B | Superstructure
B1 | Concrete Works
B2 | Reinforcement
B3 | Formwork
B4 | Blockwork
B5 | Roofing Works
B6 | Carpentry
B7 | Joinery/Metal Works
B8 | Plumbing Installations
B9 | Electrical Installations
B10 | Finishing Works
B11 | Furnishes
B12 | Painting
| TOTAL |  | GH¢
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
BILL NO. 3 (3-UNIT NURSES QUARTERS)
SUBSTRUCTURE (ALL PROVISIONAL)
Site Preparation
A | Clear site of all bush and undergrowth and dispose from site | 279 | m2
B | Cut off trees girth exceeding 2.0m girth | 10 | Nr
C | Excavate oversite to remove topsoil average 150mm deep | 279 | m2
Excavation and Earthworks
D | Excavate trench not exceeding 1.50 meters deep commencing 150mm below ground level | 52 | m3
E | Excavate pit for columns not exceeding 1.5 metres deep ditto | 18 | m3
F | Return, fill in and well ram selected excavated material around foundation | 8 | m3
F1 | Excavate trench for Concrete Ramp not exceeding 0.75mm deep | 8 | m3
Hardcore as described, spread, levelled and well rammed and consolidated
G | Filling in layers not exceeding 600mm thick in making up level up under floors | 125 | m3
Concrete Works
H | 50mm Plain in-situ concrete (1:4:8-20mm aggregate) as describrd bed spread and levelled as blinding | 1 | m3
J | Plain in-situ concrete (1:3:6-40mm aggregate as described foundation in trenches: Foundation | 13 | m3
J1 | Concrete ramp | 1 | m3
J2 | 100mm thick floor bed | 22 | m3
To Collection
Reinforced in-situ vibrated concrete (1:2:4-20mm aggregate) as described filled into formwork and packed around reinforcement (both measured separately)
K | Column base | 5 | m3
L | Column | 2 | m3
M | Ground beam | 6 | m3
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
REINFORCEMENT
Supply and fix as described the following mild steel round bar reinforcement with and including all necessary binding wire:
M | 12mm Diameter bars in column base (Mat) | 276 | Kg.
N | 12mm Diameter bars in ground beam | 409 | Kg.
N | 12mm Diameter bars in column | 160 | Kg.
P | 8mm Diameter bars as links and stirrups | 155 | Kg.
FORMWORK
Sawn formwork as described to:
Q | Vertical side of column | 12 | m²
R | Vertical side of ground bean | 77 | m²
S | Edge of bed 150mm wide | 55 | m
BLOCKWORK
S | 150mm Solid sandcrete blockwork in cement mortar (1:4) described | 95 | m2
PLASTERING
T | 20mm Cement and sand render to wall | 17 | m2
U | Dieldrex anti-termite treatment to foundations |  | Item
PAINTING
V | Prepare and apply three coats of emulsion point on rendered wall | 17 | m2
To Collection
COLLECTIONS
Page 1
Page 2
SUBSTRUCTURE CARRIED TO SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUPERSTRUCTURE
CONCRETE WORK
Reinforced in-situ vibrated concrete (1:2:2-20mm aggregate) as described filled into formwork and around reinforement (both measurered separately)
A | Horizontal beam | 6 | m3
B | Column | 3 | m3
| CONCRETE WORK CARRIED TO SUMMARY |  | GH₵
REINFORCEMENT
Supply and fix as described the following mild steel round bar reinforement with and including all necessary binding wire
C | 12mm Diameter bars in column | 277 | Kg.
D | 12mm Diameter bars in beam | 465 | Kg
E | 8mm Diameter bars in stirrups | 187 | Kg.
| REINFORCEMENT CARRIED TO SUMMARY |  | GH₵
FORMWORK
Sawn formwork as described to:
F | Vertical sides of column | 33 | m²
G | Sides of horizontal beam | 58 | m²
H | Props and braces to support beam and column | 17 | m
| FORMWORK CARRIED TO SUMMARY |  | GH₵
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
BLOCKWORK
Solid sandcrete blockwork in cement mortar(1:4) as described in
A | 150mm Wall | 312 | m2
| BLOCKWORK CARRIED TO SUMMARY |  | GH₵
ROOFING
0.4mm Gauge Corrugated Aluminium deep troughed trapezoidal roof sheeting as manufactured by Messrs Ghana Aluminium Products
A | Roof Sheeting | 255 | m2
B | Hip Cap | 34 | m
C | Ridge Cap | 14 | m
D | Rain gutter | 80 | m
| ROOFING CARRIED TO SUMMARY |  | GH₵
CARPENTRY
Sawn hardwood treated with solignum in all surfaces
A | 50mm x 150mm Rafters | 205 | m
B | 50mm x 150mm Tie Beam | 165 | m
C | 50mm x 150mm Wall Plate | 80 | m
D | 50mm x 150mm Hip rafters | 40 | m
E | 50mm x 150mm Purlins | 415 | m
F | 50mm x 150mm King Post | 25 | m
G | 50mm x 150mm Vertical and Diagonal Struts | 135 | m
H | 50mm x 50mm Ceiling joist and noggins | 292 | m
Wrought Treated Harwood -
J | 25mm x 250mm fascia Board | 80 | m
Mild steel rods cut into lengths and threaded through hardwood into all windows
K | 16mm diameter horizontally. | 175 | m
| CARPENTRY WORKS CARRIED TO SUMMARY |  | GH₵
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
JOINERY/ METAL WORKS
Doors
Wrought hardwood as described
A | Flush door 100mm wide intermediate rails, 200mm thick wide bottom rail 20mm thick wooden panel; 900 x 2100 x 45mm | 6 | No
FLUSH DOOR;
B | Ditto 750 x 2100 x 45mm | 3 | No
C | Ditto ; 900 x 2050 | 3 | No.
D | Ditto; 1200 x 2050 | 1 | No.
FRAMES
Windows
D | 50 x 150mm Wrot hardwood frame, treated with preservative | 115 | m
Doors
E | 50 x 150mm Wrot hardwood frame, treated with preservative | 45 | m
Fillet, etc.
G | Window stops | 37 | m
H | Door battens | 45 | m
Ironmongery
Supply and fix the following ironmongery to hardwood with matching screws
J | Approved Mortice lockset with level handle furniture 225mm | 9 | No
K | Pair 100mm Brass butt hinges | 18 | No
GLAZING
STANDARD UNITS
"Naco" louvre carriers; fixing to hardwood frames with screws to match.
M | Pair Louvre carriers 1125mm long with clips for 8No. 150mm blades and dual control | 48 | No
P | Pair Louvre carriers 550mm long with clips for 4No. 150mm blades and dual control | 6 | No
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Sundries
Q | Obscure glass louvre blade cut into sizes long with slightly rounded edge and fixed in metal clips | 204 | No
R | Aluminium or other equal approved mosquito proof net fixed with hardwood beads (measured separately) | 28 | m²
S | Square Wire mesh | 28 | m²
| JOINERY/METAL WORKS CARRIED TO SUMMARY |  | GH₵
PLUMBING WORKS
Sanitary Fixtures
Waste pipework
Unplasticized PVC pipework and fittings to BS4514:1969
buried in blockwork or fixed to blockwork with PVC clips
A | 40mm diameter pipe | 18 | m
B | Extra for 40mm bend | 11 | No
C | Extra for 40mm tee | 6 | No
D | Extra for 40mm bottle trap | 7 | No
E | Extra for 38mm floor drain | 8 | No
Soil and vent pipework
Unplasticized PVC pipework and fittings to BS4514:1969
buried in blockwork or fixed to blockwork with PVC clips
F | 100mm diameter waste/vent pipe supported with pipe clips at 1200mm centres | 9 | m
G | 100mm diameter pipe in concrete bed | 14 | m
H | 100mm diameter elbow | 9 | No
J | Extra for 100 mm bend | 6 | No
K | Extra for 100 mm tee | 8 | No
L | 100mm copper wire baloon grating fixed on top of vent pipe | 7 | No
Cold water Installation
UPVC pipework built into chases in blockwork
A | 25mm diameter pipe | 8 | m
B | 25mm diameter bend | 7 | No
C | 25mm - 12mm diameter tee | 7 | No
D | 25mm - 12mm reducer | 4 | No
E | 25mm - 12mm reducer bend | 2 | No
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Cold water Installation (Contd)
UPVC pipework built into chases in blockwork
F | 12mm diameter pipe | 19 | m
G | 12mm diameter bend | 11 | No
H | 12mm diameter tee | 11 | No
J | 12mm diameter faulcet socket | 14 | No
K | 12mm screw down stop cock | 2 | No
L | Flexible tube | 19 | No
M | Twyford or approved equivalent,white vitreous china WC suite comprising the following: | 3 | No
I) WC pot with P or S trap.
ii) Cistern, 7.5 litre capacity
iii) Valve fitting with plastic syphon and support
iv) Inlet & outlet connections.
v) Plastic seat and cover.
N | Twyfords semi-oval vitreous china white wash hand basin with the following: | 3 | No
I) Plastic bottle trap
ii) 12mm chromium plated taps.
iii) 32mm chain waste with overflow slot
iv) Size approx. 560 x 400mm semi oval, fixed to wall with concealed brackets.
A | 150mm long toilet roll holder | 3 | No
Accessories for the PWD Toilets
Supply and fix the following chrome coated galvanised
steel accessories
C | 25mm diameter Vertical grabrail 450mm long | 4 | No
D | Ditto; - Drop-down (hinged) rail 625mm long | 1 | No
E | Ditto; - horizontal grabrail 600mm long | 1 | No
F | Ditto; - Pull rail fixed to door 600mm long | 1 | No
G | Shower fiitngs complete | 3 | No
| PLUMBING WORKS CARRIED TO SUMMARY |  | GH₵
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELECTRICAL INSTALLATION
Supply, install, test and commission the following electrical works:
LV Distribution
PVC heavy guage conduit pipe
Lay PVC conduit pipes in chases in blockwork, or in floor screed or concrete floor or through ceiling.
A | 50mm diameter | 30 | LM
Cables
B | Lay 2x16mm² PVC cable in conduit | 20 | LM
Copper Earthing components
C | 16mm² green/yellow copper earthwire drawn in to conduit | 30 | LM
D | 20mm diameter 1.5m long earthrod with clamp driven in to Furse or equal | 5 | No.
E | 1m long air terminal complete; Furse or equal | 2 | No.
F | 3mmx25mm copper tape, clips and clamps | 15 | m
LV Switchgear and Distribution Boards
G | 100A Double pole and neutral moulded case circuit breaker
| (MCCB) complete with earthbar and enclosure; Crabtree or equal. | 1 | No.
H | 12-way 100A 230V, SPN flush mounted memshield
| distribution board incorporating: | 1 | No.
100A SPN Isolator incomer
6Nos. 6A SP MCB outgoing
2Nos. 20A SP MCB outgoing
4Nos. 32A SP MCB outgoing
General lighting and fans
PVC heavy guage conduit and fittings
J | 20mm diameter straight conduit in chases in block work or in floor screed or in concrete floor or in ceiling | 500 | LM
K | Circular boxes | 28 | No.
L | 75mmx75mmx35mm rectangular flush steel boxes | 18 | No.
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PVC Insulated cable, single core stranded copper conductors
1.5mm² cable drawn in to conduit
M | Red insulation | 500 | LM
N | Black insulation | 500 | LM
P | Green/yellow insulation | 500 | LM
Fittings
Supply and install the following lighting fittings complete with
bulbs and tubes including all connections
A | 8W, 230V Energy saving light complete (internal) | 9 | No.
B | 18W, 230V Energy saving light complete (internal) | 3 | No.
C1 | 20W, 230V Energy saving light complete (external) | 6 | No.
C | 230V, 1420mm (56in) sweep ceiling fan with regulator
| Indian Crompton or equal | 6 | No.
Accessories
D | 5A single pole flush plate switches 1-gang 1-way; MEM or equal | 12 | No.
General power
Final Circuits 230V, 13A Switch Socket Outlet for General
Power
E | 20mm diameter PVC rigid conduit laid in chases in block work
| or in floor screed or in concrete floor | 300 | LM
F | 2.5mm² PVC red and black insulated single core copper
| cable drawn in to conduit | 600 | LM
G | 133mmx75mmx35mm flush steel conduit boxes | 21 | No.
H | 2.5mm² green/yellow copper cable drawn into conduit | 300 | LM
J | 13A, 230V twin (2-gang) switch socket outlet MEM or equal | 7 | No.
Final Circuits 230V 20A Double Pole switch for airconditioner
K | 20mm diameter PVC rigid conduit laid in chases in block | 20 | m
work or in floor screed or in concrete floor, beam or column
or in ceiling
PVC insulated cable single core stranded copper conductors
4.0mm² cable drawn into conduit
L | Red insulation | 20 | m
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
M | Black insulation | 20 | m
N | Yellow/Green insulation | 20 | m
P | 75mmx75mmx35mm flush steel conduit boxes | 1 | No
Q | 20A, 230V DP switch marked air conditioner/hand dryer/Water heater | 1 | No
R | Include the Provisional sum of Eight thousand Ghana Cedis (GH¢8,000.00) for connection to electricity mains Including acquisition of meter |  | Sum
| ELECTRICAL WORKS CARRIED TO SUMMARY |  | GH₵
PLASTERWORK AND OTHER FLOOR,WALL AND CEILING FINISHES
25mm thick cement sand render on blockwork, beam and column
A | Plastering | 690 | m2
K.LINING / SHEATING / DRY PARTITIONING
B | Plywood Ceilings,10mm thickness to ceilings,width not exceeding 300mm fixing to timber includng the eaves | 209 | m2
C | Ceiling battens | 277 | m
Beds and backings
Cement and sand (1:3) as described on floor to receive floor tiles
D | 50mm level paving, trowelled smooth | 197 | m2
E | 400 x 400 x 12mm porcelain floor tiles porcelain laid basement floor | 197 | m2
Beds and Backings
Cement and sand (1:3) as described 12mm screeded backing to receive
F | Wall tiles (measured separately) | 50 | m2
G | 400 x 250 x 12mm porcelain wall tiles laid on walls in washrooms and kitchen | 50 | m2
H | Tile Skirting 600mm x 600mm x 10mm | 105 | m
| PLASTERWORK AND OTHER FLOOR,WALL AND CEILING CARRIED TO SUMMARY |  | GH₵
ITEM | DESCRIPTION | QTY | UNIT
PAINTING
Prepare surface and apply one coat emulsion paint and two full coats of 'Vinyl Deluxe' or approved equal quality emulsion paint on
A | General surfaces, rendered concrete and block walls girth > 300mm | 575 | m²
B | Ditto Ceiling and ceiling eaves | 209 | m²
Knot, prime, stop and apply undercoats and one finishing coat, gloss 'Deluxe' oil paint on
C | General surfaces, wrot hardwood, girth > 300mm | 55 | m²
| PAINTING CARRIED TO SUMMARY |  | GH₵
ITEM | DESCRIPTION | QTY | UNIT
Substructure
B | Superstructure
B1 | Concrete Works
B2 | Reinforcement
B3 | Formwork
B4 | Blockwork
B5 | Roofing Works
B6 | Carpentry
B7 | Joinery
B8 | Plumbing Installations
B9 | Electrical Installations
B10 | Finishing Works
B11 | Painting
| TOTAL |  | GH¢
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
BILL NO. 4 - EXTERNAL WORKS (CHPS COMPOUND & NURSES QUARTERS)
DRAIN CONSTRUCTION
Earthwork
A | Trench excavation of foundation trench depth not exceeding 0.675m | 30 | m³
B | Backfilling around drain walls | 8 | m³
C | Remove excess excavated materials from site | 22 | m²
Blockwork
D | 150mm thick sancrete bockwork laid in one side to form the drain on the side of the apron | 25 | m²
Concrete Works
E | 100mm thick in-situ mass concrete (1:6) in foundation and base of drain | 9 | m²
Rendering
K | 16mm thick cement and sand screed (1:6) inside the base of drain | 30 | m²
L | Ditto: Top and vertical sides of drain wall | 37 | m²
DRAINS
APRONS
A | Excavate trench for blockwork for apron width not exceeding 0.30m and depth not exceeding 0.675m | 19 | m²
B | Filling to make compacted level to receive aprons concrete width 0.6m | 30 | m³
C | 100mm thick in situ Concrete (1:6) to form aprons width 0.60m | 6 | m³
D | Concrete in foundation | 6 | m³
E | 150mm thick sancrete bockwork laid in foundation to form apron | 80 | m²
D | Sawn formwork to edges of apron concrete collection | 95 | m
APRONS
WASTE DISPOSAL SYSTEM
(Septic Tank (2.7m x 3.6m x 3m(depth) and Inspection Chambers)
Excavation and Earthwork
A | Excavate pit for septic tank with maximum depth not exceeding 3.0 meters including extra overs | 30 | m³
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Backfilling
C | Backfill with previously excavated materials | 8 | m³
D | Remove excess excavated material from site | 21 | m³
Concrete works
E | Plain in- situ concrete grade C20/30 as base slab 150mm thick | 2 | m³
F | Reinforced in-situ vibrated concrete grade C20/30 100mm thick as pit suspended slab | 2 | m³
G | Ditto:100mm thick cover slab 450mm×450mm including steel handles and accompanying formwork | 3 | No.
Reinforcement
H | 12mm diameter deformed mild steel bars cut and arranged in an approved pattern as described in suspended slab | 115 | kg
A | Sawn formwork as descibed in the soffit and sides of slab | 42 | m²
Blockwork
B | 200mm thick solid sandcrete blockwork in cement and sand mortar (1:6) in pit. | 50 | m²
Finishing
D | 20mm thick cement and sand render on vertical faces of blockwork | 45 | m²
Inspection Chambers
E | 750mm× 750mm blockwall inspection chamber with benched concrete base including all necessary plasterwork and cover slabs | 4 | No.
WASTE DISPOSAL SYSTEM
FENCE WALL (ACCOMODATION)
Excavation and Earthwork
A | Excavate foundation trench not exceeding 1.50m deep commencing from stripped level | 13 | m³
B | Excavate pit for column bases not exceeding 1.50m deep commencing at stripped level | 5 | m³
C | Backfilling and well ramming selected excavated materials around foundation and well compacted to consolidate | 4 | m³
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
CONCRETE WORK
Plain insitu concrete 1:3:6-44mm aggregate -
E | Foundations | 2 | m³
Reinforced in-situ concrete (1:3:6-19mm Aggregate) mix in: -
F | Column base | 1 | m³
G | Decorative Columns | 1 | m³
Reinforcements
H | Mild Steel round bar reinforcement -
J | 12mm Diameter in column | 55 | kg
K | 12mm Diameter in column bases | 50 | kg
L | 8mm Diameter in columns as stirrups | 15 | kg
FORMWORK -
Sawn formwork to: -
M | Sides of column | 18 | m²
BLOCK WORK
Solid sandcrete blockwork in cement and sand mortar (1:4) in:
N | 150mm Thick wall | 30 | m²
FINISHING
19mm Thick cement and sand mortar (1:4) -
U | Wall | 55 | m²
V | Columns | 13 | m²
PAINTING AND DECORATING -
Prepare, seal and apply three coats of emulsion paint on: -
W | Walls | 55 | m²
X | Columns | 13 | m²
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
B | 50mm and 25mm size galvanised steel square pipes cut to lengths and fabricated to architect's specifications to form gate size 3000 (width) x 1800 (height) as per drawing, welded into decorative columns including all necessary painting, fittings and locks |  | Item
FENCE WALL
SUMMARY
Drains Construction
Apron
Waste Disposal System
Fence wall for Accommodation
External Works to Summary
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
GENERAL SUMMARY
A | BILL NO. 1 - PRELIMINARIES
B | BILL NO. 2 - CHPS COMPOUND
C | BILL NO. 3 - 3-UNIT NURSES QUARTERS
D | BILL NO. 4 - EXTERNAL WORKS
| SUB-TOTAL |  | GH₵
2% Contigency
TOTAL