## ENGR PRICE
Item | Description | Qty | Unit | Rate | Amount
BILL OF QUANTITIES FOR CONSTRUCTION OF 1NO. POLICE STATION WITH MECHANIZED BOREHOLE AT AGYEMANDIEM
BILL NO.1 : PRELIMINARIES AND GENERAL
CONDITIONS OF CONTRACT
CONTRACTUAL REQUIREMENTS
A | Performance Security
B | Insurance
SPECIFIC REQUIREMENTS
General Scaffolding
C | Allow for general scaffolding for the whole of the works
Safety,Health and Welfare
D | Allow for safety, health and welfare of the people
(First Aid)
Transport
E | Allow for transport for work-people
Water for the Works
F | Include for providing the whole of the water required
for execution of the works
Watching and Protecting
G | The Contractor from time of being placed in possession
must include for watching light and protecting the works
H | Remove for removing rubbish from time to time as may
be directed to leave the work clean on completion
Agent / Foreman In-charge
J | Include for the provision for establishment and
| maintenance of temporary site office and store |  |  |  | 6000
Total carried down
Page 1
Item | Description | Qty | Unit | Rate | Amount
Total brought forward
Setting-out of the Works
A | Allow for providing all necessary stakes, templates,
rods, instruments and the like for the proper setting-out
and execution of the works and make such available
to the Consultant for necessary checking
Progress Photographs
B | Provide one set of progress photographs to the
Consultant each month during the duration of the
Works. Each photograph shall be taken from at least
four (4) different vantage points on the site
Project Sign Board
C | The Contractor is to allow for providing a timber or
wooden board size 1.20m x 1.20m overall in mounted
on 2No. 2x4 hardwood of total height 2.8m
(0f which 0.6m will be burried in ground) in prominent
position on the Site bearing the title of the Project,
the names of the Employer and Consultant and such
| other information as the Consultant may direct | 2
BILL No. 1: GENERAL CONDITIONS AND
PRELIMINARIES CARRIED TO GENERAL
| SUMMARY |  |  |  | 0
Page 2
Item | Description | Qty | Unit | Rate | Amount
BILL No. 2:- MAIN BUILDING
SUB-STRUCTURE
(ALL PROVISIONAL)
SITE PREPARATION
A | Clear site of all bushes, shrubs and undergrowth, pile
| up and burn on site | 311 | sm
B | Cut down tree, grub up roots and clear away tree
| exceeding 900 but not exceeding 1200mm girth | 4 | Nr
C | Excavate oversite average 150mm deep to remove
| top soil and deposit in spoil heap | 311 | sm
Excavation and Earthwork
D | Excavate foundation trench not exceeding 1.0m deep
| commencing at 150mm stripped level | 60 | cm
E | Excavate pit for column bases not exceeding 1.0m
| deep ditto | 13 | cm
F | Backfill with selected excavated material around
| foundation and compact | 40 | cm
G | Load up and cart away surplus excavated material,
spread on site or wheel awy 100m and deposit in
| spoil heaps | 20 | cm
Hardcore filling
H | Approved imported hardcore or laterite fitting
material well watered and compacted in 300mm thick
| layers to make up level under floor slab | 63 | cm
Concrete Work
Plain concrete (1:3:6-38mm aggregate) in
A | 50mm thick blinding | 1 | cm
B | Column bases | 4 | cm |  | 0
| Total carried down |  |  |  | 0
Page 3
Item | Description | Qty | Unit | Rate | Amount
| Total brought forward |  |  |  | 0
C | Foundation trench | 17 | cm
Reinforced in-situ concrete (1:2:4-20mm
aggregate) in
D | Column | 2 | cm
E | 150mm thick floor bed | 21 | cm
Mild steel round bar reinforcement to BS 785 as
described
F | 14mm diameter rods in column base | 300 | kg
G | Ditto in column | 204 | kg
H | 10mm diameter rods as stirrups | 216 | kg
Sawn formwork to
I | Vertical sides of column | 144 | sm
J | Edges of floor slab 150mm high | 70 | sm
Blockwork
solid sandcrete blockwork in cement and sand (1:4)
K | 150mm thick wall | 206 | sm
Plasterwork
Cement and sand (1:4) rendering on
L | 13mm thick rendering on concrete or blockwall | 32 | sm
Painting and Decorating
Prepare and apply three coats terracotta paint on
M | Rendered plinth walls | 32 | sm
| SUB-STRUCTURE Carried to Summary |  |  |  | 0
Page 4
Item | Description | Qty | Unit | Rate | Amount
SUPER STRUCTURE
CONCRETE WORK
Reinforced in-situ concrete (1:2:4-20mm aggregate) in
A | Columns | 6 | cm
B | Lintels / beams | 6 | cm
Reinforcement
Mild steel round bar reinforcement to BS 785 as
described
C | 14mm diameter bar in column | 361 | kg
D | 10mm ditto as links in column | 381 | kg
E | 14mm ditto in lintel or beams | 575 | kg
F | 10mm ditto as stirrups in lintels | 478 | kg
Sawn formwork to
G | Vertical sides of column | 410 | sm
H | Sides and soffits of lintel | 483 | sm
| CONCRETE WORKS Carried to Summary |  |  |  | 0
BLOCKWORK
Solid sandcrete blockwall in cement and sand
(1:4) mortar
A | 125mm thick wall | 495 | sm
BLOCKWORK Carried to Summary
Page 5
Item | Description | Qty | Unit | Rate | Amount
ROOFING
Corrugated roofing sheet
A | 0.50mm Gauge corrugated long span roofing sheet
laid on hard wood purlins with two corrugation side
lap, 225mm end lap with dome headed plastic drive
| screws | 270 | sm
B | Ditto pre-formed ridge capping 450mm girth nailed | 90 | sm
C | Ditto valley gutter 450mm girth | 24 | Lm
| ROOFING Carried to Summary |  |  |  | 0
CARPENTRY
Sawn treated hardwood as described in:
A | 50 x 150mm Rafter | 272 | Lm
B | 50 x 150mm Purlin | 308 | Lm
C | 50 x 50mm Ceiling joist | 272 | Lm
D | 50 x 50mm Ceiling noggins | 270 | Lm
E | 50 x 75mm Ceiling hangers | 228 | Lm
F | Allow for carpenters metalwork | item
CARPENTRY Carried to Summary
JOINERY
A | Wrought hardwood 25 x 250mm fascia board | 75 | Lm
Doors
B | 44mm thick (finished) paneled door in double compromising
100mm styles, top rails, 150mm mid and bottom rails
with open rebated and divided into four equal panels
| and filled with moulded panels size 1200 x 2050mm high | 1 | Nr
C | Ditto size 800 x 2050mm high | 8 | Nr
D | Ditto size 600 x 2050mm high | 7 | Nr
E | 800 x 2050mm high burglar proof fix at the cells | 2 | Nr
| Total carried down |  |  |  | 0
Page 6
Item | Description | Qty | Unit | Rate | Amount
Total brought forward
Framed frames
F | 50 x 150mm Door frame plugged to wall | 82 | Lm
G | Ditto window frame | 74 | Lm
H | Ditto mullion | 14 | Lm
Fillets, stops and battens
J | 20 x 50mm Door stop | 80 | Lm
K | 12 x 50mm Window cover battens | 70 | Lm
L | Ditto ceiling battens | 616 | Lm
M | 12 x 20mm Window fillets | 70 | Lm
Ironmongery
Supply and fix the following ironmongery to
hardwood with screws to match
A | Pair 100mm heavy duty brass butt hings | 14 | Pair
B | Heavy duty mortice lock with set of level handle | 14 | Nr
furniture
| Padlock | 4 | Nr
C | W C indicator bolt | 4 | Nr
JOINERY Carried to Summary
METAL WORK
A | 50 x 50mm Square galvanized steel welded mesh
| stapled to hardwood as burglar proof | 26 | sm
B | Aluminium woven mosquito proof netting to windows | 26 | sm
C | 16mm diameter iron rods as burglar proofing fix to frame | 304 | Lm
Total carried down
Page 7
Item | Description | Qty | Unit | Rate | Amount
| Total brought forward |  |  |  | 0
Standard Units
Naco' or other approved anodized louvre carrier
fixed with screws to match
D | Pair 8-blade louvre carrier 1675mm long for 150mm
| wide glass blade dual control | 19 | Pair
E | Ditto 4-blade do single control | 6 | Pair
METALWORK Carried to Summary
PLUMBING AND ENGINEERING
INSTALLATION
Pipework
A | Allow GH¢ 35,000,00 for pipework in connection with sanitary appliances installation with 3000 capacity polytank | Lot
Sanitary appliances
B | Twyford low-level wc suite complete | 4 | Nr | 1000 | 4000
C | Ditto wash hand basin (size 550 x 400mm) | 4 | Nr | 800 | 3200
E | Chromium plated toilet roll holder | 4 | Nr | 300 | 1200
F | Telephone shower (ATA) complete | 2 | Nr | 600 | 1200
| PLUMBING AND ENGINEERING INSTALLATION Carried to Summary |  |  |  | 9600
Item | Description | Qty | Unit | Rate | Amount
ELECTRICAL INSTALLATION
MAIN POWER SUPPLY
Supply and fix/lay the following
Distribution gear
Supply and install the following switches and distribution gears as MEM or approved equivalent
| 32 Way TPN MCB DB of mixed capacities, type B with 100A TPN integral isolator. | 1 | Nr
| Approved change over | 1 | Nr.
| Approved Cut – out fuse | 1 | Nr.
| Double face Meter | 1 | NO
| Meter Board | 1 | Nr
Wiring of Points
Supply and lay in concreted/block work the following pvc conduits and accessories
| 25 mm diameter pvc conduit pipe | 900 | m
0
| 150 x 85 x 35 mm steel conduit boxes | 16 | Nr
0
| 85 x 85 x 35 mm steel conduit boxes | 10 | Nr
| Circular boxes assorted | 40 | Nr
[5 empty] | 0 | 25
| 225 x 300 mm junction boxes | 1 | Nr
| Supply and draw into conduits the following cables of 600V grade |  |  |  | 0
| 1.5 mm2 insulated cable (BROWN, Y/B & Blue) as Kable metal or approved equivalent. (Stranded) for lighting circuit | 900 | m
|  |  |  | 0 | 0
| 2.5 mm2 insulated cable as kable metal or approved equivalent. (Stranded) for socket outlet | 600 | m | 10 | 6000
| 10.0 mm2 NCY insulated cable from Main Switch to DB's | 200 | m
| 16.0 mm2 NCY insulated cable from Main Power supply to DB's | 300 | m
| Earth rod buried in pit | 1 | Nr.
Allow professional sum of Ten Thousad Ghana
| cedis (GH₵8,000.00) for air-condion cable | item |  | 8000
| C/F |  |  | 0
| DESCRIPTION | QTY | UNIT | RATE | AMOUNT
| B/F |  |  |  | 0
| Accessories |  |  |  | 0
| Supply and fix the following fixture: |  |  |  | 0
| 13 AMP -Rectangular pin double socket | 16 | Nr.
| 6A Sp 1 gang 1 way flush switch, as volex or approved equvalent | 10 | Nr
0
| 6A Sp 2 gang 2 way flush switch, as volex or approved equvalent | 5 | Nr
| 6A Sp 1 way 3 gang flush switch, as volex or approved equvalent | 3 | Nr | 25 | 75
0
| 13A wall flush SSO, 2 gang 2 Pole. As MEM or approved equivlent | 5 | Nr | 30 | 150
| Supply and install the externsion of pole from the current power sorce to the main building |  | Nr
| Approve,Supply and fix ceiling fans with metal hooks | 11 | Nr.
Allow provisional sum of GH₵ 3000.00 for
| cable installation and connecting to the mains |  |  |  | 0
| protecting installations and testing |  | Item
| 50W energy saving Bulb | 23 | Nr
| Angle battern Lamp Holder | 5 | Nr
| Straight battern Lamp Holder | 18 | Nr | 0 | 0
G | Include the Provisional sum of GH¢ 9,000.00 for
Electrical Installation complete including connection
| to mains | item |  | 9000
N/B: The contractor is responsible for connecting
electricity from the mains to the meter of the building
ELECTRICAL INSTALLATION Carried to Summary
Page 8
Item | Description | Qty | Unit | Rate | Amount
FLOOR, WALL AND CEILING FINISHINGS
| Screeding | 142 | sm
In-situ finishings : Cement and sand (1:4)
A | 12mm thick rendering on walls | 990 | sm
B | Ditto on isolated columns | 1 | sm
Tiles
Tiles plain fixed on backing or beds with adhesive pointed and grouted in approved colouredgrout to match as described in:
C | 400 x 400 white glazed floor tiles on cement backing (measured separately) and pointed neat in white cement in the rooms | 76 | sm
D | Ditto unpolished pocelain floor tiles laid on screeded bed of washroom | 66 | sm
E | Ditto unpolished pocelain wall tiles laid on screeded bed of washroom | 114 | sm
Ceiling
Plain sheet finishings
F | 3mm thick quality (red) plywood ceiling board nailed to
| soffits of hardwood noggins (measured separately) | 139 | sm
G | Ditto eaves ceiling | 30 | sm
FLOOR, WALL AND CEILING FINISHINGS
| Carried to Summary |  |  |  | 0
GLAZING
Louvre glass
A | 6 x 150mm wide plain or obscured louvre glass blade
| 750mm long both long edges rounded and fixed into | 152 | Nr
metal clips
Mirror
B | 450 x 600mm plain mirror with beveled edges four
| times pre-drilled for and screwed to wall | 4 | Nr
| GLAZING Carried to Summary |  |  |  | 0
Page 9
Item | Description | Qty | Unit | Rate | Amount
PAINTING AND DECORATING
A | Rendered and plastered walls | 990 | sm
B | Ditto isolated columns | 2 | sm
C | Rendered honeycomb wall | 12 | sm
D | Ceiling | 267 | sm | 0 | 0
Prime back joinery with approved wood primer
befor fixing
E | General surfaces of wood not exceeding 300mm wide | 33 | sm
Knot, prime, stop prepare and apply three coats
hard gloss oil paint on
F | General surfaces(doors & windows) | 120 | sm
G | Ditto in narrow widths not exceeding 300mm girth | 35 | sm
H | Metal surfaces | 5 | sm
PAINTING AND DECORATING Carried to Summary
Item | Description | Qty | Unit | Rate | Amount
EXTERNAL WORKS
POLYTANK STAND
D20: EXCAVATING AND FILLING
A | Excavate foundation trench not exceeding 1.5m
| commencing at formation level | 3 | m³
B | Pits
| Maximum depth ≤ 0.25m; commencing | 2 | m³
at 500mm below existing ground level
Disposal
B | Excavated material | 1 | m³
Off site
Filling to excavation
C | Average thickness ≤ 0.25m; arising from | 1 | m³
excavations
CONCRETE WORKS
Concrete (1:2:4-20mm aggregate) to attain a
minimum crushing strength of 21N/mm2 in 28 days
D | Foundation | 1 | m³
E | Column bases | 1 | m³
F | Isolated columns | 1 | m³
G | Beams | 1 | m³
H | Slab | 1 | m³
Formwork, basic finish to
J | Edges of slabs | 12 | m
plain vertical, height ≤ 250mm
K | Isolated columns | 7 | m²
L | Soffit of slab | 8 | m²
Carried forward
Item | Description | Qty | Unit | Rate | Amount
| Brought forward |  |  |  | 0
POLYTANK STAND CONT.
REINFORCEMENT FOR IN SITU
CONCRETE
Mild Steel Reinforcement bars BS 4449 straight
A | 8mm nominal size, links | 15 | Kg
B | 12mm nominal size in slab | 162 | Kg
C | 16mm nominal size in column bases | 57 | Kg
D | 16mm nominal size in column | 77 | Kg
BRICK/BLOCK WALLING
E | 150mm thick; vertical | 39 | m²
PLASTERED/RENDERED
mortar, cement and sand (1:3, steel trowelled
F | 150mm wall | 76 | m²
PIPED SUPPLY SYSTEMS
G | Include the Provisional sum of Two Thousand |  | item
Ghana Cedis (GH¢ 2,000.00) for pipe works
and fitting
H | Include the Provisional sum of GH₵8,000.00
| for supply and installation of 3000litres polytank |  | item | 8000
POLYTANK STAND
CARRIED TO SUMMARY
Item | Description | Qty | Unit | Rate | Amount
EXTERNAL WORKS CONT.
Septic Tank
Excavate pit over 3.0 meters deep but not exceeding
C | 4.5 meters deep | 46 | CM
D | Ditto extra over in rock | 10 | CM
E | Backfill selected excavated material around foundation | 14 | CM
F | Remove surplus excavated material from site | 15 | CM
CONCRETE WORKS
Plain in-situ concrete (1:4:8- 40 mm agg.) as described in;
| 50mm thick Blinding. | 20 | SM
Plain in-situ concrete (1:2:4 - 40 mm agg.) as described in;
G | 150mm thick Bed. | 3 | CM |  | 0
Reinforced concrete (1:2:4- 20mm agg.) as described in;
K | Column base | 1 | m³
L | Column | 1 | m³
M | Beam | 1 | m³
| Suspended Concrete Slab (150mm thick) | 2 | m²
| 600 x 600 x 100mm precast cover for inspection chambers | 4 | nr
| 900 x 900 x 75mm reinforced pre-cast concrete grade 20 | 2 | Nr.
manhole cover with lifting handles
REINFORCEMENT
Mild steel rod reinf. To BS-4449 cut , bent and hoisted in
position.
| 8mm nominal size, links in columns | 17 | kg
| 8mm nominal size, links in beams | 11 | kg
| 16mm diameter bars in columns | 142 | kg
| 16mm diameter bars in Beam | 49 | kg
| 12mm diameter bars in Floor slab | 210 | kg
| 12mm diameter bars in column bases | 29 | kg
FORMWORK
J | Sawn formwork to: |  |  |  | 0
| Vertical sides of column base | 5 | m²
| Vertical sides of columns. | 13 | m²
| Sides and soffit of Beam | 4 | m²
| Soffit of concrete slab | 13 | m²
| Edges concrete concrete slab , 150mm wide. | 17 | m
| 50 x 100mm hard wood planted to formwork as rebate | 24 | M
BLOCK WORK
| 150mm solid sand Crete block work jointed in cement and sand mortar ( 1:4 ) | 64 | m²
IN-SITU FINISHES
20mm thick cement and sand(1:4)mortar rendered smooth on:
M | Walls and Columns | 30 | m²
N | 50mm thick cement and sand (1:4 ) screeding laid on
| concrete base. | 13 | m² |  |  | 25
R | 38mm thick cement and sand mortar ( 1: 4 ) screeded bed on slab | 20 | SM
SOIL PIPEWORKS AND INSPECTION CHAMBERS
| Allow provision sum of GH₵ 2,300.00 | item
| SEPTIC TANK TO COLLECTION |  |  |  | 0
COLLECTION
| POLYTANK STAND |  |  |  | 0
| SEPTIC TANK |  |  |  | 0
| COLLECTION TO SUMMARY |  |  |  | 0
| Include a provitional sum of GH₵ 7,000.00 for the construction of aprons and drains |  |  | 7000
EXTERNAL WORKS Carried to Summary
Item | Description | Qty | Unit | Rate | Amount
FURNISHING
A | Purchase, supply and fix office tables | 4 | Nr
B | Purchase, supply and fix office chairs | 10 | Nr
C | Purchase, supply and fix 3 in 1 Steel chairs | 4 | Nr
| FURNISHING - Carried to Summary |  |  |  | 0
Page 10
Item | Description |  |  |  | Amount- GH¢
SUMMARY
A | SUB-STRUCTURE
B | CONCRETE WORK
C | BLOCKWORK
D | ROOFING
E | CARPENTRY
F | JOINERY
G | METAL WORK
H | PLUMBING AND ENGINEERING
INSTALLATION
I | ELECTRICAL INSTALLATION
J | FLOOR WALL AND CEILING FINISHINGS
K | GLAZING
L | PAINTING AND DECORATING
M | EXTERNAL WORKS
N | FURNISHING
CONSTRUCTION OF 1NO. POLICE STATION AT AGYEMANDIEM
Carried to General Summary
Page11
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMT (GH¢)
BILL NO.4 : DRILLING, Construction, Installion and Mechanisation 1No. Borehole - Agyemadiem
A | Mobilisation/Demobilisation
A1 | Mobilisation |  | Item
A2 | Demobilisation |  | Item
B | Hydrogeological Studies of Boreholes
B1 | Desk Study | 1 | Site
B2 | Terrain Evaluation only | 1 | Nr
B3 | Terrain Evaluation + Geophysical Studies(VES) | 1 | Nr
B4 | Terrain Evaluation + Geophysical Studies(Electric profiling + VES only) | 1 | Nr
B5 | Calibration | 1 | Nr |  | 0
B6 | Interpretation of Data and Site selection | 1 | Nr
B7 | Supervision of Drilling and pumping test of successfull wells | 3 | Hours
C | Borehole drilling using down-the- hammer equipment as follows:
C1 | Drilling 212-250mm through overburden | 15 | Lm
C2 | Drilling 165-176mm in basement rock | 45 | Lm
D | Borehole lining and installation
D1 | Temporary Casings (PVC or Steel) (recovered for equipped boreholes and 20% of unsuccessful BH)(200mm) | 22 | Lm
D2 | Protection Casings (PVC or Steel) (not recovered for 80% of unsuccessful BH) (200mm) | 6 | Lm
D3 | Recovering of protection casing, supply & Installation of bell mouth | 2 | Lm
Total carried forward
Page 12
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMT (GH¢)
| Total Brought forward |  |  |  | 0
D4 | PVC casing 126/140mm with flush threaded joints -incl. Centralisers (Supply and Installations) | 15 | Lm
D5 | PVC casing 126/140mm with slotted 0.5 to 1mm flush threaded joints (Supply and Installations) | 15 | Lm
D6 | Supply and Installation of 2-4mm of gravel pack | 25 | Lm
D7 | Supply and Installation of 1-2mm of gravel pack | 11 | Lm
D8 | Backfilling annulus | 15 | Lm
D9 | Supply cement, mix and place grout seal above gravel | 5 | Lm
A | Cleaning, Development and Testing
A1 | Cleaning and development by airlift | 3 | Hours
A2 | Pumping test, draw down, Pump in use | 6 | Hours
A3 | Pumping test, recovery, Pump stopped | 3 | Hours
A4 | Installation and Removal of pump test unit | 1 | Item
A5 | Water quality analysis | 1 | Item
A6 | Temporary protection cap on successful Borehole | 1 | Item
B | Submersible Pump Installation
B1 | Supply and Installation of pedrollo 2.0 hose power submersible pump with all assesories. | 1 | Item
B2 | Allow for profit on Nominated Sub-Contractor( 5%) | Item
B3 | Construction of stand pipe bases with three (3) service
| Taps pipes including long one | 1 | NO
| BILL NO.4: DRILLING, Construction, Installion and Mechanisation of 1No. Borehole Carried to Summary |  |  |  | 0
Page 13
Item | Description |  |  |  | Amount-GH¢
GENERAL SUMMARY
BILL NO.1
A | GENERAL CONDITIONS AND
PRELIMINARIES ………………………….… (A)
BILL NO.2
B | CONSTRUCTION OF 1NO. POLICE STATION (B)
BILL NO.3
C | DRILLING, Construction, Installion and Mechanisation 1No. Borehole …........................................... (D)
D | Sub Total of BILLS …………… D = (A+B+C) |  |  |  | 0
H | TOTAL COST CARRIED TO FORM OF
TENDER ………………………… H = (E +F+ G)
Signed…………………………………...………….
For and Behalf………………………..……………..
…………………………Date……………….…….
Page 14