GOVERNMENT OF GHANA

MINISTRY OF LOCAL GOVERNMENT CHIEFTAINCY AND RELIGIOUS AFFAIRS

TARKWA NSUAEM MUNICIPAL ASSEMBLY

TENDER DOCUMENT

FOR

CONSTRUCTION OF 4NO. SINLGE CELL PIPE CULVERT AT ESUOSO

IFT NO: WR/TNMA/WKS/DACF/12/26

Supervising Department/Consultant:

Municipal Works Department

Tarkwa Nsuaem Municipal Assembly

P. O. Box 1

Tarkwa

OCTOBER 2026

Table of Contents

Introduction

Invitation for Tenders	3

Section I.   Instructions to Tenderers	6

Table of Clauses	7

Instructions to Tenderers	9

Section II.  Forms of Tender, Qualification Information, Letter of Acceptance, and Agreement	31

Contractor’s Tender	32

ATTACHMENTS TO THE TENDER	35

Attach. 1	Power of Attorney	35

Attach. 2	Tender Security	35

Attach. 3	Price Schedules	35

Attach. 4	Documentary Evidence of Tenderer’s Qualifications	35

Attach. 5	Others:	35

-	Work Programmeme and Schedule	35

-	List of Subcontractors	35

-	Design Drawings, Calculations and Technical Alternatives	35

Qualification Information	36

Qualification Information	36

Section III.  Conditions of Contract	42

Table of Clauses	43

Section IV.  Contract Data	68

Section V.  Specifications	72

Section VI.  Drawings	131

Section VII.  Bill of Quantities	133

Section VIII.  Security Forms	134

Annex A Form:  Tender Security (Bank Guarantee)	135

Annex B Form (Alternative 2):  Performance Bond	138

Annex C Form:  Bank Guarantee for Advance Payment	140

# Invitation for Tenders

Invitation for Tenders (IFT)

Date:  …26/OCTOBER/2026……

Contract Name: CONSTRUCTION OF 4NO. SINLGE CELL PIPE CULVERT AT ESUOSO

Contract No.: WR/TNMA/WKS/DACF/12/26

The TARKWA NSUAEM MUNICIPAL ASSEMBLY wishes to apply part of its District Assembly Common Fund (DACF) towards the cost of payments under the Contract for CONSTRUCTION OF 4NO. SINLGE CELL PIPE CULVERT AT ESUOSO

Tender is open to all eligible Contractors/Tenderers from eligible source countries as defined in the Guidelines of the Public Procurement Authority of the Republic of Ghana.

The TARKWA NSUAEM MUNICIPAL ASSEMBLY invites sealed Tenders from eligible Tenderers for the CONSTRUCTION OF 4NO. SINLGE CELL PIPE CULVERT AT ESUOSO.

Tenders shall be valid for a period of 120 days after Tender opening and must be accompanied by security of …2%... or its equivalent in a convertible currency, and shall be submitted electronically through GHANEPS (via www.ghaneps.gov.gh) Monday 9th November 2026 at 10:00 hrs GMT, at which time they will be opened in the presence of the Tenderers who wish to attend.

# Section I.   Instructions to Tenderers

## Table of Clauses

A.  General	9

1.	Scope of Tender	9

2.	Source of Funds	9

3.	Eligible Tenderers	9

4.	Qualification of the Tenderer	10

5.	One Tender per Tenderer	12

6.	Cost of Tender	13

7.	Site Visit	13

B.  Tender Documents	13

8.	Content of Tender Documents	13

9.	Clarification of Tender Documents	13

10.	Amendment of Tender Documents	13

C.  Preparation of Tenders	14

11.	Language of Tender	14

12.	Documents Comprising the Tender	14

13.	Tender Prices	14

14.	Currencies of Tender and Payment	15

15.	Tender Validity	15

16.	Tender Security	16

17.	Alternative Proposals by Tenderers	17

18.	Format and Signing of Tender	17

D.  Submission of Tenders	19

19.	Sealing and Marking of Tenders	19

20.	Deadline for Sub-mission of Tenders	19

21.	Late Tenders	19

22.	Modification and Withdrawal of Tenders	19

E.  Tender Opening and Evaluation	20

23.	Tender Opening	20

24.	Process to Be Confidential	20

25.	Clarification of Tenders	21

26.	Examination of Tenders and Determination of Responsiveness	21

27.	Correction of Errors	21

28.	Currency for Tender Evaluation	22

29.	Evaluation and Comparison of Tenders	22

30.	Preference for Domestic Tenderers	23

F.  Award of Contract	24

31.	Award Criteria	24

32.	Employer’s Right to Accept any Tender and to Reject any or all Tenders	24

33.	Notification of Award and Signing of Agreement	25

34.	Performance Security	25

35.	Advance Payment and Security	26

36.	Adjudicator	26

G.  Tender Data	28

# Instructions to Tenderers

A.  General

| 1. Scope of Tender | 1.1 The Employer as defined in the Contract Data, invites Tenders for the construction of Works, as described in the Contract Data. The name and identification number of the Contract is provided in the Contract Data. 1.2 The successful Tenderer will be expected to complete the Works by the Intended Completion Date specified in the Contract Data. |
| --- | --- |
| 2. Source of Funds | 2.1 The Procurement Entity (hereinafter called “Employer”) named in the Tender Data Sheet shall fund this procurement from part of its budgetary allocation toward the realization of the project named in the TDS. 2.2 Payments will be made only at the request of the Employer and upon approval by a designated official of the Republic of Ghana in accordance with the terms and conditions of the contract between the Purchaser and the Supplier (hereinafter called the Contract), and will be subject in all respects to the Financial Administration Act, 2003 (Act 654) the Republic of Ghana. No party other than the Supplier shall derive any rights from the Contract or have any claim to the funds. |
| 3. Eligible Tenderers | 3.1 This Invitation for Tenders is open to all Tenderers from eligible countries as defined in the Procurement Guidelines of the Procurement Board of the Republic of Ghana. Any materials, equipment, and services to be used in the performance of the Contract shall have their origin in eligible source countries. 3.2 All Tenderers shall provide in Section 2, Forms of Tender and Qualification Information, a statement that the Tenderer (including all members of a joint venture and subcontractors) is not associated, nor has been associated in the past, directly or indirectly, with the consultant or any other entity that has prepared the design, specifications, and other documents for the Project or being proposed as Project Manager for the Contract. A firm that has been engaged by the Employer to provide consulting services for the preparation or supervision of the Works, and any of its affiliates, shall not be eligible to Tender. 3.3 Government-owned enterprises in the country may only participate if they are legally and financially autonomous, and operate under commercial law. |
| 4. Qualification of the Tenderer | 4.1 All Tenderers shall provide in Section 2, Forms of Tender and Qualification Information, a preliminary description of the proposed work method and schedule, including drawings and charts, as necessary. 4.2 In the event that prequalification of potential Tenderers has been undertaken, only Tenders from prequalified Tenderers will be considered for award of Contract. These qualified Tenderers should submit with their Tenders any information updating their original prequalification applications or, alternatively, confirm in their Tenders that the originally-submitted prequalification information remains essentially correct as of the date of Tender submission. The update or confirmation should be provided in Section 2. 4.3 If the Employer has not undertaken prequalification of potential Tenderers, all Tenderers shall include the following information and documents with their Tenders in Section 2, unless otherwise stated in the Tender Data: (a) copies of original documents defining the constitution or legal status, place of registration, and principal place of business; written power of attorney of the signatory of the Tender to commit the Tenderer; (b) total monetary value of construction work performed for each of the last five years; (c) experience in works of a similar nature and size for each of the last five years, and details of work under way or contractually committed; and clients who may be contacted for further information on those contracts; (d) major items of construction equipment proposed to carry out the Contract; (e) qualifications and experience of key site management and technical personnel proposed for the Contract; (f) reports on the financial standing of the Tenderer, such as profit and loss statements and auditor’s reports for the past five years; (g) evidence of adequacy of working capital for this Contract (access to line(s) of credit and availability of other financial resources); (h) authority to seek references from the Tenderer’s bankers; (i) information regarding any litigation, current or during the last five years, in which the Tenderer is involved, the parties concerned, and disputed amount; and (j) proposals for subcontracting components of the Works amounting to more than 10 percent of the Contract Price. 4.4 Tenders submitted by a joint venture of two or more firms as partners shall comply with the following requirements, unless otherwise stated in the Tender Data: (a) the Tender shall include all the information listed in Sub-Clause 4.3 above for each joint venture partner; (b) the Tender shall be signed so as to be legally binding on all partners; (c) all partners shall be jointly and severally liable for the execution of the Contract in accordance with the Contract terms; (d) one of the partners will be nominated as being in charge, authorized to incur liabilities, and receive instructions for and on behalf of any and all partners of the joint venture; and (e) the execution of the entire Contract, including payment, shall be done exclusively with the partner in charge. 4.5 To qualify for award of the Contract, Tenderers shall meet the following minimum qualifying criteria: (a) annual volume of construction work of at least the amount specified in the Tender Data; (b) experience as prime contractor in the construction of at least two works of a nature and complexity equivalent to the Works over the last 10 years (to comply with this requirement, works cited should be at least 70 percent complete); (c) proposals for the timely acquisition (own, lease, hire, etc.) of the essential equipment listed in the Tender Data; (d) a Contract Manager with five years’ experience in works of an equivalent nature and volume, including no less than three years as Manager; and (e) liquid assets and/or credit facilities, net of other contractual commitments and exclusive of any advance payments which may be made under the Contract, of no less than the amount specified in the Tender Data. A consistent history of litigation or arbitration awards against the Applicant or any partner of a Joint Venture may result in disqualification. 4.6 The figures for each of the partners of a joint venture shall be added together to determine the Tenderer’s compliance with the minimum qualifying criteria of Sub-Clause 4.5(a) and (e); however, for a joint venture to qualify, each of its partners must meet at least 25 percent of minimum criteria 4.5(a), (b), and (e) for an individual Tenderer, and the partner in charge at least 40 percent of those minimum criteria. Failure to comply with this requirement will result in rejection of the joint venture’s Tender. Subcontractors’ experience and resources will not be taken into account in determining the Tenderer’s compliance with the qualifying criteria, unless otherwise stated in the Tender Data. 4.7 Domestic Tenderers and joint ventures of domestic and foreign Tenderers applying for eligibility for a 7½-percent margin of preference in Tender evaluation shall supply all information to satisfy the criteria for eligibility as described in Clause 30 of these Instructions to Tenderers. |
| 5. One Tender per Tenderer | 5.1 Each Tenderer shall submit only one Tender, either individually or as a partner in a joint venture. A Tenderer who submits or participates in more than one Tender (other than as a subcontractor or in cases of alternatives that have been permitted or requested) will cause all the proposals with the Tenderer’s participation to be disqualified. |
| 6. Cost of Tender | 6.1 The Tenderer shall bear all costs associated with the preparation and submission of his Tender, and the Employer will in no case be responsible or liable for those costs. |
| 7. Site Visit | 7.1 The Tenderer, at the Tenderer’s own responsibility and risk, is encouraged to visit and examine the Site of Works and its surroundings and obtain all information that may be necessary for preparing the Tender and entering into a contract for construction of the Works. The costs of visiting the Site shall be at the Tenderer’s own expense. |

B.  Tender Documents

| 8. Content of Tender Documents | 8.1 The set of Tender documents comprises the documents listed in the table below and addenda issued in accordance with Clause 10: Section I Instructions to Tenderers II Forms of Tender and Qualification Information III Conditions of Contract IV Tender Data V Specifications VI Drawings VII Bill of Quantities/Activity Schedule VIII Forms of Securities 8.2 Tenderers should complete and return sections II, IV and VII. |
| --- | --- |
| 9. Clarification of Tender Documents | 9.1 A prospective Tenderer requiring any clarification of the Tender documents may notify the Employer in writing or by cable (“cable” includes telex, facsimile and email) at the Employer’s address indicated in the invitation to Tender. The Employer will respond to any request for clarification received earlier than 28 days prior to the deadline for submission of Tenders. Copies of the Employer’s response will be forwarded to all purchasers of the Tender documents, including a description of the inquiry, but without identifying its source. |
| 10. Amendment of Tender Documents | 10.1 Before the deadline for submission of Tenders, the Employer may modify the Tender documents by issuing addenda. 10.2 Any addendum thus issued shall be part of the Tender documents and shall be communicated in writing or by cable to all purchasers of the Tender documents. Prospective Tenderers shall acknowledge receipt of each addendum by cable to the Employer. 10.3 To give prospective Tenderers reasonable time in which to take an addendum into account in preparing their Tenders, the Employer shall extend, as necessary, the deadline for submission of Tenders, in accordance with Sub-Clause 20.2 below. |

C.  Preparation of Tenders

| 11. Language of Tender | 11.1 All documents relating to the Tender shall be in the language specified in the Contract Data. |
| --- | --- |
| 12. Documents Comprising the Tender | 12.1 The Tender submitted by the Tenderer shall comprise the following: (a) The Tender (in the format indicated in Section 2); (b) Tender Security; (c) Priced Bill of Quantities; (d) Qualification Information Form and Documents; (e) Alternative offers where invited; and any other materials required to be completed and submitted by Tenderers, as specified in the Tender Data. |
| 13. Tender Prices | 13.1 The Contract shall be for the whole Works, as described in Sub-Clause 1.1, based on the priced Bill of Quantities submitted by the Tenderer. 13.2 The Tenderer shall fill in rates and prices for all items of the Works described in the Bill of Quantities. Items for which no rate or price is entered by the Tenderer will not be paid for by the Employer when executed and shall be deemed covered by the other rates and prices in the Bill of Quantities. 13.3 All duties, taxes, and other levies payable by the Contractor under the Contract, or for any other cause, as of the date 28 days prior to the deadline for submission of Tenders, shall be included in the rates, prices, and total Tender price submitted by the Tenderer. 13.4 The rates and prices quoted by the Tenderer shall be subject to adjustment during the performance of the Contract if provided for in the Tender and Contract Data and the provisions of Clause 47 of the Conditions of Contract. The Tenderer shall submit with the Tender all the information required under the Contract Data and Clause 47 of the Conditions of Contract. |
| 14. Currencies of Tender and Payment | 14.1 The unit rates and prices shall be quoted by the Tenderer entirely in the currency of the Employer’s country as specified in the Contract Data. Foreign currency requirements shall be indicated as a percentage of the Tender price (excluding provisional sums) and shall be payable at the option of the Tenderer in up to three foreign currencies of any eligible country. 14.2 The rates of exchange to be used by the Tenderer in arriving at the local currency equivalent and the percentage(s) mentioned in para. 14.1 above shall be the selling rates for similar transactions established by the authority specified in the Contract Data prevailing on the date 28 days prior to the latest deadline for submission of Tenders. These exchange rates shall apply for all payments so that no exchange risk will be borne by the Tenderer. If the Tenderer uses other rates of exchange, the provisions of Clause 28.1 shall apply. In any case, payments will be computed using the rates quoted in the Tender. 14.3 Tenderers shall indicate details of their expected foreign currency requirements in the Tender. 14.4 Tenderers may be required by the Employer to clarify their foreign currency requirements and to substantiate that the amounts included in the rates and prices and in the Contract Data are reasonable and responsive to Sub-Clause 14.1. |
| 15. Tender Validity | 15.1 Tenders shall remain valid for the period specified in the Tender Data. 15.2 In exceptional circumstances, the Employer may request that the Tenderers extend the period of validity for a specified additional period. The request and the Tenderers’ responses shall be made in writing or by cable. A Tenderer may refuse the request without forfeiting the Tender Security. A Tenderer agreeing to the request will not be required or permitted to otherwise modify the Tender, but will be required to extend the validity of Tender Security for the period of the extension, and in compliance with Clause 16 in all respects. 15.3 In the case of contracts in which the Contract Price is fixed (not subject to price adjustment), if the period of Tender validity is extended beyond 60 days, the amounts payable in local and foreign currency to the Tenderer selected for award, shall be increased by applying to both the local and the foreign currency component of the payments, respectively, the factors specified in the Tender Data or in the request for extension, for the period of delay beyond 60 days after the expiry of the initial Tender validity, up to the notification of award. Tender evaluation will be based on the Tender prices without taking the above correction into consideration. |
| 16. Tender Security | 16.1 The Tenderer shall furnish, as part of the Tender, a Tender Security in local currency or in a freely convertible currency, in the amount specified in the Tender Data. 16.2 The Tender Security shall, at the Tenderer’s option, be in the form of a certified check, bank draft, letter of credit, or a bank guarantee from a reputable bank located in the country of the Employer or abroad. The format of the Tender Security should be in accordance with the form of Tender Security included in Section 8 or another form acceptable to the Employer. Tender Security shall be valid for 28 days beyond the validity of the Tender. 16.3 Any Tender not accompanied by an acceptable Tender Security shall be rejected by the Employer. The Tender Security of a joint venture must define as “Tenderer” all joint venture partners and list them in the following manner: a joint venture consisting of “______,” “______,” and “______”. 16.4 The Tender Security of unsuccessful Tenderers will be returned within 28 days of the end of the Tender validity period specified in Sub-Clause 15.1. 16.5 The Tender Security of the successful Tenderer will be discharged when the Tenderer has signed the Agreement and furnished the required Performance Security. 16.6 The Tender Security may be forfeited (a) if the Tenderer withdraws the Tender after Tender opening during the period of Tender validity; (b) if the Tenderer does not accept the correction of the Tender price, pursuant to Clause 27; or (c) in the case of a successful Tenderer, if the Tenderer fails within the specified time limit to (i) sign the Agreement; or (ii) furnish the required Performance Security. |
| 17. Alternative Proposals by Tenderers | 17.1 Tenderers shall submit offers that comply with the requirements of the Tender documents, including the basic technical design as indicated in the drawings and specifications. Alternatives will not be considered, unless specifically allowed in the Tender Data. If so allowed, Sub-Clause 17.2 shall govern. 17.2 If so allowed in the Tender Data, Tenderers wishing to offer technical alternatives to the requirements of the Tender documents must also submit a Tender that complies with the requirements of the Tender documents, including the basic technical design as indicated in the drawings and specifications. In addition to submitting the basic Tender, the Tenderer shall provide all information necessary for a complete evaluation of the alternative by the Employer, including design calculations, technical specifications, breakdown of prices, proposed construction methods and other relevant details. Only the technical alternatives, if any, of the lowest evaluated Tenderer conforming to the basic technical requirements shall be considered by the Employer. |
| 18. Format and Signing of Tender | 18.1 The Tenderer shall prepare one original of the documents comprising the Tender as described in Clause 12 of these Instructions to Tenderers, bound with the volume containing the Form of Tender, and clearly marked “ORIGINAL.” In addition, the Tenderer shall submit copies of the Tender, in the number specified in the Tender Data, and clearly marked as “COPIES.” In the event of discrepancy between them, the original shall prevail. 18.2 The original the Tender shall be typed or written in indelible ink and shall be signed by a person or persons duly authorized to sign on behalf of the Tenderer, pursuant to Sub-Clauses 4.3(a) or 4.4(b), as the case may be. All pages of the Tender where entries or amendments have been made shall be initiated by the person or persons signing the Tender. 18.3 The Tender shall contain no alterations or additions, except those to comply with instructions issued by the Employer, or as necessary to correct errors made by the Tenderer, in which case such corrections shall be initiated by the person or persons signing the Tender. |

D.  Submission of Tenders

| 19. Sealing and Marking of Tenders | 19.1 The Tenderer shall seal the original and all copies of the Tender in two inner envelopes and one outer envelope, duly marking the inner envelopes as “ORIGINAL” and “COPIES”. 19.2 The inner and outer envelopes shall (a) be addressed to the Employer at the address provided in the Tender Data; (b) bear the name and identification number of the Contract as defined in the Tender and Contract Data; and (c) provide a warning not to open before the specified time and date for Tender opening as defined in the Tender Data. 19.3 In addition to the identification required in Sub-Clause 19.2, the inner envelopes shall indicate the name and address of the Tenderer to enable the Tender to be returned unopened in case it is declared late, pursuant to Clause 21. 19.4 If the outer envelope is not sealed and marked as above, the Employer will assume no responsibility for the misplacement or premature opening of the Tender. |
| --- | --- |
| 20. Deadline for Sub-mission of Tenders | 20.1 Tenders shall be delivered to the Employer at the address specified above no later than the time and date specified in the Tender Data. 20.2 The Employer may extend the deadline for submission of Tenders by issuing an amendment in accordance with Clause 10, in which case all rights and obligations of the Employer and the Tenderers previously subject to the original deadline will then be subject to the new deadline. |
| 21. Late Tenders | 21.1 Any Tender received by the Employer after the deadline prescribed in Clause 20 will be returned unopened to the Tenderer. |
| 22. Modification and Withdrawal of Tenders | 22.1 Tenderers may modify or withdraw their Tenders by giving notice in writing before the deadline prescribed in Clause 20. 22.2 Each Tenderer’s modification or withdrawal notice shall be prepared, sealed, marked, and delivered in accordance with Clauses 18 and 19, with the outer and inner envelopes additionally marked “MODIFICATION” or “WITHDRAWAL,” as appropriate. 22.3 No Tender may be modified after the deadline for submission of Tenders. 22.4 Withdrawal of a Tender between the deadline for submission of Tenders and the expiration of the period of Tender validity specified in the Tender Data or as extended pursuant to Sub-Clause 15.2 may result in the forfeiture of the Tender Security pursuant to Clause 16. 22.5 Tenderers may only offer discounts to, or otherwise modify the prices of their Tenders by submitting Tender modifications in accordance with this clause, or included in the original Tender submission. |

E.  Tender Opening and Evaluation

| 23. Tender Opening | 23.1 The Employer will open the Tenders, including modifications made pursuant to Clause 22, in the presence of the Tenderers’ representatives who choose to attend at the time and in the place specified in the Tender Data. 23.2 Envelopes marked “WITHDRAWAL” shall be opened and read out first. Tenders for which an acceptable notice of withdrawal has been submitted pursuant to Clause 22 shall not be opened. 23.3 The Tenderers’ names, the Tender prices, the total amount of each Tender and of any alternative Tender (if alternatives have been requested or permitted), any discounts, Tender modifications and withdrawals, the presence or absence of Tender Security, and such other details as the Employer may consider appropriate, will be announced by the Employer at the opening. 23.4 The Employer will prepare minutes of the Tender opening, including the information disclosed to those present in accordance with Sub-Clause 23.3. |
| --- | --- |
| 24. Process to Be Confidential | 24.1 Information relating to the examination, clarification, evaluation, and comparison of Tenders and recommendations for the award of a contract shall not be disclosed to Tenderers or any other persons not officially concerned with such process until the award to the successful Tenderer has been announced. Any effort by a Tenderer to influence the Employer’s processing of Tenders or award decisions may result in the rejection of his Tender. |
| 25. Clarification of Tenders | 25.1 To assist in the examination, evaluation, and comparison of Tenders, the Employer may, at the Employer’s discretion, ask any Tenderer for clarification of the Tenderer’s Tender, including breakdowns of unit rates. The request for clarification and the response shall be in writing or by cable, telex, facsimile, or email but no change in the price or substance of the Tender shall be sought, offered, or permitted except as required to confirm the correction of arithmetic errors discovered by the Employer in the evaluation of the Tenders in accordance with Clause 27. |
| 26. Examination of Tenders and Determination of Responsiveness | 26.1 Prior to the detailed evaluation of Tenders, the Employer will determine whether each Tender (a) meets the eligibility criteria defined in Clause 3; (b) has been properly signed; (c) is accompanied by the required securities; and (d) is substantially responsive to the requirements of the Tender documents. 26.2 A substantially responsive Tender is one, which conforms to all the terms, conditions, and specifications of the Tender documents, without material deviation or reservation. A material deviation or reservation is one (a) which affects in any substantial way the scope, quality, or performance of the Works; (b) which limits in any substantial way, inconsistent with the Tender documents, the Employer’s rights or the Tenderer’s obligations under the Contract; or (c) whose rectification would affect unfairly the competitive position of other Tenderers presenting substantially responsive Tenders. 26.3 If a Tender is not substantially responsive, it will be rejected by the Employer, and may not subsequently be made responsive by correction or withdrawal of the nonconforming deviation or reservation. |
| 27. Correction of Errors | 27.1 Tenders determined to be substantially responsive will be checked by the Employer for any arithmetic errors. Errors will be corrected by the Employer as follows: (a) where there is a discrepancy between the amounts in figures and in words, the amount in words will govern; and (b) where there is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern, unless in the opinion of the Employer there is an obviously gross misplacement of the decimal point in the unit rate, in which case the line item total as quoted will govern, and the unit rate will be corrected. 27.2 The amount stated in the Tender will be adjusted by the Employer in accordance with the above procedure for the correction of errors and, with the concurrence of the Tenderer, shall be considered as binding upon the Tenderer. If the Tenderer does not accept the corrected amount, the Tender will be rejected, and the Tender Security may be forfeited in accordance with Sub-Clause 16.6(b). |
| 28. Currency for Tender Evaluation | 28.1 Tenders will be evaluated as quoted in the currency of the Employer’s country as defined in the Contract Data in accordance with Sub-Clause 14.1, unless a Tenderer has used different exchange rates than those prescribed in Sub-Clause 14.2, in which case the Tender will be first converted into the amounts payable in different currencies using the rates quoted in the Tender and then reconverted to the Employer’s currency using the exchange rates prescribed in Sub-Clause 14.2. |
| 29. Evaluation and Comparison of Tenders | 29.1 The Employer will evaluate and compare only the Tenders determined to be substantially responsive in accordance with Clause 26. 29.2 In evaluating the Tenders, the Employer will determine for each Tender the evaluated Tender price by adjusting the Tender price as follows: (a) making any correction for errors pursuant to Clause 27; (b) excluding provisional sums and the provision, if any, for contingencies in the Bill of Quantities, but including Daywork, where priced competitively; (c) making an appropriate adjustment for any other acceptable variations, deviations, or alternative offers submitted in accordance with Clause 17; and (d) making appropriate adjustments to reflect discounts or other price modifications offered in accordance with Sub-Clause 22.5. 29.3 The Employer reserves the right to accept or reject any variation, deviation, or alternative offer. Variations, deviations, and alternative offers and other factors, which are in excess of the requirements of the Tender documents or otherwise result in unsolicited benefits for the Employer will not be taken into account in Tender evaluation. 29.4 The estimated effect of any price adjustment conditions under Clause 47 of the Conditions of Contract, during the period of implementation of the Contract, will not be taken into account in Tender evaluation. 29.5 |
| 30. Preference for Domestic Tenderers | 30.1 A percent margin of price preference of not less than 10% for qualifying domestic tenderers shall apply in tender evaluation in accordance with the criteria set by the Public Procurement Board for fixing such percentages. 30.2 Domestic Tenderers shall provide all evidence necessary to prove that they meet the following criteria to be eligible for the specified percent margin of preference in the comparison of their Tenders with those of Tenderers who do not qualify for the preference. They should (a) be registered within the country of the Employer; (b) have majority ownership by nationals of the country of the Employer; (c) not subcontract more than 50 percent of the Works measured in terms of value to foreign contractors; and (d) satisfy any other criteria specified for the purpose of domestic preference eligibility, as specified in the Tender Data. 30.3 Joint ventures between domestic and foreign firms may be eligible for the margin of preference provided the domestic partner or partners (a) individually satisfy the above criteria of eligibility for the preference; (b) demonstrate a beneficiary interest of no less than 50 percent in the joint venture, as demonstrated by the profit and loss sharing provisions of the joint venture agreement; (c) will, under the arrangements proposed, carry out at least 50 percent of the Works, measured in terms of value, which shall exclude any materials or plant which are to be directly imported by the domestic partner(s) (always provided that the domestic partner or partners are qualified to carry out that amount of work, in accordance with the criteria of Sub-Clause 4.3); and (d) satisfy any other criteria specified for the purpose of domestic preference eligibility, as specified in the Tender Data. 30.4 The following procedure will be used to apply the margin of preference: (a) Responsive Tenders will be classified into the following groups: (i) Group A: Tenders offered by domestic Tenderers and joint ventures meeting the respective criteria of Sub-Clauses 30.2 and 30.3 above; and (ii) Group B: all other Tenders. (b) For the purpose of further evaluation and comparison of Tenders only, an amount equal to 7½ percent of the evaluated Tender prices determined in accordance with Clause 29.2(a), (b), and (d), will be added to all Tenders classified in Group B. |

F.  Award of Contract

| 31. Award Criteria | 31.1 Subject to Clause 32, the Employer will award the Contract to the Tenderer whose Tender has been determined to be substantially responsive to the Tender documents and who has offered the lowest evaluated Tender price, provided that such Tenderer has been determined to be (a) eligible in accordance with the provisions of Clause 3, and (b) qualified in accordance with the provisions of Clause 4. |
| --- | --- |
| 32. Employer’s Right to Accept any Tender and to Reject any or all Tenders | 32.1 Notwithstanding Clause 31, the Employer reserves the right to accept or reject any Tender, and to cancel the Tender process and reject all Tenders, at any time prior to the award of Contract, without thereby incurring any liability to the affected Tenderer or Tenderers or any obligation to inform the affected Tenderer or Tenderers of the grounds for the Employer’s action. |
| 33. Notification of Award and Signing of Agreement | 33.1 The Tenderer whose Tender has been accepted will be notified of the award by the Employer prior to expiration of the Tender validity period by cable, telex, email or facsimile confirmed by registered letter. This letter (hereinafter and in the Conditions of Contract called the “Letter of Acceptance”) will state the sum that the Employer will pay the Contractor in consideration of the execution, completion, and maintenance of the Works by the Contractor as prescribed by the Contract (hereinafter and in the Contract called the “Contract Price”). 33.2 The notification of award will constitute the formation of the Contract, subject to the Tenderer furnishing the Performance Security in accordance with Clause 34 and signing the Agreement in accordance with Sub-Clause 33.3. 33.3 The Agreement will incorporate all agreements between the Employer and the successful Tenderer. It will be signed by the Employer and sent to the successful Tenderer, within 28 days following the notification of award along with the Letter of Acceptance. Within 21 days of receipt, the successful Tenderer will sign the Agreement and deliver it to the Employer. 33.4 Upon the furnishing by the successful Tenderer of the Performance Security, the Employer will promptly notify the other Tenderers that their Tenders have been unsuccessful. |
| 34. Performance Security | 34.1 Within 28 days after receipt of the Letter of Acceptance, the successful Tenderer shall deliver to the Employer a Performance Security in the amount stipulated in the Contract Data and in the form (Bank Guarantee and/or Bond) stipulated in the Tender Data, denominated in the type and proportions of currencies in the Letter of Acceptance and in Accordance with the Conditions of Contract. 34.2 If the Performance Security is provided by the successful Tenderer in the form of a Bank Guarantee, it shall be issued either (a) at the Tenderer’s option, by a bank located in the country of the Employer or a foreign bank through a correspondent bank located in the country of the Employer, or (b) with the agreement of the Employer directly by a foreign bank acceptable to the Employer. 34.3 If the Performance Security is to be provided by the successful Tenderer in the form of a Bond, it shall be issued by a surety, which the Tenderer has determined to be acceptable to the Employer. 34.4 Failure of the successful Tenderer to comply with the requirements of Sub-Clause 34.1 shall constitute sufficient grounds for cancellation of the award and forfeiture of the Tender Security. |
| 35. Advance Payment and Security | 35.1 The Employer will provide an Advance Payment on the Contract Price as stipulated in the Conditions of Contract, subject to a maximum amount, as stated in the Tender Data. |
| 36. Adjudicator | 36.1 The Employer proposes the person named in the Tender Data to be appointed as Adjudicator under the Contract, at an hourly fee specified in the Tender Data, plus reimbursable expenses. If the Tenderer disagrees with this proposal, the Tenderer should so state in the Tender. If, in the Letter of Acceptance, the Employer has not agreed on the appointment of the Adjudicator, the Adjudicator shall be appointed by the Appointing Authority designated in the Contract Data at the request of either party. |

| 37. Corrupt or Fraudulent Practices | 3 37.1 The Government of Ghana (GOG) requires that all Procurement Entities as well as Tenderers, Suppliers, Contractors and Consultants participating in contracts financed from the public funds of the Republic of Ghana, adhere to the highest ethical standards, both during the tendering process and throughout the execution of such contracts. The list of definitions set forth below involves the most common types of corrupt practices, but is not exhaustive. For this reason, the Public Procurement Board will also consider claims of similar nature involving alleged acts of corruption, in accordance with the established procedure. #### “Bribery” means the act of unduly offering, giving, receiving or soliciting anything of value to influence the process of procuring goods or services, selecting consultants, or executing contracts. #### “Extortion” or “Coercion” means the act attempting to influence the process of procuring goods or services, selecting consultants, or executing contracts by means of threats of injury to person, property or reputation. #### “Fraud” means the misrepresentation of information or facts for the purpose of influencing the process of procuring goods or services, selecting consultants, or executing contracts, to the detriment of the Procurement Entity/Purchaser or other participants. #### “Collusion” is an agreement between tenderers designed to result in tenders at artificial prices that are not competitive. 37.2 If, in accordance with the administrative procedures of the Public Procurement Board, it is demonstrated that a government/public official, or anyone acting on his or her behalf, and/or a Tenderer in a procurement process or supplier/contractor during the execution of the contract carried out in connection with a project financed from the public funds of the Republic of Ghana has committed corrupt practices, the Public Procurement Board or the appropriate Tender review Board will: #### reject a proposal to award a contract in connection with the respective procurement process; and/or #### declare a firm and/or its personnel directly involved in corrupt practices, temporarily or permanently ineligible to be awarded future contracts financed from the public funds of the Republic of Ghana. 37.3 The Tenderer shall disclose any commissions or fees that may have been paid or are to be paid to agents, representatives, or commission agents with respect to the tendering process or execution of the contract. The information disclosed must include at the name and address of the agent, representative, or commission agent, the amount and currency, and the purpose of the commission or fee. The information must be included in the Tender Submission Sheet. 37.4 Any communications between the Tenderer and the Purchaser related to matters of alleged fraud or corruption must be made in writing |
| --- | --- |

G.  Tender Data

Instructions to Tenderers Clause Reference

| (2.1) | The Employer is TARKWA NSUAEM MUNICIPAL ASSEMBLY |
| --- | --- |
| (2.1) | The Project is CONSTRUCTION OF 4NO. SINLGE CELL PIPE CULVERT AT ESUOSO The Identification Number is: WR/TNMA/WKS/DACF/12/26 |
| (4.3) | HND/Degree with 5yrs/3yrs experience - 1 No. Quantity Surveyor - HND/Degree with 5yrs/3yrs experience - 1No. General Foreman - CTC with 5yrs experience (Detailed signed C. V’s and Certificates should be attached) The information required from Tenderers in Sub-Clause 4.3 is modified as follows: - Valid Registrar General Certificate - Valid GRA Tax Clearance Certificate - Valid PPA Certificate - Valid SSNIT Clearance Certificate - Valid Labour Certificate - Valid Ministry of Works and Housing Certificate (D3, K3) - Bid Security in approved format and amount - The minimum required annual volume of construction work for the successful Tenderer in any of the last 2 years shall be GHS 1,000,000.00 - The essential equipment to be made available for the Contract by the successful Tenderer shall be: Vibrator – 1No. Compactor - 1No. Bar Bender/Cutter – 1No. Concrete Mixer - 1 No. Tipper Truck - 1 No - The minimum level of Personnel proposed for the Project shall be: - 1 No. Site Engineer - - The minimum amount of liquid assets and/or credit facilities net of other contractual commitments of the successful Tenderer shall GH¢100,000.00. The credit facility should be an unconditional guarantee from a reputable financial institution |
| (4.4) | The qualification data required from Tenderers in Sub-Clause 4.4 are modified as follows: Not Applicable. |
| (4.5) | The qualification criteria in Sub-Clause 4.5 are modified as follows: Not Applicable. |
| (4.5a) | The minimum required annual volume of construction work for the successful Tenderer in any of the last five years shall be Two Hundred Thousand Ghana Cedis (GH¢200,000.00) |

| (4.5c) | The essential equipment to be made available for the Contract by the successful Tenderer shall be: Equipment Capacity Quantity Tipper truck 6 m³ 1 Concrete Mixer 1 m³ 1 The minimum number , qualification and experience of key personnel required for the contract are listed below Position; Gen. Minimum Qualification; Experience in Works of Similar Nature. Project manager; BSc Building Technology/ Civil Engineering; 10years. Site Engineer; HND Building Tech./ Civil Engineerinsg; 5 years. Quantity surveyor; HND Building Technology; 5 years. General foreman; CTC 111; 5 years. |
| --- | --- |
| (8.2) (18.1) | Tender shall be submitted electronically through GHANEPS via www.ghaneps.gov.gh |
| (13.4) | The Contract (shall/shall not) be subject to price adjustment in accordance with Clause 47 of the Conditions of Contract. (select appropriate option) |
| (14.1) (14.2) | The specified international trading currency shall be Not Applicable. The date of the exchange rate is Not Applicable The authority for establishing the rates of exchange shall be Not Applicable |
| (15.1) | The period of Tender validity shall be 120 days after the deadline for Tender submission specified in the Tender Data. |
| (15.3) | The adjustment of Tender price in accordance with Clause 15.3 shall be calculated on the basis of an annual increase for foreign costs of Zero percent and an annual increase for local costs of hundred percent. |
| (16.1) | The amount of Tender Security shall be 2% of the quoted price. |
| (17.0) | Alternative proposals to the requirements of the Tender documents shall be permitted with respect to Clause 17.2. |
| (19.2) | A complete set of tender document for each lot, may be purchased electronically through GHANEPS http://www.ghaneps.gov.gh |
| (20.1) | The deadline for submission of Tenders shall be: Date: …09/11/2026……………….. Time: 10:00 am |
| (30.0) | Domestic contractors will not receive a margin of preference in Tender evaluation. |
| (34.0) | The Standard Form of Performance Security acceptable to the Employer shall be: Bank Guarantee (10%) Performance Bond (30%) |
| (35.0) | The Advance Payment shall be limited to Fifteen percent (15%) of the Contract Price. |
| (36.1) | The Adjudicator proposed by the Employer is: Name: THE GHANA INSTITUTION OF SURVEYORS Address: P.O.BOX PMB, ACCRA The hourly fee for this proposed Adjudicator shall be: in accordance with the scale of fees of the Ghana Institution Of Surveyors. |

# Section II.  Forms of Tender, Qualification Information, Letter of Acceptance, and Agreement

## Contractor’s Tender

Notes on Form of Contractor’s Tender The Tenderer shall fill in and submit this Tender form with the Tender. Additional details on the price should be inserted if the Tender is in various currencies. If the Tenderer objects to the Adjudicator proposed by the Employer in the Tender documents, he should so state in his Tender, and present an alternative candidate, together with the candidate’s daily fees and biographical data, in accordance with Clause 36 of the Instructions to Tenderers.

TENDER FORM

Date: _______________

To:  ________________________

Address: ____________________

_____________________

_____________________

_____________________

We offer to execute the ___________________ in accordance with the Conditions of Contract accompanying this Tender for the Contract Price of __________________________

___________________________________________________________________________

The Contract shall be paid in the following currencies:

| Currency | Percentage payable in currency | Rate of exchange: one foreign equals GHC ____________ | Inputs for which foreign currency is required |
| --- | --- | --- | --- |
| (a) (b) |  |  |  |

The advance payment required is:

| Amount | Currency |
| --- | --- |
| (a) (b) |  |

We accept the appointment of _______________________ as the Adjudicator.

###### Or

We do not accept the appointment of __________________________ as the Adjudicator, and propose instead that ______________________________ be appointed as Adjudicator, whose daily fees and biographical data are attached.

This Tender and your written acceptance of it shall constitute a binding Contract between us.  We understand that you are not bound to accept the lowest or any Tender you receive.

Commissions or gratuities, if any, paid or to be by us to agents relating to this Tender, and to contract execution if we are awarded the contract, are listed below:

| Name & Address of Agent | Amount & Currency | Purpose of Commission or Gratuity |
| --- | --- | --- |

We hereby confirm that this Tender complies with the Tender Validity and Tender Security required by the Tender documents and specified in the Tender Data.

Authorized Signature:

Name and Title of Signatory:

Name of Tenderer:

Address:

## ATTACHMENTS TO THE TENDER

## Attach. 1	Tender Security

## Attach. 2	Price Schedules

## Attach. 3	Documentary Evidence of Tenderer’s Qualifications

## Attach. 5	Others:

## Work Programme and Schedule

## List of Subcontractors (if applicable)

## Design Drawings, Calculations and Technical Alternatives

## Qualification Information

Notes on Form of Qualification Information The information to be filled in by Tenderers in the following pages will be used for purposes of postqualification or for verification of prequalification as provided for in Clause 4 of the Instructions to Tenderers. This information will not be incorporated in the Contract. Attach additional pages as necessary. Pertinent sections of attached documents should be translated into English. If used for prequalification verification, the Tenderer should fill in updated information only.

Qualification Information

| 1. Individual Tenderers or Individual Members of Joint Ventures | 1.1 Constitution or legal status of Tenderer: _________ [attach copy] Place of registration: _________________________ Principal place of business: ____________________ Power of attorney of signatory of Tender: [attach] 1.2 Total annual volume of construction work performed in five years, in the internationally traded currency specified in the Tender Data: _________________________________________ 1.3 Work performed as prime Contractor on works of a similar nature and volume over the last five years. The values should be indicated in the same currency used for Item 1.2 above. Also list details of work under way or committed, including expected completion date. |
| --- | --- |

| Project name and country | Name of client and contact person | Type of work performed and year of completion | Value of contract |
| --- | --- | --- | --- |
| (a) (b) |  |  |  |

|  | 1.4 Major items of Contractor’s Equipment proposed for carrying out the Works. List all information requested below. Refer also to Sub-Clause 4.3(c) of the Instructions to Tenderers. |
| --- | --- |

| Item of equipment | Description, make, and age (years) | Condition (new, good, poor) and number available | Owned, leased (from whom?), or to be purchased (from whom?) |
| --- | --- | --- | --- |
| (a) (b) |  |  |  |

|  | 1.5 Qualifications and experience of key personnel proposed for administration and execution of the Contract. Attach biographical data. Refer also to Sub-Clause 4.3(e) of the Instructions to Tenderers and Sub-Clause 9.1 of the Conditions of Contract. |
| --- | --- |

| Position | Name | Years of experience (general) | Years of experience in proposed position |
| --- | --- | --- | --- |
| (a) (b) |  |  |  |

|  | 1.6 Proposed subcontracts and firms involved. Refer to Clause 7 of Conditions of Contract. |
| --- | --- |

| Sections of the Works | Value of subcontract | Subcontractor (name and address) | Experience in similar work |
| --- | --- | --- | --- |
| (a) (b) |  |  |  |

|  | 1.7 Financial reports for the last five years: balance sheets, profit and loss statements, auditors’ reports, etc. List below and attach copies. 1.8 Evidence of access to financial resources to meet the qualification requirements: cash in hand, lines of credit, etc. List below and attach copies of support documents. 1.9 Name, address, and telephone, telex, and facsimile numbers of banks that may provide references if contacted by the Employer. 1.10 Information on current litigation in which the Tenderer is involved. |
| --- | --- |

| Other party(ies) | Cause of dispute | Amount involved |
| --- | --- | --- |
| (a) (b) |  |  |

|  | 1.11 Statement of compliance with the requirements of Sub-Clause 3.2 of the Instructions to Tenderers. 1.12 Proposed Programme (work method and schedule). Descriptions, drawings, and charts, as necessary, to comply with the requirements of the Tender documents. |
| --- | --- |
| 2. Joint Ventures | 2.1 The information listed in 1.1 - 1.11 above shall be provided for each partner of the joint venture. 2.2 The information in 1.12 above shall be provided for the joint venture. 2.3 Attach the power of attorney of the signatory(ies) of the Tender authorizing signature of the Tender on behalf of the joint venture. 2.4 Attach the Agreement among all partners of the joint venture (and which is legally binding on all partners), which shows that (a) all partners shall be jointly and severally liable for the execution of the Contract in accordance with the Contract terms; (b) one of the partners will be nominated as being in charge, authorized to incur liabilities, and receive instructions for and on behalf of any and all partners of the joint venture; and (c) the execution of the entire Contract, including payment, shall be done exclusively with the partner in charge. |
| 3. Additional Requirements | 3.1 Tenderers should provide any additional information required in the Tender Data or to fulfill the requirements of Sub-Clause 4.1 and Clause 30 of the Instructions to Tenderers, if applicable. |

##### LETTER OF ACCEPTANCE

[letterhead paper of the Employer]

Date ______________

To: ______________________________

This is to notify you that your Tender dated _______ for execution of the ______________ for the Contract Price of the equivalent of _________________, ________________, as corrected and modified in accordance with the Instructions to Tenderers is hereby accepted by us.

We accept that ________________________ be appointed as the Adjudicator.

Or

We do not accept that ____________________ be appointed as adjudicator, and by sending a copy of this letter of acceptance to ___________________, we are hereby requesting _________________, the Appointing Authority, to appoint the Adjudicator in accordance with Clause 36.1 of the Instructions to Tenderers.

You are hereby required to submit the Performance Security stipulated in the Tender Documents within 28 days after receipt of this Letter of Acceptance.

Following receipt of the Performance Security you will be invited to:

- sign the Contract Agreement as provided in the Tender Documents; and

- to commence performance of the said contract in accordance with the Contract Documents.

Authorized Signature ____________________________________________

Name and Title of Signatory _______________________________________

Name of Employer:  _____________________________________________

Attachment:  Agreement

Cc: Public Procurement Board and Relevant Departments.
Agreement

This Agreement, made the _____ day of _______, _______ between TARKWA NSUAEM MUNICIPAL ASSEMBLY (hereinafter called “the Employer”) and _________________________________________________________________________________________________________(hereinafter called “the Contractor”) of the other part.

Whereas the Employer is desirous that the Contractor execute CONSTRUCTION OF 4NO. SINLGE CELL PIPE CULVERT AT ESUOSO

(hereinafter called “the Works”) and the Employer has accepted the Tender by the Contractor for the execution and completion of such Works and the remedying of any defects therein.

Now this Agreement withnesseth as follows:

1.	In this Agreement, words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract hereinafter referred to, and they shall be deemed to form and be read and construed as part of this Agreement.

2.	In consideration of the payments to be made by the Employer to the Contractor as hereinafter mentioned, the Contractor hereby covenants with the Employer to execute and complete the Works and remedy any defects therein in conformity in all respects with the provisions of the Contract.

3.	The Employer hereby covenants to pay the Contractor in consideration of the execution and completion of the Works and the remedying of defects wherein the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

In Witness whereof the parties thereto have caused this Agreement to be executed the day and year first before written.

| For the Employer | For the Contractor |
| --- | --- |
| Name:………………………… | Name:……………………………….. |
| Designation:…………………… | Designation:………………………… |
| Signature:……………………... | Signature:…………………………… |
| Witnessed by: | Witnessed by: |
| Name:…………………………. | Name:……………………………….. |
| Designation:…………………... | Designation:………………………… |
| Signature……………………… | Signature……………………………. |

# Section III.  Conditions of Contract

## Table of Clauses

A.  General

1. Definitions

2. Interpretation

3. Language and Law

4. Duties and Authority of the Project Manager

5. Delegation

6. Communications

7. Subcontracting

8. Other Contractors

9. Personnel

10. Employer’s and Contractor’s Risks

11. Employer’s Risks

12. Contractor’s Risks

13. Insurance

14. Site Investigation Reports

15. Queries about the Contract Data

16. Contractor to Construct the Works

17. The Works to Be Completed by the Intended Completion Date

18. Approval by the Project Manager

19. Safety

20. Discoveries

21. Possession of the Site

22. Access to the Site

23. Instructions

24. Disputes

25. Procedure for Disputes

26. Replacement of Adjudicator

B.  Time Control

27. Programme

28. Extension of the Intended Completion Date

29. Acceleration

30. Delays Ordered by the Project Manager

31. Management Meetings

32. Early Warning

C.  Quality Control

33. Identifying Defects

34. Tests

35. Correction of Defects

36. Uncorrected Defects

D.  Cost Control

37. Bill of Quantities

38. Changes in the Quantities

39. Variations

40. Payments for Variations

41. Cash Flow Forecasts

42. Payment Certificates

43. Payments

44. Compensation Events

45. Tax

46. Currencies

47. Price Adjustment

48. Retention

49. Liquidated Damages

50. Bonus

51. Advance Payment

52. Securities

53. Dayworks

54. Cost of Repairs

E.  Finishing the Contract

55. Completion

56. Taking Over

57. Final Account

58. Operating and Maintenance Manuals

59. Termination

60. Payment upon Termination

61. Property

62. Release from Performance

Conditions of Contract

A.  General

| 1. Definitions | 1.1 Boldface type is used to identify defined terms. The Adjudicator is the person appointed jointly by the Employer and the Contractor to resolve disputes in the first instance, as provided for in Clauses 24 and 25 hereunder. Bill of Quantities means the priced and completed Bill of Quantities forming part of the Tender. Compensation Events are those defined in Clause 44 hereunder. The Completion Certificate is the certificate issued by the Project Manager after the Defects Liability Period and upon correction of all defects by the Contractor. The Completion Date is the date of taking-over the Works as certified by the Project Manager, in accordance with Sub-Clause 55.1. The Contract is the Contract between the Employer and the Contractor to execute, complete, and maintain the Works. It consists of the documents listed in Clause 2.3 below. The Contractor is a person or corporate body whose Tender to carry out the Works has been accepted by the Employer. The Contractor’s Tender is the completed Tender document submitted by the Contractor to the Employer. The Contract Price is the price stated in the Letter of Acceptance and thereafter as adjusted in accordance with the provisions of the Contract. Days are calendar days; months are calendar months. Dayworks are varied work inputs subject to payment on a time basis for the Contractor’s employees and Equipment, in addition to payments for associated Materials and Plant. A Defect is any part of the Works not completed in accordance with the Contract. The Defects Liability Certificate is the certificate issued by Project Manager upon correction of defects by the Contractor. The Defects Liability Period is the period named in the Contract Data and calculated from the Taking-Over Date. Drawings include calculations and other information provided or approved by the Project Manager for the execution of the Contract. The Employer is the party who employs the Contractor to carry out the Works. Equipment is the Contractor’s machinery and vehicles brought temporarily to the Site to construct the Works. The Initial Contract Price is the Contract Price listed in the Employer’s Letter of Acceptance. The Intended Completion Date is the date on which it is intended that the Contractor shall substantially complete the Works. The Intended Completion Date is specified in the Contract Data. The Intended Completion Date may be revised only by the Project Manager by issuing an extension of time or an acceleration order. Materials are all supplies, including consumables, used by the Contractor for incorporation in the Works. Plant is any integral part of the Works that shall have a mechanical, electrical, chemical, or biological function. The Project Manager is the person named in the Contract Data (or any other competent person appointed by the Employer and notified to the Contractor, to act in replacement of the Project Manager) who is responsible for supervising the execution of the Works and administering the Contract. The Site is the area defined as such in the Contract Data. Site Investigation Reports are those that were included in the Tender documents and are factual and interpretative reports about the surface and subsurface conditions at the Site. Specification means the Specification of the Works included in the Contract and any modification or addition made or approved by the Project Manager. The Start Date is given in the Contract Data. It is the latest date when the Contractor shall commence execution of the Works. It does not necessarily coincide with any of the Site Possession Dates. A Subcontractor is a person or corporate body who has a Contract with the Contractor to carry out a part of the work in the Contract, which includes work on the Site. The Taking-Over Certificate is a certificate issued by the Project Manager when the works are substantially completed in accordance with Sub-Clause 55.1 Temporary Works are works designed, constructed, installed, and removed by the Contractor that are needed for construction or installation of the Works. A Variation is an instruction given by the Project Manager which varies the Works. The Works are what the Contract requires the Contractor to construct, install, and turn over to the Employer, as defined in the Contract Data. |
| --- | --- |
| 2. Interpretation | 2.1 In interpreting these Conditions of Contract, singular also means plural, male also means female or neuter, and the other way around. Headings have no significance. Words have their normal meaning under the language of the Contract unless specifically defined. The Project Manager will provide instructions clarifying queries about these Conditions of Contract. 2.2 If sectional completion is specified in the Contract Data, references in the Conditions of Contract to the Works, the Completion Date, and the Intended Completion Date apply to any Section of the Works (other than references to the Completion Date and Intended Completion Date for the whole of the Works). 2.3 The documents forming the Contract shall be interpreted in the following order of priority: (1) Agreement, (2) Letter of Acceptance, (3) Contractor’s Tender, (4) Contract Data, (5) Conditions of Contract, (6) Specifications, (7) Drawings, (8) Bill of Quantities, and (9) any other document listed in the Contract Data as forming part of the Contract. |
| 3. Language and Law | 3.1 The Contract and the law governing the Contract shall be in English |
| - Duties and Authority of the Project Manager | 4.1 (a) The Project Manager shall carry out the duties specified in the Contract - The Project Manager may exercise the authority specified in or necessarily to be implied from the Contract - Except as expressly stated in the Contract, the Project Manager shall have no authority to relieve the Contractor of any of his obligations under the Contract 4.2 With reference to Sub-Clause 4.1 (b), the following provision shall also apply: The Project Manager shall obtain the specific approval of the Employer before taking any of the following actions: (a) approving subcontracting of any part of the Works; (b) certifying additional cost; (c) determining an extension of time; (d) issuing a variation under, except if such variation would increase the Contract Price by less than the amount stated in the Appendix to Tender; or (e) fixing rates or prices. 4.3 Except where otherwise specifically stated, the Project Manager will decide contractual matters between the Employer and the Contractor in the role representing the Employer. 4.4 Notwithstanding the obligation, as set out above, to obtain approval, if, in the opinion of the Project Manager, an emergency occurs affecting the safety of life or of the Works or of adjoining property, he may, without relieving the Contractor of any of his duties and responsibilities under the Contract, instruct the Contractor to execute all such work or to do all such things as may, in the opinion of the Project Manager, be necessary to abate or reduce the risk. The Contractor shall forthwith comply, despite the absence of approval of the Employer, with any such instruction of the Project Manager. The Project Manager shall determine an addition to the Contract Price, in respect of such instruction, in consultation with the Employer and shall notify the Contractor accordingly, with a copy to the Employer |
| 5. Delegation | 5.1 The Project Manager may delegate any of his duties and responsibilities to other people, except to the Adjudicator, after notifying the Contractor, and may cancel any delegation after notifying the Contractor. |
| 6.Communications | 6.1 Communications between parties that are referred to in the Conditions shall be effective only when in writing. A notice shall be effective only when it is delivered. |
| 7. Subcontracting | 7.1 The Contractor may subcontract with the approval of the Project Manager, but may not assign the Contract without the approval of the Employer in writing. Subcontracting shall not alter the Contractor’s obligations. |
| 8. Other Contractors | 8.1 The Contractor shall cooperate and share the Site with other contractors, public authorities, utilities, and the Employer between the dates given in the Schedule of Other Contractors, as referred to in the Contract Data. The Contractor shall also provide facilities and services for them as described in the Schedule. The Employer may modify the Schedule of Other Contractors, and shall notify the Contractor of any such modification. |
| 9. Personnel | 9.1 The Contractor shall employ the key personnel named in the Schedule of Key Personnel, as referred to in the Contract Data, to carry out the functions stated in the Schedule or other personnel approved by the Project Manager. The Project Manager will approve any proposed replacement of key personnel only if their relevant qualifications and abilities are substantially equal to or better than those of the personnel listed in the Schedule. 9.2 If the Project Manager asks the Contractor to remove a person who is a member of the Contractor’s staff or work force, stating the reasons, the Contractor shall ensure that the person leaves the Site within seven days and has no further connection with the work in the Contract. |
| 10. Employer’s and Contractor’s Risks | 10.1 The Employer carries the risks, which this Contract states are Employer’s risks, and the Contractor carries the risks, which this Contract states are Contractor’s risks. |
| 11. Employer’s Risks | 11.1 From the Start Date until the Defects Correction Certificate has been issued, the following are Employer’s risks: (a) The risk of personal injury, death, or loss of or damage to property (excluding the Works, Plant, Materials, and Equipment), which are due to (i) use or occupation of the Site by the Works or for the purpose of the Works, which is the unavoidable result of the Works or (ii) negligence, breach of statutory duty, or interference with any legal right by the Employer or by any person employed by or contracted to him except the Contractor. (b) The risk of damage to the Works, Plant, Materials, and Equipment to the extent that it is due to a fault of the Employer or in the Employer’s design, or due to war or radioactive contamination directly affecting the country where the Works are to be executed. 11.2 From the Completion Date until the Defects Correction Certificate has been issued, the risk of loss of or damage to the Works, Plant, and Materials is an Employer’s risk except loss or damage due to (a) a Defect which existed on the Completion Date, (b) an event occurring before the Completion Date, which was not itself an Employer’s risk, or (c) the activities of the Contractor on the Site after the Completion Date. |
| 12. Contractor’s Risks | 12.1 From the Starting Date until the Defects Correction Certificate has been issued, the risks of personal injury, death, and loss of or damage to property (including, without limitation, the Works, Plant, Materials, and Equipment) which are not Employer’s risks are Contractor’s risks. |
| 13. Insurance | 13.1 The Contractor shall provide, in the joint names of the Employer and the Contractor, insurance cover from the Start Date to the end of the Defects Liability Period, in the amounts and deductibles stated in the Contract Data for the following events which are due to the Contractor’s risks: (a) loss of or damage to the Works, Plant, and Materials; (b) loss of or damage to Equipment; (c) loss of or damage to property (except the Works, Plant, Materials, and Equipment) in connection with the Contract; and (d) personal injury or death. 13.2 Policies and certificates for insurance shall be delivered by the Contractor to the Project Manager for the Project Manager’s approval before the Start Date. All such insurance shall provide for compensation to be payable in the types and proportions of currencies required to rectify the loss or damage incurred. 13.3 If the Contractor does not provide any of the policies and certificates required, the Employer may effect the insurance which the Contractor should have provided and recover the premiums the Employer has paid from payments otherwise due to the Contractor or, if no payment is due, the payment of the premiums shall be a debt due. 13.4 Alterations to the terms of an insurance shall not be made without the approval of the Project Manager. 13.5 Both parties shall comply with any conditions of the insurance policies. |
| 14. Site Investigation Reports | 14.1 The Contractor, in preparing the Tender, shall rely on any Site Investigation Reports referred to in the Contract Data, supplemented by any information available to the Tenderer. |
| 15. Queries about the Contract Data | 15.1 The Project Manager will clarify queries on the Contract Data. |
| 16. Contractor to Construct the Works | 16.1 The Contractor shall construct and install the Works in accordance with the Specifications and Drawings. |
| 17. The Works to Be Completed by the Intended Completion Date | 17.1 The Contractor may commence execution of the Works on the Start Date and shall carry out the Works in accordance with the Programme submitted by the Contractor, as updated with the approval of the Project Manager, and complete them by the Intended Completion Date. |
| 18. Approval by the Project Manager | 18.1 The Contractor shall submit Specifications and Drawings showing the proposed Temporary Works to the Project Manager, who is to approve them if they comply with the Specifications and Drawings. 18.2 The Contractor shall be responsible for design of Temporary Works. 18.3 The Project Manager’s approval shall not alter the Contractor’s responsibility for design of the Temporary Works. 18.4 The Contractor shall obtain approval of third parties to the design of the Temporary Works, where required. 18.5 All Drawings prepared by the Contractor for the execution of the temporary or permanent Works, are subject to prior approval by the Project Manager before this use. |
| 19. Safety | 19.1 The Contractor shall be responsible for the safety of all activities on the Site. |
| 20. Discoveries | 20.1 Anything of historical or other interest or of significant value unexpectedly discovered on the Site shall be the property of the Employer. The Contractor shall notify the Project Manager of such discoveries and carry out the Project Manager’s instructions for dealing with them. |
| 21. Possession of the Site | 21.1 Insofar as the Contract may prescribe the Employer shall give: (a) the extent of portions of the Site of which the Contractor is to be given possession from time to time (b) the order in which such portions shall be made available to the Contractor, and, subject to any requirement in the Contract as to the order in which the Works shall be executed, the Employer will, with the Project Manager's notice to commence the Works, give to the Contractor possession of (c) so much of the Site, and (d) such access as, in accordance with the Contract, is to be provided by the Employer as may be required to enable the Contractor to commence and proceed with the execution of the Works in accordance with the programme referred to in Clause 27, if any, and otherwise in accordance with such reasonable proposals as the Contractor ' shall, by notice to the Project Manager with a copy to the Employer, make. The Employer will, from time to time as the Works proceed, give to the Contractor possession of such further portions of the Site as may be required to enable the Contractor to proceed with the execution of the Works with due dispatch in accordance with such programme or proposals, as the case may be.. |
| 22. Access to the Site | 22.1 The Contractor shall allow the Project Manager and any person authorized by the Project Manager access to the Site and to any place where work in connection with the Contract is being carried out or is intended to be carried out. |
| 23. Instructions | 23.1 Pursuant to the Duties and Authority of the Project Manager as specified in Clause 4, the Contractor shall carry out all instructions of the Project Manager, which comply with the applicable laws where the Site is located. |
| 24. Disputes | 24.1 If the Contractor believes that a decision taken by the Project Manager was either outside the authority given to the Project Manager by the Contract or that the decision was wrongly taken, the decision shall be referred to the Adjudicator within 14 days of the notification of the Project Manager’s decision. |
| 25. Procedure for Disputes | 25.1 The Adjudicator shall give a decision in writing within 28 days of receipt of a notification of a dispute. 25.2 The Adjudicator shall be paid by the hour at the rate specified in the Tender Data and Contract Data, together with reimbursable expenses of the types specified in the Contract Data, and the cost shall be divided equally between the Employer and the Contractor, whatever decision is reached by the Adjudicator. Either party may refer a decision of the Adjudicator to an Arbitrator within 28 days of the Adjudicator’s written decision. If neither party refers the dispute to arbitration within the above 28 days, the Adjudicator’s decision will be final and binding. 25.3 The arbitration shall be conducted in accordance with the arbitration procedure published by the institution named and in the place shown in the Contract Data. |
| 26. Replacement of Adjudicator | 26.1 Should the Adjudicator resign or die, or should the Employer and the Contractor agree that the Adjudicator is not functioning in accordance with the provisions of the Contract, a new Adjudicator will be jointly appointed by the Employer and the Contractor. In case of disagreement between the Employer and the Contractor, within 30 days, the Adjudicator shall be designated by the Appointing Authority designated in the Contract Data at the request of either party, within 14 days of receipt of such request. |

B.  Time Control

| 27. Programme | 27.1 Within the time stated in the Contract Data, the Contractor shall submit to the Project Manager for approval a Programme showing the general methods, arrangements, order, and timing for all the activities in the Works. 27.2 An update of the Programme shall be a Programme showing the actual progress achieved on each activity and the effect of the progress achieved on the timing of the remaining work, including any changes to the sequence of the activities. 27.3 The Contractor shall submit to the Project Manager for approval an updated Programme at intervals no longer than the period stated in the Contract Data. If the Contractor does not submit an updated Programme within this period, the Project Manager may withhold the amount stated in the Contract Data from the next payment certificate and continue to withhold this amount until the next payment after the date on which the overdue Programme has been submitted. 27.4 The Project Manager’s approval of the Programme shall not alter the Contractor’s obligations. The Contractor may revise the Programme and submit it to the Project Manager again at any time. A revised Programme shall show the effect of Variations and Compensation Events. |
| --- | --- |
| 28. Extension of the Intended Completion Date | 28.1 The Project Manager shall extend the Intended Completion Date if a Compensation Event occurs or a Variation is issued which makes it impossible for Completion to be achieved by the Intended Completion Date without the Contractor taking steps to accelerate the remaining work, which would cause the Contractor to incur additional cost. 28.2 The Project Manager shall decide whether and by how much to extend the Intended Completion Date within 21 days of the Contractor asking the Project Manager for a decision upon the effect of a Compensation Event or Variation and submitting full supporting information. If the Contractor has failed to give early warning of a delay or has failed to cooperate in dealing with a delay, the delay by this failure shall not be considered in assessing the new Intended Completion Date. |
| 29. Acceleration | 29.1 When the Employer wants the Contractor to finish before the Intended Completion Date, the Project Manager will obtain priced proposals for achieving the necessary acceleration from the Contractor. If the Employer accepts these proposals, the Intended Completion Date will be adjusted accordingly and confirmed by both the Employer and the Contractor. 29.2 If the Contractor’s priced proposals for an acceleration are accepted by the Employer, they are incorporated in the Contract Price and treated as a Variation. |
| 30. Delays Ordered by the Project Manager | 30.1 The Project Manager may instruct the Contractor to delay the start or progress of any activity within the Works. |
| 31. Management Meetings | 31.1 The Project Manager shall arrange monthly management meetings. The business of a management meeting shall be to review the plans for remaining work and to deal with matters raised in accordance with the early warning procedure. 31.2 The Project Manager shall record the business of management meetings and provide copies of the record to those attending the meeting and to the Employer. The responsibility of the parties for actions to be taken shall be decided by the Project Manager either at the management meeting or after the management meeting and stated in writing to all who attended the meeting. |
| 32. Early Warning | 32.1 The Contractor shall warn the Project Manager at the earliest opportunity of specific likely future events or circumstances that may adversely affect the quality of the work, increase the Contract Price or delay the execution of the Works. The Project Manager may require the Contractor to provide an estimate of the expected effect of the future event or circumstance on the Contract Price and Completion Date. The estimate shall be provided by the Contractor as soon as reasonably possible. 32.2 The Contractor shall cooperate with the Project Manager in making and considering proposals for how the effect of such an event or circumstance can be avoided or reduced by anyone involved in the work and in carrying out any resulting instruction of the Project Manager. |

C.  Quality Control

| 33. Identifying Defects | 33.1 The Project Manager shall check the Contractor’s work and notify the Contractor of any Defects that are found. Such checking shall not affect the Contractor’s responsibilities. The Project Manager may instruct the Contractor to search for a Defect and to uncover and test any work that the Project Manager considers may have a Defect. |
| --- | --- |
| 34. Tests | 34.1 If the Project Manager instructs the Contractor to carry out a test not specified in the Specification to check whether any work has a Defect and the test shows that it does, the Contractor shall pay for the test and any samples. If there is no Defect, the test shall be a Compensation Event. |
| 35. Correction of Defects | 35.1 The Project Manager shall give notice to the Contractor of any Defects before the end of the Defects Liability Period, which begins at Taking-Over, and is defined in the Contract Data. 35.2 Every time notice of a Defect is given, the Contractor shall correct the notified Defect within the length of time specified by the Project Manager’s notice. |
| 36. Uncorrected Defects | 36.1 If the Contractor has not corrected a Defect within the Defects Liability Period, the Project Manager will have the Defects corrected and the Contractor surcharged with the amount involved. |

D.  Cost Control

| 37. Bill of Quantities | 37.1 The Bill of Quantities shall contain items for the construction, installation, testing, and commissioning work to be done by the Contractor. 37.2 The Bill of Quantities is used to calculate the Contract Price. The Contractor is paid for the quantity of the work done at the rate in the Bill of Quantities for each item. |
| --- | --- |
| 38. Changes in the Quantities | 38.1 If the final quantity of the work done differs from the quantity in the Bill of Quantities for the particular item by more than 25 percent, provided the change exceeds 1 percent of the Initial Contract Price, the Project Manager shall adjust the rate to allow for the change. 38.2 The Project Manager shall not adjust rates from changes in quantities if thereby the Initial Contract Price is exceeded by more than 15 percent, except with the prior approval of the Employer. 38.3 If requested by the Project Manager, the Contractor shall provide the Project Manager with a detailed cost breakdown of any rate in the Bill of Quantities. |
| 39. Variations | 39.1 All Variations shall be included in updated Programmes produced by the Contractor. |
| 40. Payments for Variations | 40.1 The Contractor shall provide the Project Manager with a quotation for carrying out the Variation when requested to do so by the Project Manager. The Project Manager shall assess the quotation, which shall be given within seven days of the request or within any longer period stated by the Project Manager and before the Variation is ordered. 40.2 If the work in the Variation corresponds with an item description in the Bill of Quantities and if, in the opinion of the Project Manager, the quantity of work above the limit stated in Sub-Clause 38.1 or the timing of its execution do not cause the cost per unit of quantity to change, the rate in the Bill of Quantities shall be used to calculate the value of the Variation. If the cost per unit of quantity changes, or if the nature or timing of the work in the Variation does not correspond with items in the Bill of Quantities, the quotation by the Contractor shall be in the form of new rates for the relevant items of work. 40.3 If the Contractor’s quotation is unreasonable, the Project Manager may order the Variation and make a change to the Contract Price, which shall be based on the Project Manager’s own forecast of the effects of the Variation on the Contractor’s costs. 40.4 If the Project Manager decides that the urgency of varying the work would prevent a quotation being given and considered without delaying the work, no quotation shall be given and the Variation shall be treated as a Compensation Event. 40.5 The Contractor shall not be entitled to additional payment for costs that could have been avoided by giving early warning. |
| 41. Cash Flow Forecasts | 41.1 When the Programme is updated, the Contractor shall provide the Project Manager with an updated cash flow forecast. The cash flow forecast shall include different currencies, as defined in the Contract, converted as necessary using the Contract exchange rates. |
| 42. Payment Certificates | 42.1 The Contractor shall submit to the Project Manager monthly statements of the estimated value of the work executed less the cumulative amount certified previously. 42.2 The Project Manager shall check the Contractor’s monthly statement and certify the amount to be paid to the Contractor. 42.3 The value of work executed shall be determined by the Project Manager. 42.4 The value of work executed shall comprise the value of the quantities of the items in the Bill of Quantities completed. 42.5 The value of work executed shall include the valuation of Variations and Compensation Events. 42.6 The Project Manager may exclude any item certified in a previous certificate or reduce the proportion of any item previously certified in any certificate in the light of later information. |
| 43. Payments | 43.1 Payments shall be adjusted for deductions for advance payments and retention. The Employer shall pay the Contractor the amounts certified by the Project Manager within 28 days of the date of each certificate. If the Employer makes a late payment, the Contractor shall be paid interest on the late payment in the next payment. Interest shall be calculated from the date by which the payment should have been made up to the date when the late payment is made at the prevailing rate of interest for commercial borrowing for each of the currencies in which payments are made. 43.2 If an amount certified is increased in a later certificate or as a result of an award by the Adjudicator or an Arbitrator, the Contractor shall be paid interest upon the delayed payment as set out in this clause. Interest shall be calculated from the date upon which the increased amount would have been certified in the absence of dispute. 43.3 Unless otherwise stated, all payments and deductions will be paid or charged in the proportions of currencies comprising the Contract Price. 43.4 Items of the Works for which no rate or price has been entered in will not be paid for by the Employer and shall be deemed covered by other rates and prices in the Contract. |
| 44. Compensation Events | 44.1 The following shall be Compensation Events: (a) The Employer does not give access to the Site as defined in Clause 21 by the Site Possession Date as stated in the Contract Data. (b) The Employer modifies the Schedule of Other Contractors in a way that affects the work of the Contractor under the Contract. (c) The Project Manager orders a delay or does not issue Drawings, Specifications, or instructions required for execution of the Works on time. (d) The Project Manager instructs the Contractor to uncover or to carry out additional tests upon work, which is then found to have no Defects. (e) The Project Manager unreasonably does not approve a subcontract to be let. (f) Ground conditions are substantially more adverse than could reasonably have been assumed before issuance of the Letter of Acceptance from the information issued to Tenderers (including the Site Investigation Reports), from information available publicly and from a visual inspection of the Site. (g) The Project Manager gives an instruction for dealing with an unforeseen condition, caused by the Employer, or additional work required for safety or other reasons. (h) Other contractors, public authorities, utilities, or the Employer does not work within the dates and other constraints stated in the Contract, and they cause delay or extra cost to the Contractor. (i) The advance payment is delayed. (j) The effects on the Contractor of any of the Employer’s Risks. (k) The Project Manager unreasonably delays issuing a Certificate of Completion. (l) Other Compensation Events described in the Contract or determined by the Project Manager shall apply. 44.2 If a Compensation Event would cause additional cost or would prevent the work being completed before the Intended Completion Date, the Contract Price shall be increased and/or the Intended Completion Date shall be extended. The Project Manager shall decide whether and by how much the Contract Price shall be increased and whether and by how much the Intended Completion Date shall be extended. 44.3 As soon as information demonstrating the effect of each Compensation Event upon the Contractor’s forecast cost has been provided by the Contractor, it shall be assessed by the Project Manager, and the Contract Price shall be adjusted accordingly. If the Contractor’s forecast is deemed unreasonable, the Project Manager shall adjust the Contract Price based on the Project Manager’s own forecast. The Project Manager will assume that the Contractor will react competently and promptly to the event. 44.4 The Contractor shall not be entitled to compensation to the extent that the Employer’s interests are adversely affected by the Contractor’s not having given early warning or not having cooperated with the Project Manager. |
| 45. Tax | 45.1 The Project Manager shall adjust the Contract Price if taxes, duties, and other levies are changed between the date 28 days before the submission of Tenders for the Contract and the date of the last Completion certificate. The adjustment shall be the change in the amount of tax payable by the Contractor, provided such changes are not already reflected in the Contract Price or are a result of Clause 47. |
| 46. Currencies | 46.1 Where payments are made in currencies other than the Ghanaian Cedis, the exchange rates used for calculating the amounts to be paid shall be the exchange rates stated in the Contractor’s Tender. |
| 47. Price Adjustment | 47.1 Prices shall be adjusted for fluctuations in the cost of inputs only if provided for in the Contract Data. If so provided, the amounts certified in each payment certificate, after deducting for Advance Payment, shall be adjusted by applying the respective price adjustment factor to the payment amounts due in each currency. A separate formula of the type indicated below applies to each Contract currency: Pc = Ac + Bc Imc/Ioc where: Pc is the adjustment factor for the portion of the Contract Price payable in a specific currency “c”. Ac and Bc are coefficients specified in the Contract Data, representing the nonadjustable and adjustable portions, respectively, of the Contract Price payable in that specific currency “c”; and Imc is the index prevailing at the end of the month being invoiced and Ioc is the index prevailing 28 days before Tender opening for inputs payable; both in the specific currency “c”. 47.2 If the value of the index is changed after it has been used in a calculation, the calculation shall be corrected and an adjustment made in the next payment certificate. The index value shall be deemed to take account of all changes in cost due to fluctuations in costs. |
| 48. Retention | 48.1 The Employer shall retain from each payment due to the Contractor the proportion stated in the Contract Data until Completion of the whole of the Works. 48.2 On completion of the whole of the Works, half the total amount retained shall be repaid to the Contractor and half when the Defects Liability Period has passed and the Project Manager has certified that all Defects notified by the Project Manager to the Contractor before the end of this period have been corrected. 48.3 On completion of the whole Works, the Contractor may substitute retention money with an “on demand” Bank guarantee. |
| 49. Liquidated Damages | 49.1 The Contractor shall pay liquidated damages to the Employer at the rate per day stated in the Contract Data for each day that the Completion Date is later than the Intended Completion Date. The total amount of liquidated damages shall not exceed the amount defined in the Contract Data. The Employer may deduct liquidated damages from payments due to the Contractor. Payment of liquidated damages shall not affect the Contractor’s liabilities. 49.2 If the Intended Completion Date is extended after liquidated damages have been paid, the Project Manager shall correct any overpayment of liquidated damages by the Contractor by adjusting the next payment certificate. The Contractor shall be paid interest on the overpayment, calculated from the date of payment to the date of repayment, at the rates specified in Sub-Clause 43.1. |
| 50. Advance Payment | 50.1 The Employer shall make advance payment to the Contractor of the amounts stated in the Contract Data by the date stated in the Contract Data, against provision by the Contractor of an Unconditional Bank Guarantee in a form and by a bank acceptable to the Employer in amounts and currencies equal to the advance payment. The Guarantee shall remain effective until the advance payment has been repaid, but the amount of the Guarantee shall be progressively reduced by the amounts repaid by the Contractor. Interest will not be charged on the advance payment. 50.2 The Contractor is to use the advance payment only to pay for Equipment, Plant, Materials, and mobilization expenses required specifically for execution of the Contract. The Contractor shall demonstrate that advance payment has been used in this way by supplying copies of invoices or other documents to the Project Manager. 50.3 The advance payment shall be repaid by deducting proportionate amounts from payments otherwise due to the Contractor, following the schedule of completed percentages of the Works on a payment basis. No account shall be taken of the advance payment or its repayment in assessing valuations of work done, Variations, price adjustments, Compensation Events, Bonuses, or Liquidated Damages. |
| 51. Securities | 51.1 The Performance Security shall be provided to the Employer no later than the date specified in the Letter of Acceptance and shall be issued in an amount and form and by a bank or surety acceptable to the Employer, and denominated in the types and proportions of the currencies in which the Contract Price is payable. The Performance Security shall be valid until a date 28 days from the date of issue of the Certificate of Completion in the case of a Bank Guarantee, and until one year from the date of issue of the Completion Certificate in the case of a Performance Bond. |
| 52. Dayworks | 52.1 If applicable, the Dayworks rates in the Contractor’s Tender shall be used for small additional amounts of work only when the Project Manager has given written instructions in advance for additional work to be paid for in that way. 52.2 All work to be paid for as Dayworks shall be recorded by the Contractor on forms approved by the Project Manager. Each completed form shall be verified and signed by the Project Manager within two days of the work being done. 52.3 The Contractor shall be paid for Dayworks subject to obtaining signed Dayworks forms. |
| 53. Cost of Repairs | 53.1 Loss or damage to the Works or Materials to be incorporated in the Works between the Start Date and the end of the Defects Correction periods shall be remedied by the Contractor at the Contractor’s cost if the loss or damage arises from the Contractor’s acts or omissions. |

E.  Finishing the Contract

| 54. Completion | 54.1 The Contractor shall request the Project Manager to issue a certificate of Completion of the Works, and the Project Manager will do so upon deciding that the work is completed. |
| --- | --- |
| 55. Taking Over | 55.1 The Employer shall take over the Site and the Works within seven days of the Project Manager’s issuing a certificate of Completion. |
| 56. Final Account | 56.1 The Contractor shall supply the Project Manager with a detailed account of the total amount that the Contractor considers payable under the Contract before the end of the Defects Liability Period. The Project Manager shall issue a Defects Liability Certificate and certify any final payment that is due to the Contractor within 56 days of receiving the Contractor’s account if it is correct and complete. If it is not, the Project Manager shall issue within 56 days a schedule that states the scope of the corrections or additions that are necessary. If the Final Account is still unsatisfactory after it has been resubmitted, the Project Manager shall decide on the amount payable to the Contractor and issue a payment certificate. |
| 57. Operating and Maintenance Manuals | 57.1 If “as built” Drawings and/or operating and maintenance manuals are required, the Contractor shall supply them by the dates stated in the Contract Data. 57.2 If the Contractor does not supply the Drawings and/or manuals by the dates stated in the Contract Data, or they do not receive the Project Manager’s approval, the Project Manager shall withhold the amount stated in the Contract Data from payments due to the Contractor. |
| 58. Termination | 58.1 The Employer or the Contractor may terminate the Contract if the other party causes a fundamental breach of the Contract. 58.2 Fundamental breaches of Contract shall include, but shall not be limited to, the following: (a) the Contractor stops work for 28 days when no stoppage of work is shown on the current Programme and the stoppage has not been authorized by the Project Manager; (b) the Project Manager instructs the Contractor to delay the progress of the Works, and the instruction is not withdrawn within 28 days; (c) the Employer or the Contractor is made bankrupt or goes into liquidation other than for a reconstruction or amalgamation; (d) a payment certified by the Project Manager is not paid by the Employer to the Contractor within 84 days of the date of the Project Manager’s certificate; (e) the Project Manager gives Notice that failure to correct a particular Defect is a fundamental breach of Contract and the Contractor fails to correct it within a reasonable period of time determined by the Project Manager; (f) the Contractor does not maintain a Security, which is required; and (g) the Contractor has delayed the completion of the Works by the number of days for which the maximum amount of liquidated damages can be paid, as defined in the Contract Data. 58.3 When either party to the Contract gives notice of a breach of Contract to the Project Manager for a cause other than those listed under Sub-Clause 59.2 above, the Project Manager shall decide whether the breach is fundamental or not. 58.4 Notwithstanding the above, the Employer may terminate the Contract for convenience. 58.5 If the Contract is terminated, the Contractor shall stop work immediately, make the Site safe and secure, and leave the Site as soon as reasonably possible. |
| 59. Payment upon Termination | 59.1 If the Contract is terminated because of a fundamental breach of Contract by the Contractor, the Project Manager shall issue a certificate for the value of the work done and Materials ordered less advance payments received up to the date of the issue of the certificate and less the percentage to apply to the value of the work not completed, as indicated in the Contract Data. Additional Liquidated Damages shall not apply. If the total amount due to the Employer exceeds any payment due to the Contractor, the difference shall be a debt payable to the Employer. 59.2 If the Contract is terminated for the Employer’s convenience or because of a fundamental breach of Contract by the Employer, the Project Manager shall issue a certificate for the value of the work done, Materials ordered, the reasonable cost of removal of Equipment, repatriation of the Contractor’s personnel employed solely on the Works, and the Contractor’s costs of protecting and securing the Works, and less advance payments received up to the date of the certificate. |
| 60. Property | 60.1 All Materials on the Site, Plant, Equipment, Temporary Works, and Works shall be deemed to be the property of the Employer if the Contract is terminated because of the Contractor’s default. |
| 61. Release from Performance | 61.1 If the Contract is frustrated by the outbreak of war or by any other event entirely outside the control of either the Employer or the Contractor, the Project Manager shall certify that the Contract has been frustrated. The Contractor shall make the Site safe and stop work as quickly as possible after receiving this certificate and shall be paid for all work carried out before receiving it and for any work carried out afterwards to which a commitment was made. |

# Section IV.  Contract Data

The following documents are also part of the Contract:

###### Contract

Clause

| 1.0 | The Site is located at CONSTRUCTION OF 4NO. SINLGE CELL PIPE CULVERT AT ESUOSO |
| --- | --- |
| 1.1 | The Employer is: Name: TARKWA NSUAEM MUNICIPAL ASSEMBLY Address: P .O. BOX 1 TARKWA Name of Authorized Representative : THE MUNICIPAL CHIEF EXECUTIVE The Project Manager is: Name: THE MUNICIPAL ENGINEER Address: TARKWA NSUAEM MUNICIPAL ASSEMBLY P.O. BOX 1 TARKWA Name of Authorized Representative ______________ The name and identification number of the Contract COMPLETION OF 1NO. CHPS COMPOUND AT BORBORBOO Contract No: WR/TNMA/WKS/DACF/12/26 The Works consist of CONSTRUCTION AND FURNISHNING OF 1NO. CHPS COMPOUND AT BORBORBOOIFT The Start Date shall be: 14 days after taking possession of the site or the date of payment of advance mobilization whichever is earliest. The Intended Completion Date for the whole of the Works shall be …………Calendar Months (………….) Weeks. The following documents also form part of the Contract: - Letter of Acceptance - Forms of Bid and Qualification Information - Contract Data - General Conditions of Contract - Specifications - Drawings - Priced BOQ - Forms of Security - Other documents as listed in the Tender Data |
| 3.0 | The language of the Contract documents is English. The law that applies to the Contract is the law of the Republic of Ghana. |
| 8.0 | Schedule of Other Contractors |
| 9.0 | The Schedule of Key Personnel |
| 13.0 | The minimum insurance covers shall be: (a) The maximum deductible for insurance of the Works and of Plant and Materials is One Thousand Ghana Cedis . (b) The minimum cover for insurance of the Works and of Plant and Materials in respect of the Contractor’s faulty design is Contract price + 15% of contract price to cover professional fees + cost of equipment. (c) The maximum deductible for insurance of Equipment is Three Hundred Ghana cedis. (d) The minimum cover for loss or damage to Equipment is Contract price + 15% of contract price to cover professional fees .(e) The maximum deductible for insurance of other property is Two Hundred Ghana cedis. (f) The minimum for insurance of other property is as determined by Land Valuation Board or any statutory enactment. (g) The minimum cover for personal injury or death insurance (i) for the Contractor’s employees is According to Workmen’s Compensation Act. . (ii) and for other people is One Hundred and Fifty Ghana cedis. |
| 14.0 | Site Investigation Reports |
| 21.0 | The Site Possession Date shall be 14 days after signing the contract |
| 25.0 | Institution whose arbitration procedures shall be used: Ghana Institution of Engineers. Fees and types of reimbursable expenses to be paid to the Adjudicator: in accordance with the scale of fees of the Ghana Institution of Engineers. |
| 25.0 | Arbitration will take place in accordance with: rules and regulations of the Arbitration Act 38, 1961 of Ghana or any statutory re-enactment or amendment thereof for the time being in force. |
| 26.0 | Appointing Authority for the Adjudicator: The President of the Ghana Institution of Engineers. |
| 27.0 | The Contractor shall submit a revised Programme for the Works within 30 days of delivery of the Letter of Acceptance. |
| 27.0 | The period between Programme updates is 30 days. The amount to be withheld for late submission of an updated Programme is 3% of the interim certificate for the period determined for the preparation of the certificate. |
| 35.0 | The Defects Liability Period (DLP) is 180 days. |
| 41.0 | The Contractor shall submit an Updated Cash Flow Estimate for the Works within 30 days of delivery of the Letter of Acceptance. |
| 44.0 | The following events shall also be Compensation Events: None |
| 47.0 | The Contract is not subject to price adjustment in accordance with Clause 47 of the Conditions of Contract. |
| 48.0 | The proportion of payments retained is 10 percent. |
| 49.0 | The liquidated damages for the whole of the Works are 0.05% of the final Contract Price per day. The maximum amount of liquidated damages for the whole of the Works is 5percent of the final Contract Price. |
| 50.0 | The Advance Payment will be 15% and will be paid to the Contractor no later than 14 days after the provision of the necessary security. The Performance Security shall be for the following minimum amounts equivalent as a percentage of the Contract Price: (a) Bank Guarantee 10%. (b) Performance Bond 30%. The standard form(s) of Performance Security acceptable to the Employer shall be Unconditional of the type presented in Section 8 of the Tender Documents. |
| 57.0 | Schedule of Operating and Maintenance Manuals |
| 58.0 | The date by which operating and maintenance manuals are required is 28 days. The date by which “as built” drawings are required is 28 days. The amount to be withheld for failing to produce “as built” drawings and/or operating and maintenance manuals by the date required is GH¢1,000.00. |
| 59.0 | The percentage to apply to the value of the work not completed, representing the Employer’s additional cost for completing the Works, is 15%. |

# Section V.  Specifications

TECHNICAL SPECIFICATIONS – BUILDING WORKS

Item

The Standard Specification referred to in the Contract Document is the

REPUBLIC OF GHANA

MINISTRY OF ROADS AND HIGHWAYS

STANDARD SPECIFICATIONS

FOR

ROADS AND BRIDGE WORKS

MAY, 2007

The Works shall be carried out in accordance with the Standard Specification except as supplemented, modified or superseded by the Special Specification.

SPECIAL SPECIFICATION

Preamble to the Special Specification

A.	Numbering of Clauses in the Special Specification

For convenience of cross-reference, the numbering system adopted for the clauses of the Special Specification corresponds to that of the Standard Specification.

Where any clause in the Special Specification supplements, supersedes or modifies any clause in the Standard Specification, and where the context of such supplement, supersession or modification permits, the same clause number shall be used in the Special Specification as in the Standard Specification, except that the clause number in the Special Specification shall be suffixed with the letter 'S'.

Additional clauses are numbered consecutively from the last numbered clause in each relevant section of the Standard Specification.

B.	Extent of Contract

The Works specified under this Contract shall include all general and ancillary works and work of any nature that is deemed necessary for the due and satisfactory construction, completion and maintenance of the Works to the full intent and meaning of the Drawings and Specifications, whilst complying with all Conditions of Contract whether specifically mentioned or not in the clauses of the Specifications.

SECTION 1	GENERAL

SECTION 1 GENERAL

1.5S	Submissions to the Engineer

Add the following:

Before 5 pm on Friday of each week the Contractor shall submit to the Engineer, in Microsoft Word for Windows XP or later version format on a CD or pen drive, all correspondence and submissions made to the Engineer during the previous week. Spreadsheet Data shall be in Microsoft Excel in Windows XP or later version format.

1.6S	Programme

Add the following after the end of the first paragraph:

The site works shall be programmed on 5.5-day weeks with 10 hours working shift. Night work is not envisaged, however, it may be necessary to work extended hours for some essential works, such as unloading of major elements, finishing off concrete pours, arranging traffic diversions etc.

The software used in preparing the Works Programme shall be readable in the Engineer’s Computer system. It may also be prepared using Microsoft Excel in Windows XP or later version format.

The Programme and subsequent updates and revisions shall be presented in bar chart (Gantt), flow chart and time-location chart forms. The Contractor shall ensure on site at all times an experienced and competent technician capable of carrying out required updates.

1.7S    Order of Work

Add the following after the end of the first paragraph:

It is proposed that the works shall be carried out in the following manner (the Contractor is free to adopt his own work methods):

On Commencement of the contract, the Contractor shall start with the Site Enabling Works, which will be followed by or alongside the Road or associated facility construction as approved by the Engineer. Service diversion works will continue during the period for Road or associated facility construction. The Contractor shall ensure that property owners and businesses are provided with access at all times. Reasonable length of notice shall be given to all property owners and businesses about the construction activities that will adversely affect them.

Notices shall be coordinated with the Engineer, Police and the Metropolitan/Municipal/District Authority.

The main activities in the Site Enabling Works include: -

1	Ordering, delivery and mobilisation of Construction Plant and Materials, establishment of temporary Site Offices, stores, workshops and other facilities for the Employer and for the Contractor's Site Staff

2	Identification, materials testing and approval of Quarry and Borrow Pits products for inclusion in the permanent works

3	Design and submission of concrete mixes for the permanent works

4	Design and submission of mixes for mechanically stabilised material

5	Setting out of the works and relocation of utility services that may have direct influence on the progress of the works

6	Surveying the existing site and services by the Engineer after the setting out by the Contractor

7	Arranging payment of compensation on behalf of and as instructed by the Employer for the various properties to be demolished in order to provide adequate space for the construction of the service diversions and road and related facilities

1.10S Site

Modify paragraphs 6 and 7 as follows:

Paragraph 6

Delete, “the Lands Department or GHA Valuation Department” from last sentence and insert, “Department of Urban Roads”.

Paragraph 7

Delete the text and replace with the following, “Possession of the site will normally be given for the entire length of the road”.

1.15S 	Diversion of Services

Delete the whole Clause and replace with the following:

“Where it is necessary for the existing service lines and apparatus to be permanently removed in order to execute the permanent works, the Contractor shall make all necessary arrangements for the diversion, relocation or removal of service lines and apparatus with the appropriate utility authorities; entering into such agreements and subcontracts as may be deemed necessary. Such diversions, etc shall be commissioned before disconnecting and removing decommissioned services and apparatus.

The Contractor shall keep the Engineer properly informed in writing of the progress of all such arrangements for diversions. The Engineer shall certify compensation payments to the Contractor for the cost of all such diversions in accordance with the Contract and based on documentation presented to the Engineer during the process of arranging the diversions.

The Contractor shall make provision for the diversion and replacement, as necessary, of all existing services along the length of the Project as instructed by the Engineer. Such provision shall be in accordance with the relevant specifications of the Utility Agency and shall allow for:

Water Supply: Ghana Water Company Ltd,

-	Underground Main Supply Pipes

-	Underground Connection to Properties

Electric Power: Electricity Company of Ghana, Electrical Power System Specifications, Mar 1999

-	Underground Main Supply Cables

-	Overhead Main Supply Cables on Poles

-	Overhead Connections to Properties

Telephone Lines: Ghana Telecom,

-	Overhead Telephone Lines on Poles

-	Underground Telephone Cables in Ducts

-	Overhead Connections to Properties

The diversion and replacement of the above services will entail a limited disruption of supplies, especially if unrecorded services are encountered. The contractor will make every effort to minimise any disruption caused to these supplies. The reinstatement of the various connections of these services to private establishments is to be carried out in conjunction with the authorities involved.

The positions of all public services shown on any drawings or indicated on the ground will be based on the records of various utilities and Public Authorities and must be regarded as approximate. The Contractor must verify this information and satisfy himself as to the exact nature and position of all such apparatus. The Engineer does not guarantee the accuracy of the information given on the drawings and no warranty is given or implied.

The Contractor shall be responsible for all follow up and co-ordination with all service authorities (Electricity, Water, Drainage, Street Lighting, Telephone, etc.) in order to:

Collect all data on existing network including related drawings and documents.

Ensure that all matters relating to security, safety, access, services and others shall be followed in full compliance with their regulations and operational requirement.

Avoid any disturbance to the operation of the existing systems and any interruption of the existing utilities serving facilities unless acceptable temporary utility services have been provided.

The Contractor shall take any and all measures reasonably required by any public or concerned Authority for the support and full protection of all mains, pipes, cables and other apparatus during the progress of the Works, and shall construct and provide to the satisfaction of the Authority concerned, all works necessary for the prevention of damage or interruption of services.

The Contractor shall prepare and furnish all necessary shop drawings showing position, levels and type of each existing service including manholes, valve chambers, street lighting poles, etc. and of the works related to the diversion relocation of utilities. The drawings must be approved by the concerned Utility Authorities and the Engineer prior to commencement of any work at the site. Drawings shall be prepared using a Computer Aided Drafting program approved by the Engineer. Diskettes containing the drawing data of the:

Existing services

Relocated service

Proposed services,

shall be supplied to the Engineer for incorporation in the final record drawings.

The cost of locating or verifying the location of existing services, liaison with the various Service Authorities, preparing the schemes for relocation of services and all the above mentioned duties shall be borne by the Contractor.

1.18S Progress Photographs

In line 2 after "taken" insert “immediately prior to the commencement of work in any area and thereafter...”

Delete last sentence and add

The Contractor shall supply three sets of 24 prints of the negatives of size 175mm x 125mm, each set mounted in an album giving the details described above.

1.21S Facilities for the Engineer and his Staff

The Contractor shall provide and maintain facilities for the Engineer and his staff in accordance with the Schedules provided or as directed by the Engineer.

1.27	Monthly Progress Reports

The Contractor shall submit to the Engineer a Monthly Progress Report describing the current status of the Works. The Report shall be submitted by the end of each calendar month and shall account for all work actually performed up to and including the 25th day of the month of the submission. The Report shall be submitted in an approved format and shall contain, but not be limited to the following topics:

i)	Progress, problem areas, corrective action taken or planned.

ii)	Programme update recording actual activity start/completion dates, percentage completed together with estimates of remaining duration.

iv)	Planning and co-ordination, including a schedule of all submissions and consents/approvals obtained/outstanding.

v)	A schedule of all outstanding/continuing claims.

vi)	A procurement report summarizing all significant procurement activities during the month and a computer generated report listing major items of plant and materials which will be incorporated into the works.

vii)	A review of all production and manufacturing activities during the month.

viii)	A review of all safety aspects including reports on all accidents and their causes and actions proposed to prevent further occurrence.

xi)	A review of all significant outstanding financial matters scheduling the status of all variations and expenditure forecast.

1.28 Protection of the Environment

Further to the requirements of Clause 19.1 of the Conditions of Particular Application and to the Specification Clause relating to the environment, the Contractor shall be responsible for the following measures:

1)	Compliance with national and local statutes and regulations relating to protection of the environment.

The Contractor will be responsible for familiarizing himself with all existing national and local legislation in this regard.

2)	All construction activities shall be carried out using the best possible means to reduce environmental pollution such as noise, dust, and smoke. All vehicles and plant shall be regularly serviced in accordance with the manufacturers’ recommendations to ensure that they operate efficiently and without excessive obnoxious emissions. The Engineer will have the authority to instruct the Contractor to temporarily cease operations and/or remove from the site vehicles or plant which do not comply with this requirement, until such time that he is satisfied the best practicable means are being used.

3)	The Contractor shall at all times maintain all sites under his control in a clean and tidy condition and shall provide appropriate and adequate facilities for the temporary storage of all waste prior to disposal.

The Contractor shall be responsible for the safe transportation and disposal of all waste generated as a result of his activities in such a manner as will not give rise to environmental pollution in any form, or hazard to human or animal health. In the event of any third party being employed to dispose of waste, the Contractor shall be considered to have discharged his responsibilities under this clause from the time at which waste leaves sites under his control providing that he has satisfied himself that the proposed transportation and disposal arrangements are such as will not give rise to pollution or health hazard.

The Contractor shall be responsible for the provision of adequate sanitary facilities for his workforce, and that of his subcontractors, at all construction and ancillary sites. he Contractor shall not allow the discharge of any untreated sanitary waste to groundwater or any surface watercourse.

Prior to the mobilization of the workforce, the Contractor shall provide details of proposed sanitary arrangements to the Engineer for approval, such as will allow him to assess whether or not the proposed facilities are adequate and are unlikely to pollute water resources, also that the facilities will be properly operated and maintained.

All concrete and bitumen plant and equipment’s shall be operated and maintained in accordance with the original manufacturer’s specifications and manuals, and in such a manner as to minimize emissions of hydrocarbons and particulates. If, in the opinion of the Engineer, the operation of such plant is causing, or is likely to cause nuisance or health problems to site staff work or the general public, the Contractor shall carry out such work as is necessary to reduce emissions to an acceptable level within a time scale agreed with the Engineer.

The Contractor shall regularly dowse with water all exposed dirt surfaces to reduce dust levels.

The Contractor shall take all reasonable measures, at all sites under his control, to prevent spillage and leakage of materials likely to cause pollution of water resources. Such measures shall include, but not be limited to the provision of bunds around fuel, oil and bitumen storage facilities, and provision of oil and grease traps for servicing and fuelling areas. Prior to construction of such facilities, the Contractor shall submit details of pollution prevention measures to the Engineer for his approval.

The Contractor shall be responsible for ensuring that exposed surfaces are re-vegetated as construction progresses, all to the satisfaction of the Engineer.

The removal of trees shall be kept to the minimum, necessary to accommodate the Permanent Works.

Prior to the removal of any tress the Contractor shall inform the Engineer of the intended operation and obtain the permission of the Engineer for the removal of the trees. If any tree is removed without permission the Contractor shall replace it with an equivalent tree at no additional cost to the Employer.

The Contractor shall ensure that fires, except for controlled fires for burning rubbish, do not start within the Site or in the environs thereto as a result of the Works or from the actions of his employees. The burning of waste, such as vehicle tyres causing noxious emissions is prohibited. The Contractor shall have available at all times trained fire-fighting personnel provided with adequate fire-fighting equipment to deal with all fires.

The Contractor shall additionally at all times provide sufficient fire protection and fighting equipment local to parts of the Works which constitute particular fire hazards.

1.29 Engineer’s Normal Working Hours

The Engineer’s normal working hours shall be defined as 8:00am to 5:00pm on weekdays with Saturdays and Sundays set aside for rest. If the Contractor wishes to execute permanent works outside these hours, he shall obtain the written permission of the Engineer of at least one full working day in advance in order to enable the Engineer to make provision for the supervision for such work. If the contractor wishes to work regularly on Saturdays, this will be permitted provided notice is given to the Engineer not later than the Thursday prior to the commencement of such working.

1.30 Temporary Services

The Contractor shall be responsible for the water supply, electricity, telephone, and sanitary and all other services necessary for constructional purposes for the duration of the Contract. He shall make all necessary arrangements for such water supply, electricity supply, telephone, sanitary and other services as may be directed by the Engineer.

1.31	The Works

The Works as completed by the contractor shall be wholly in accordance with the Contract, as defined therein. The Works shall include any work which is necessary to satisfy the Specification, schedule of Particulars, Bills of Quantities, or as implied by the Contract, or arises from any obligation of the Contractor, and all works not mentioned in the Contract but which may be inferred to be necessary for stability or completion or safe, reliable and efficient operation of the Works.

1.32	Liaison with Government Officials

The Contractor shall keep close contact with the Police and other Government officials of the area concerning traffic control requirements and other matters. The Contractor shall provide for all reasonable assistance or facilities, which may be required by such officials in the execution of their duties.

SECTION 2

TESTING OF MATERIALS AND WORKMANSHIP

SECTION 2	TESTING OF MATERIALS AND WORKMANSHIP

2.2S	Testing by the Contractor

Delete the entire clause and substitute the following:

(a) Testing

Control Testing or Quality Monitoring

This is to demonstrate that the materials used and the resultant product is fully in conformity with the requirements of this specification.

The Contractor shall be responsible for all Testing and the number and frequency of these tests shall be in compliance with the appropriate sections of this specification (and any particular requirements specified by the Engineer) having regard to the numbers of sources of materials and the methods of working proposed. The amount of testing of this type undertaken by the Contractor shall be sufficient to enable him to control the quality of the works without any reliance on testing carried out by the Engineer for other purposes. The Contractor shall report the results of all relevant tests to the Engineer before submitting materials and finished work to the Engineer for approval.

Notwithstanding statements to the contrary elsewhere in the documents the Engineer will be responsible for carrying out Quality Monitoring. The type and approximate frequency of such testing is specified in Clause 2.13 below and elsewhere in this specification.

The Contractor shall provide all such samples and assistance as is required by the Engineer in the execution of this testing. The Contractor shall not rely on the results of testing carried out by the Engineer for production control.

When instructed by the Engineer, the Contractor shall submit to him Certificates of Test from the suppliers of materials and manufactured articles to be used for the Contract. Such Certificates shall certify that the materials and manufactured articles concerned have been tested in accordance with the requirements of the Specifications and shall give the results of all the tests carried out. The Contractor shall provide adequate means of identifying the materials and manufactured articles delivered to the Site with the corresponding Certificates. Where such Certificate is not available a representative sample of the material shall be tested by an approved laboratory or, subject to the approval of the Engineer, by the Contractor and a copy of the test results submitted to the Engineer's Representative who shall decide whether the material conforms to the required standard.

(b) Standards

Where the specification requires that testing, materials or goods shall be in accordance with a standard or code of practice then the relevant standard or code of practice shall be that current at the date 28 days prior to that set for submission of Tenders.

(c) Contractor's preferred Laboratory

The Contractor shall inform the Engineer in writing regarding the laboratory of his choice he intends to use throughout the period of execution of the Works.

The Contractor shall convince himself that the necessary personnel and equipment required to conduct the specified testing are available in that laboratory at all times.

No work shall be covered up prior to acceptance by the Engineer of the required test certificates and results of testing. Any delays to the works caused by provision of inadequate testing facilities will not be considered as justifiable grounds for an extension of time.

2.3S	Soils and Gravels

Add the following:

Petrographical Examination of Aggregates for Alkali-Silica Reaction

(a)	Aggregates Obtained from a Quarry or Pit - Selection of Materials for Samples

i)	The Contractor shall examine all the faces being worked and consult the relevant geological maps and other data available such as borehole logs, samples or cores.

ii)	The Contractor shall then select material for the samples and shall ensure that careful records are made of the location in the quarry or pit from which each sample is taken.

iii)	Where the formation is complex or where the Contractor considers it necessary, samples may be required from boring to prove the consistency of the parent strata to locate the presence or absence of reactive minerals.

(b)	Aggregates Obtained from a Marine Source - Selection of Material for Samples

i)	The Contractor shall establish the boundaries and levels of the materials, which is to be extracted and offered as compliant with Clause 17.3 (e) (ii).

ii)	The Contractor shall then select the locations and levels from where samples are to be taken and shall be present during the dredging operation to ensure that the source of each sample is correctly recorded.

iii)	Alternatively, where all the coarse or fine aggregates to be supplied for the Contract are present in stockpiles at one time, the Contractor may opt to take samples at that time from those stockpiles.

(c)	Petrographical Examination of the Samples

The Contractor shall submit the proposals for the Engineer's approval, stating if the material is non-reactive as stated in Clause 17.3 (e)(ii)

2.4S	Stone, Aggregate, Sand and Filler

Add to Table 2.2, Test Procedures Applicable to Stone Aggregate, Sand and Fillers:

Polished Stone Value (PSV)		BS 812

Stripping Test		ASTM

2.5S	Cement

Add the following:

Portland - Blastfurnace cement shall be sampled and tested to BS 146

Portland pulverised -fuel ash cement shall be sampled and tested to BS 6588.

Pulverised-fuel ash for use in structural concrete shall be sampled and tested to BS 3892: Part 1.  Ground Granulated blastfurnace slag for use with Portland cement shall be sampled and tested to BS 6699.

2.12S	Construction Control Testing for Earthwork Layers, Pavement Layers and Backfill to Drainage Works and Structures

Delete the first paragraph and substitute:

All earthwork and pavement layers and back fill to drainage works and structures will be subject to construction control testing (Quality Monitoring) by the Engineer, and the Contractor must allow for any disturbance or delays to the sequence of his operations occasioned by such control testing.

2.13S	Frequency of Testing

Delete the first two lines of Clause.2.13 and substitute:

The approximate frequency at which the Engineer will undertake construction control tests (Quality Monitoring Tests) on the earthwork and pavement layers and backfill to drainage works and structures is given below to enable the Contractor to determine testing and support needs. The Engineer shall be under no obligation to test at the frequencies given nor to make the results of his testing known to the Contractor except insofar as is mentioned in Clause 2.12 above.

Add to first list of tests under Clause 2.13 (ix), under “10% fines”

PSV

Stripping Test

Add to list of tests under Clause 2.13 (x) (a)

PSV

The Quality Monitoring Tests are summarised below:

| Specified Tests | Frequency of Testing |
| --- | --- |
| 1. Upper 300mm of earthworks MDD and OMC | Tests shall be determined at intervals of at least once per 500m2 of each layer of compacted subgrade or at 50m interval |
| Field Dry Density | Tests shall be determined at intervals of at least once per 250m2 of each layer of compacted subgrade or at 50m interval with three (3no.) tests per section |
| Soaked CBR | Tests shall be determined at intervals of at least once per 2000m2 of each layer of compacted subgrade or at maximum interval of 200m |
| 2. Backfill/Fill to culverts and structures MDD and OMC | Tests shall be determined for each new material encountered |
| Field Dry Density | Tests shall be determined at least twice per 10m3 of material placed and compacted but with a minimum of two (2no.) tests per section |
| 3. Gravel wearing course MDD and OMC | Tests shall be determined for each new material encountered at intervals of at least once per 1500m2 of each layer of compacted material or at intervals of 150m |
| Field Dry Density | Tests shall be determined at least once per 350m2 of each layer of compacted material or at intervals of 50m but with a minimum of three (3no.) tests per section |
| Soaked CBR and Plasticity index PI | Tests shall be determined for each new source of material at least once per 150m3 of compacted material or at intervals of 100m taken from that source |
| Grading Limits | Tests shall be determined at least once per 300m3 of compacted material or at intervals of 200m maximum |
| 4. Natural materials in sub-base and base MDD and OMC | Tests shall be determined for each new source of sub-base or base course material used and at intervals of at least once per 1500m2 of each layer of compacted sub-base or base course or at intervals of 150m |
| Field Dry Density | Tests shall be determined at least once per 350m2 of each layer of compacted sub-base or base or at intervals of 50m but with a minimum of three (3no.) tests per section |
| Soaked CBR and Plasticity index PI | Tests shall be determined for each new source of gravel material at least once per 75m3 of compacted gravel material or at intervals of 50m taken from that source |
| ACV LAAV and 10% Fines | Tests shall be determined for each new source of gravel material and whenever the Engineer considers that its quality may have altered |
| Grading Limits and Plasticity Modulus | Tests shall be determined for each new source of gravel material at least once per 75m3 of compacted gravel material or at intervals of 50m taken from that source |
| 5. Crushed stone sub-base and base MDD and Specific Gravity | Tests shall be determined on the graded crushed stone at intervals of at least once per 2000m2 of each layer of compacted sub-base or base course laid or at intervals of 250m |
| Field Dry Density | Tests shall be determined at least once per 350m2 of each layer of compacted sub-base or base or at sections of 50m but with a minimum of three (3no.) tests per section |
| ACV, LAAV, SSS, 10% Fines and CBR | Tests shall be determined for each new source of crushed stone material and whenever the Engineer considers that the material quality may have altered |
| Grading Limits, Plasticity index PI and FI | Tests shall be determined for each new source of crushed stone material at least once per 300m3 of material produced or at intervals of 150m |
| 6. Bituminous surface treatment and surface dressing (a) Aggregates; sand; gravel FI, LAAV, ACV, PI, Sand Equivalent, ALD, 10% fines, PSV | Tests, as appropriate to the type of surface treatment, shall be determined for each new source of material and whenever the Engineer considers that its quality may have altered |
| FI, Grading, Angularity, Cleanness, PI, Deleterious Matter, Spread Rate, Sand Equivalent | Tests, as appropriate, shall be determined daily when surface dressing is in progress |
| (b) Binder | Compliance with Clause 2.9 of the Specification shall be determined once per 20,000 litres delivered to site or as otherwise directed by the Engineer |
| Binder spray rate | Tests shall be determined once per section sprayed |

SECTION 3

SETTING OUT, GEOMETRIC TOLERANCES AND RECTIFICATION

SECTION 3: 	SETTING OUT, GEOMETRIC TOLERANCES AND RECTIFICATION

3.2S	Setting Out

Add the following at the beginning of the section 3.2(b) Detailed Setting Out:

Before commencing the Works, the Contractor shall survey the original ground surface and shall prepare plans and cross-sections accordingly. These shall, when finally agreed, be signed by the Engineer and Contractor as truly representing the configuration of the areas in question before the commencement of the Works.

The Engineer has shown on the Drawings all the survey markings established but can give no warranty for their existence at the start of the Contract nor will accept responsibility for replacing any survey markings found to be missing. Where survey markings have been established by the Engineer the Contractor shall check the accuracy of their position and level and shall immediately notify the Engineer of any discrepancies.

The Contractor is responsible for all necessary setting-outs and levels of the Works and shall employ adequate qualified staff to carry out this exercise. All setting out shall be approved by the Engineer before work may commence. The centerline of the road is also to be checked and approved by the Engineer.

The Contractor shall also provide the Engineer with all necessary assistance in carrying out additional surveying works should these be found necessary for the proper execution of the works.

If at any time during the execution of the Works, any error appears in the position, levels, dimensions or alignment of any part of the Works, the Contractor at his own cost, rectify such error to the satisfaction of the Engineer.

The design, or setting out, alignments are indicated on the setting out drawings.

SECTION 4

SITE CLEARANCE

SECTION 4 SITE CLEARANCE

4.4S	Removal of Structures, Fences and Obstructions

Add the following:-

The timing and demolition by the Contractor of existing structures and culverts shall be subject to the approval of the Engineer. The Contractor’s programme shall provide details of his proposals in this respect.

SECTION 5

EARTHWORKS

SECTION 5 EARTHWORKS

5.5S	Construction of Embankments and Cuttings

Delete first sentence and substitute:

Suitable material obtained from cuttings shall be used to construct embankments and other areas of fill.

5.15	Scarifying Existing Road

Except where indicated in the Drawings or otherwise instructed by the Engineer's Representative, existing bituminous road surfacing shall be scarified where that fall within the area of the permanent works, and the scarified material shall be disposed of to spoil.

SECTION 6

QUARRIES, BORROW PITS, STOCK PILES AND SPOIL AREAS

SECTION 6	QUARRIES, BORROW PITS, STOCK PILES AND SPOIL AREAS

6.4S	Provision of Land

Delete the whole Clause and replace with:

“The Contractor shall submit his proposals for quarries, borrow pits, stockpile and spoil areas to the Engineer in writing at least 28 days prior to the intended commencement of activities on the sites of those areas, for his approval. These proposals shall include details of the site clearance, fencing, access, operations and reinstatement. A 1:1000 scale plan of the area shall be provided.

The results of tests carried out to prove the suitability of the quarry or borrow pit as a source of materials for use in the permanent works, together with evidence of the extent of such materials shall accompany the above proposals.

Any land proposed for use as a quarry, borrow pit, stockpile or spoil area shall be acquired for the use of the Contract and must be for the duration of the Contract only. The land shall revert to the owner after use.”

SECTION 7

EXCAVATION AND FILLING FOR STRUCTURES

SECTION 7 EXCAVATION AND FILLING FOR STRUCTURES

7.3S	   Excavation of Foundations for Structures

Delete this clause and substitute the following:

The excavation of foundations for structures and any associated drainage works shall be kept vertical, unless otherwise agreed by the Engineer, and shall be properly timbered or sheet piled, shored and strutted as necessary to prevent subsidence or slipping of the surrounding soil.

Where in the opinion of the Engineer, the foundation has become soft and additional excavation is required due to the Contractor’s method of working, the Contractor shall excavate the soft material and backfill with a suitable granular material or concrete as instructed by the Engineer.

All excavated surfaces, in material other than hard material, on which foundations for structures are to be placed shall be compacted to 95% MDD (AASHTO T180) to a depth of 150mm, and a minimum 75 mm thick layer of blinding concrete shall be placed before the foundation is constructed.

Excavated surfaces in hard material shall be further excavated to achieve a minimum thickness of 50 mm of blinding concrete.

The bottom of all foundation excavations shall be formed to the lines and levels described in the Contract. The Engineer may require additional excavation to remove any pockets of soft soil or loose rock and the resulting voids and any natural voids shall be filled with concrete or other material as required by the Engineer. After placing of any blinding concrete required by the Contract, no trimming of the side faces of the excavation shall be carried out for 24 hours.

The Contractor shall make good any lateral over break of the excavation above the bottom of the foundation greater than the net volume required for the Permanent Works with material of the same Class as used for fill above structural concrete foundations.

Surplus excavated material shall be taken to spoil areas or may be used in adjacent earthworks if possible.

The Engineer’s approval of any excavation shall be obtained prior to any construction thereon.

Founding conditions are to be verified by ground inspection of the formation upon excavation. If the formation is inadequate the Contractor is to excavate to a suitable founding level as agreed by the Engineer and backfill with compacted 40/20 crushed rock or class 15/20 concrete.

7.4S	Foundations Cast Against In-situ Material

Delete this clause and substitute the following:

Where shown on the drawings or instructed by the Engineer, or requested by the Contractor and agreed by the Engineer, that a foundation shall be cast against in-situ material, the excavations shall be neatly excavated to the shape required. Should any over-excavation occur, the space between the foundation and the in-situ material shall be backfilled with concrete of the same class as the foundation at the same time as the foundation is cast.

7.5S	Backfilling against Structures

Paragraph 3. Delete last sentence and substitute

Each layer shall be compacted to minimum dry density of 95%MDD (AASHTO T180).

The Contactor shall restrict compaction plant used on fill to structures within 2 m of a structure to the items listed below. The compacted level of fill within this zone shall not differ during construction from the compacted level of the remainder of the adjoining fill to structures by more than 250 mm.

(i)	vibratory roller having a mass per meter width of roll not exceeding 1,300 kg with a total mass not exceeding 1,000 kg;

(ii)	vibrating plate compactor having a mass not exceeding 1,000 kg;

(iii)	vibro-tamper having a mass not exceeding 75 kg

Vibratory rollers are self-propelled or towed smooth-wheeled rollers having means of applying mechanical vibration to one or more rolls.

Vibratory rollers operating without vibration will be classified as smooth-wheeled rollers.

The requirements for vibratory rollers are based on the use of the lowest gear on a self-propelled machine with mechanical transmission and a speed of 1.5 to 2.5 km/h for a towed machine, or a self-propelled machine with hydrostatic transmission. If higher gears or speeds are used an increased number of passes shall be provided in proportion to the increase in speed of travel.

Vibratory rollers shall be operated with their vibratory mechanism operating only at the frequency of vibration recommended by the manufacturers. Where more than one amplitude setting is available and/or a range of frequencies is recommended, the machine shall be operated at the maximum amplitude setting and at the maximum recommended frequency for that setting.

Vibratory rollers shall be equipped or provided with devices indicating the frequency at which the mechanism is operating and the speed of travel. Both devices shall be capable of being read by an inspector alongside the machine.

Vibrating-plate compactors are machines having a base-plate to which is attached a source of vibration consisting of one or two eccentrically weighted shafts and:

(a)	the mass per square meter of the base-plate of a vibrating-plate compactor is calculated by dividing the total mass of the machine in its working condition by its area in contact with compacted material;

(b)	vibrating-plate compactors shall be operated at the frequency of vibration recommended by the manufacturers. They shall normally be operated at travelling speeds of less than 1 km/h, but if higher speeds are necessary, the number of passes shall be increased in proportion to the increase in speed of travel.

Vibro-tampers are machines in which an engine-driven reciprocating mechanism acts on a spring system through which oscillations are set up in a base-plate.

Add the following:

The selected granular fill shall conform to the following:

| Permitted Constituents | Material Properties Required for Acceptability |  |  |  |
| --- | --- | --- | --- | --- |
|  | Property | Defined and Tested in Accordance with: | Acceptable Limits within: |  |
|  |  |  | Lower | Upper |
| Natural gravel, natural sand, crushed gravel, crushed rock other than argillaceous rock, crushed concrete, chalk, well colliery spoil or any combination thereof (properties i, ii and viii in the next column shall not apply to chalk). | (i) grading | BS 1377 Part 2 |  |  |
|  | (ii) uniformity coefficient | see note 2 |  |  |
|  | (iii) SMC of chalk | BS 1377: part 2 |  |  |
|  | (iv) 10% fines value | BS812: part 111 samples tested in a soaked condition |  |  |
|  | (v) effective angle of internal friction (ø’) and effective cohesion (c’) | see note 5 |  |  |
|  | (vi) permeability |  |  |  |
|  | (vii) mc | BS 1377 Part 2 |  |  |
|  | (viii) MCV | BS 1377 Part 4 see note 3 |  |  |
|  | (ix) slope stability test | see note 4 |  |  |

Notes:

1.	Where BS 1377 part 2 is specified for mc, this shall mean BS 1377: part 2 or BS 812: part 3 as appropriate.

2.	Uniformity coefficient is defined as the ratio of the particle diameters D60 to D10 on the particle-size distribution curve, where:

D60 = particle diameter at which 60% of the soil by weight is finer

D10 = particle diameter at which 10% of the soil by weight is finer

3.	Where permitted by the Engineer the rapid assessment procedure for material acceptability also given in BS 1377: part 4 may be used.

4.	The fill shall be shown, by means of a trial utilising not less than 20 m3 of the material, deposited and compacted in accordance with this clause, to be stable in the opinion of the Engineer, when it is trimmed to the slope indicated.

5	Shear box tests shall be carried out in accordance with BS 1377 part 7 and the following:

(i)	The plan size of the shear box shall be nominally 300 mm square

(ii)	Three samples shall be tested, each sample occupying the full depth of the shear box and shall be compacted at the optimum moisture content to a dry density of 92% + or - 2% of the maximum dry density determined in accordance with BS 1377: part 4 using the vibrating hammer method. The samples shall not be immersed in water.

(iii)	Each of the samples shall be subjected to a different normal stress equal to the maximum vertical pressure in the fill at the base, quarter height and mid height of the structure respectively. Each of the samples shall be sheared in a single stage test with one hour of compaction and the rate of shearing shall be such that no pore water pressure is generated.

(iv)	The values of c’ and ø’ reported shall be those corresponding to the maximum strength envelope.

SECTION 12

NATURAL MATERIALS FOR SUB-BASE AND BASE

SECTION 12 NATURAL MATERIALS FOR SUB-BASE AND BASE

12.3S 	Material Requirements

Amend as follows:

a)	Sub-base (including mechanically stabilized material).

Gravels:

Plasticity Index, delete “15%” and substitute “10%”

Sands, silty and clayey sands:

Plasticity Index, delete “12%” and substitute “10%”

Liquid Limit, delete “35%” and substitute “30%”

All materials:

Delete "Plasticity Modulus..........max 250" and substitute "Plasticity Product...........max 150".

b)	Base (including mechanically stabilized material)

Delete “Plasticity Modulus Max 250" andinsert “Plasticity Product Max 150"

Plasticity Index: delete “10%” and insert “6%”

CBR:delete “95%” and insert “97%”

c)	Natural material for cement or lime improved Sub-base

Gravel:

% passing 0.075mm sieve:delete “40%”, substitute “25%”

Sands, silty and clayey sands:

% passing 0.075mm sieve:delete “50%”, substitute “35%”

All Materials:

Delete “Plasticity Modulus....... max 2500" and replace with "Plasticity Product........max 	300".

Delete last paragraph and replace with “After treatment the material shall have a CBR of at least 60% measured after 7 days cure and 7 days soak at the site mix compacted to 95% MDD (AASHTO T180) and the treated material shall have a Plasticity Index between 2% and 6% and a Plasticity Product less than 75 %."

d)	Natural material for cement stabilized base

Gravels and coarse clayey sands:

-	% passing 0.075mm sieve, delete “max 35%” and substitute “max 20%”.

-	Plasticity Index, delete “max 25%”, substitute “max 15%”.

-	Delete “Plasticity Modulus mix in place method..........max 1500” and substitute “Plasticity Product............max 600".

-	Delete “Plasticity Modulus stationary plant method........max 700” and substitute “Plasticity Product..............max 300".

-	Last line on last paragraph; delete “Plasticity Modulus of less than 250" and substitute“Plasticity Product of less than 120".

At the end of the Sub-clause add "Materials under Sub-clause (c) and (d) shall conform to Table 12.1"

12.4S	 Laying and Compacting

First sentence of paragraph 2, delete “225” and substitute “150"

Add the following:

The compacted thickness of any layer laid, processed and compacted at one time shall not exceed 150mm and where a greater compacted thickness is required, the material shall be laid and processed in two or more layers.

12.6S	Mechanical Stabilisation

Delete the entire sub-clause and substitute the following:

Gravel sub-base material shall be laid, graded and compacted to the specified thickness, levels and crossfalls, subject to the specified tolerances.

The moisture content of the material shall be adjusted, if necessary, by either uniformly mixing in water or drying out the material such that the moisture content during compaction is between 80% and 105% of the Optimum Moisture Content (Modified AASHTO compaction).

Compaction of the sub-base material shall continue until the dry density of the layer shall be 97.5% of MDD (Modified AASHTO compaction).

The compacted thickness of any layer laid, processed and compacted at one time shall not exceed 225mm, and where a greater compacted thickness is ordered by the Engineer the material shall be laid and processed in two or more layers. The minimum layer thickness shall be 100mm.

Every reasonable effort shall be made to prevent segregation during the dumping, spreading, trimming and compacting operations.

During the grading, trimming and compaction of the material the Contractor shall ensure that the surface and/or the material does not dry out by applying fog sprays of water or the approved means sufficient to maintain the surface and/or material within the specified limits of moisture content.

On completion of compaction, the surface shall be well closed, free from movement under compaction plant and free from compaction planes, ridges, cracks, loose or segregated material.

The Engineer's Representative will inspect each layer and the Contractor shall notify the Engineer's Representative when such areas of sub-base is ready for inspection and shall allow reasonable time for the inspection to be made. If, in the opinion of the Engineer's Representative, the surface fails to meet the requirements of the Specifications the Contractor shall take such action as the Engineer may instruct or agree.

No subsequent pavement layer shall be laid over any sub-base layer prior to the Contractor's receipt of the Engineer's written approval of the sub-base layer.

The Contractor shall be deemed to have been aware at the time of preparing his Bid that blending of some of the naturally occurring gravels with sand and/or crusher fines will be necessary in order to modify their plasticity characteristics to accord with the specified requirements. It shall be deemed that the costs of such blending by mechanical means off site have been included in the Contractor's rates and prices for sub-base items in the Bill of Quantities.

The Contractor's method of carrying out such blending shall be subject to the approval of the Engineer who will require that the finally produced sub-base material shall be a uniform mixture homogeneous in texture and consistent throughout the depth of the layer.

SECTION 13

GRADED CRUSHED STONE SUB-BASE AND BASE

SECTION 13 GRADED CRUSHED STONE SUB-BASE AND BASE

13.2S	Definitions

The stone shall be Class A and a nominal size of 0/30mm.

13.3S	Material Requirements

Delete the first line and substitute the following:

The material shall comply with the following requirements and the stone class shall be selected by the Engineer.

SECTION 15

BITUMINOUS SURFACE TREATMENTS AND SURFACE DRESSINGS

SECTION 15	BITUMINOUS SURFACE TREATMENTS AND SURFACE DRESSINGS

15B.2S Materials for Prime Coat and Tack Coat

Add the following paragraph after the second paragraph:

The binder for prime coat shall be AC-10 bitumen with kerosene added between 27% and 56% depending on the pavement condition. The binder for tack coat shall be AC-10 (80/100 pen) grade bitumen cationic emulsion.

15C.1S Scope of Part C

Add the following:

Surface Dressing shall consist of Primer seal and final seal as indicated in the Bituminous Spray Sealing Guide prepared by SMEC International Pty Ltd. (Australia), July 2001, for Ghana Highway Authority.

15C.2S Materials for Surface Dressing

Add the following sentence at the end of (a):

The binder shall be AC10 bitumen with kerosene added between 11% and 21% depending on the pavement condition and expected traffic volume.

Add the following at the end of (b):

(iv)	The Chippings shall be precoated with petroleum based product, such as distillate or a very light grade of cut back bitumen. A nominal precoating rate of 12 litres per m3 is recommended but this can be varied by testing to obtain uniform coating of the chippings dependent on the quality of the stone. 10mm and 14mm chippings shall be used for the primer seal and final seal respectively.

15C.3S Rate of Application of Binder and Chippings

Delete the first paragraph and Table 15C.3 and substitute the following:

The spray rate for Binder and spread rate for Chippings shall be designed by the Contractor as indicated in the Bituminous Spray Sealing Guide, July 2001 for the approval of the Engineer.

15E.1S Scope of Part E

Amend Sub-Clause 15E.1 by adding the following sentence at the end:

Notwithstanding information provided on the drawings the Contractor shall not make any provision for the application of a slurry seal to surface dressed areas.

SECTION 17

CONCRETE WORKS

SECTION 17 CONCRETE WORKS

17.3S Materials for Concrete

Delete the first sub paragraph of paragraph (b) and replace with

Cement shall be ordinary Portland cement complying with B.S.12.

Delete 17.3(c), 17.3(d) and 17.3(e) and substitute the following:

17.3(c) Aggregates for Concrete

Unless otherwise permitted by the Engineer, fine aggregate shall be clean, hard and durable and shall be natural sand, crushed gravel sand or crushed rock sand complying with the relevant requirements of BS882:1983 as modified by any particular requirements in this Specification. All material shall pass through a 5 mm BS sieve and the grading shall be in accordance with zones 1, 2 or 3 of BS 882. In order to achieve an acceptable grading it may be necessary to blend materials from one source. Fine aggregate for mortar only shall comply with BS 1200. Content passing a 75 micron BS sieve shall not exceed 3% for natural or crushed gravel sand or 15% for crushed rock sand.

The fine aggregate shall not contain iron pyrites or iron oxides. It shall not contain shale, coal or other laminar, soft or porous materials unless the Contractor can show by comparative tests, on finished concrete as set out in BS 1881, which the presence of such materials does not adversely affect the properties of the concrete.

Maximum white (muscovite) mica permitted in fine aggregate is 1% by weight and maximum black (biotite) mica 1.5% by weight. Maximum total mica (combined white and black) shall be 1.5% by weight. Mica shall be identified by petrographic methods (ASTM C295) and quantified by physical separation, counting and weighing. The limits given are for free mica not including that combined in mineral/rock particles such as granite.

Coarse aggregate shall be clean, hard and durable crushed rock, crushed gravel or natural gravel complying with the requirements of BS 882. The material shall not contain any iron pyrites, iron oxides, flaky or laminated material, hollow shells, coal or other soft or porous material unless the Contractor can show by comparative tests on finished concrete as set out in BS 1881 that the presence of such materials does not adversely affect the properties of the concrete. The pieces shall be angular, rounded or irregular as defined in BS 812 part 1. Coarse aggregate shall be supplied in the nominal sizes called for in the Contract and shall be graded in accordance with BS 882 for each nominal size.

The total shell content of coarse aggregate shall not be more than the following:

40 mm nominal size and above		2% of dry weight

20 mm nominal size				5% of dry weight

10 mm nominal size				15% of dry weight

If the flakiness index of the coarse aggregate varies by more than 5 units from the average value of the aggregate used in the approved trial mix, then a new set of trial mixes shall be carried out if the workability of the mixes has been adversely affected by such variation.

Aggregates shall be non-reactive with alkali in the concrete and the alkali content of concrete mixes shall be limited in accordance with Clause 17.3(e).

Aggregates shall not be composed of or contain inclusions of material likely to cause staining of the concrete surface.

Aggregate which does not meet the specified requirements in respect of clay, silt and dust may be washed with clean water to enable it to meet those requirements.

The Contractor shall arrange for and provide the following information, samples and test results for each of the aggregates from each source proposed for use in the Works:

(a) precise location of quarry or proposed quarry, giving name of quarry, location and grid references;

(b) location and depth at which samples have been taken;

(c) the results of the tests set out in Table 17.7. Where no dates are given in reference to Standards the latest edition shall be adopted. Sampling shall be in accordance with the test specification or BS812: Parts 101 and 102;

(d) a 50kg sample for the Engineer (crushed stone and crushed gravel aggregate samples shall be prepared using the plant which is to be used for producing aggregates for incorporation in the Works). The sample shall be taken in accordance with BS812: Parts 101 and 102.

(e)	such further samples and test results as the Engineer may require

Each sample shall be clearly labeled to show its origin and shall be accompanied by all the information called for in BS 882.

Tests to determine compliance of the aggregates shall be carried out by the Contractor in a laboratory acceptable to the Engineer. A material shall be accepted if not less than 3 consecutive sets of tests show compliance with the Specification.

No aggregate shall be used for concrete in the Works unless the Engineer has given his approval to:

(a) the source of supply; and

(b) the chemical and physical properties of the aggregate.

The Engineer's approvals will be based upon the information, samples and test results submitted by the Contractor in accordance with this Clause. The Engineer may attach conditions to his approval to limit an aggregate's use in combination with other materials or to limit its use in the Works. The Contractor shall take all measures necessary to ensure that those conditions are adhered to.

17.3(d)	Routine Testing of Aggregates

The Contractor shall carry out routine testing of aggregates for compliance with the Specification during the period that aggregates are being delivered to the site and concrete is being produced for the Works. The tests set out in table 17.7 shall be performed on aggregates from each separate source at the intervals given in table 17.8 or as instructed by the Engineer. No set of tests shall represent more than 250 tons of fine aggregate or more than 500 tons of coarse aggregate. If the aggregate from any source is variable, the frequency of testing shall be increased as instructed by the Engineer

__________________________________________________________________

Table 17.7 Tests for Concrete Aggregates

_______________________________________________________________________

Property			Test				Limits

_______________________________________________________________________

1.	Description and	BS812:			as specified in Standard

Classification			Part 1:1975

of materials			Section 6

2.   	Particle size			BS812:			as specified in Standard

distribution by		Sect.103.1

sieve analysis

3.   	Clay, fine silt 		BS812:			3% max. for natural or crushed gravel

and fine dust			Sect. 103.1		sands, 10% max. for crushed stone

in fine or coarse 	and 103.2      		sands, 1% max. for natural or crushed

aggregate							gravel coarse aggregates, 3% max.  for crushed rock coarse aggregates.

4.   	Organic content    	ASTM C-40    	no organic material

5.   	Clay lumps         	ASTM C-142 		3% max. for fine                                   aggregate, 2% max. for

6.   	Flakiness Index    	BS812:           		25% max. for all course

Section 105.1 		aggregate test fractions

7.   	Elongation Index   	BS812:           		25% max. for all course

Section 105.2 		aggregate test fractions

8.   	Angularity         	BS812:         		9 or 10. To be confirmed

Number             	Part 1:1975 		by the Engineer

Test 7.5

9.   	Determination of   	BS812:           		Water absorption 2.5%

Relative Densi-	Part 2:1975    		max. for all aggregates

ties and Water     	Test 5

Absorption

Table 17.7 contd.

______________________________________________________________________

Property           	Test             		Limits

______________________________________________________________________

10.  	Determination of   	BS812:         		To be determined by the

Bulk Density and   	Part 2:1975      	Engineer from test

Voids and Bulk-	Test 6.3         		results

ing of Aggregates

11.  	Field Settling     	BS812:          		To be determined by the

Test               			Part 1:1975      	Engineer from test

Test 7.2.5       		results

12.	10% Fines Value    	BS812:      		For concrete grade 40 and above

Part 111 			not less than 100 kN.  For other

concrete not less than 50kN

13.	Soundness of       	ASTM C88                 Coarse Fine

Aggregate by use   	or               		Mag Sulphate 12 % 10%

of 5 cycles of     	BS812: Part 121

magnesium sulphate

tests

14.  	Aggregate          	BS812: part 120        	0.05%

Shrinkage          	See also conc.

shrinkage tests

Section 3.5.9.3

15.  	Total acid         	BS812: Part 118 	0.4% max. of each aggregate

soluble sul-				proposed - but see

phate (as SO3)                  				also note 1 below

16. 	Total acid        	BS812: Part 117 	0.02% total in aggregate

soluble chlo-				but see also

ride content                        				note 2 below

Table 17.7 contd.

_________________________________________________________________

Property           	Test             		Limits

_________________________________________________________________

17. 	Potential          	ASTM C289        	To be non-reactive

Reactivity of

Aggregate

(Chemical

Method)

18. 	Potential Alkali   	ASTM C227        	Expansion less than 0.10% at

Reactivity of                       				six months

Cement combinations

(Mortar Bar Method)

19.  	Gel-Pat Test       	National Build-	As given in NBS Research

ing Studies     		Paper No. 25

Research

Paper No. 25

20.  	Concrete Prism     	CAN/CSA-A23.2    	Criteria in Appendix B

Test (alkali      	-M90 Method No.    	to CAN/CSA-A23.1-M90

silica reaction) 	A23.2-14A

or Draft BS812:

Part 123

21.  	Mica Content       	By physical      	1% max (muscovite)

separation    		1.5% max (biotite)

1.5% max (combined)

22.	Impact value			BS 812				not more than 45%

for coarse aggregate

23.	Aggregate crushing value				not more than 35%

24.	Los Angeles Abrasion					not more than 50%

Notes to table 17.7

Note 1:	The total acid soluble sulphate content expressed as SO3 of all ingredients in a mix including cement, water and admixtures shall not exceed 4.0 per cent of the weight of cement in the mix.

Note 2:	The total chloride content, expressed as chloride ion, arising from all ingredients in a mix including cement, water and admixtures shall not exceed the following limits, expressed as a percentage of the weight of cement in the mix:

For prestressed concrete, steam cured concrete or concrete containing sulphate resisting or super sulphated cement.................0.05%

For any other reinforced concrete 0.3% in 95% of all test results provided no result is more than 0.5%.

________________________________________________________________

Table 17.8 Frequency of Aggregate Testing

(The test numbers correspond to Table 17.7)

Test					Frequency		Remarks

_________________________________________________________________

2.   	Particle size         	Daily   			More frequently at start of

distribution                   				production

3.   	Clay, fine silt, etc	Daily

4.   	Organic content	Daily			Reducing to weekly when stable

5.   	Clay lumps             	Daily   			Reducing to weekly when stable

6.   	Flakiness index       	Daily   			Reducing to weekly when stable

7.   	Elongation index     	Daily   			Reducing to weekly when stable

8.   	Angularity No.         	Daily   			Reducing to weekly when stable

9.   	Water absorption	Daily

11.  	Field settling         	Daily

12.  	10% Fines              	Weekly

13.  	Sulphate soundness     Weekly		Reducing to monthly when stable

15.  	Sulphate content       Weekly			For natural sand - every load

delivered until control ensures stability.

16.  	Chloride content   	Daily   			For natural sand - every load

delivered until control ensures stability.

17.	AAR - chemical method			Initially for each source and as directed by the Engineer

18.  	AAR - mortar bar     				Initially for each source and as directed

by the Engineer

21.	Mica                   	Weekly 		Initially every load delivered

until control ensures stability.

Others                      				As required by the Engineer

17.3(e) Control of Alkali-Silica Reaction

The Contractor shall either use non-reactive aggregates (as defined below) or restrict the content of equivalent sodium oxide in the mix. Concrete containing non-reactive aggregates where there is no restriction on the equivalent sodium oxide shall not be used in locations where it will be in direct contact with concrete containing reactive aggregates.

Coarse aggregates and fine aggregates that each contain at least 95% (by weight) of one or more of the rock or artificial types in Table 17/9, shall be considered to be non-reactive, provided they are not contaminated with any opal, tridymite or cristobalite and do not contain a total of more than 2% (by weight) of chert, flint, chalcedony, micro crystalline silica or cryptocrystalline silica taken together.

Table 17.9   Aggregate Types

Air cooled blastfurnace slag	Granite

Andesite		Limestone

Basalt		Marble

Diorite		Microgranite

Dolerite		Quartz

Dolomite		Schist

Expanded blast-furnace	Sintered pfa

slag/clay/shale/slate	Slate

Feldspar		Synenite

Gabbro		Trachyte

Gneiss		Tuff

In the case of quartz it shall not contain quartzite or more than 30% (by weight) highly strained quartz. The quartz shall be classified as highly strained if the petrological examination of thin sections of grains gives an average undulatory extinction angle of more than 25. The extinction angle shall be measured on at least 20 separate grains.

The combination of coarse aggregate and sand (i.e. fine aggregate) shall be considered non-reactive when the combined coarse and sand fractions of the aggregate contain more than 60% by mass of chert or flint and at least 5% by mass of chert or flint of particle size less than 5 mm, provided that there is no combination of either aggregate with any opal, tridymite or cristobalite.

The definition of rock types shall be as in BS 812: Part 102 Table 2. Feldspar, quartz, chalcedony, opal, tridymite and cristobalite are minerals the first two of which shall be as defined in BS 6100: Section 5.2.

The petrographical examination of aggregates for alkali-silica reaction shall be carried out as required in sub clause 2.3.

When the coarse and fine aggregates are not accepted as wholly non-reactive the amount of equivalent sodium oxide shall not exceed 3.0 kg in any cubic meter of concrete.

The equivalent sodium oxide content of the cement shall be taken as that calculated for a quantity of cement equal to the proposed quantity of cement in the mix, with 10kg of cement added for each cubic meter of concrete to allow for tolerances in batching. For Portland cement the acid-soluble alkali content shall be used.

The acid-soluble alkali content of the Portland cement shall be taken as the average of 25 daily determinations of equivalent sodium oxide, plus twice the standard deviation for the period in which the cement was manufactured. The Contractor shall submit to the Engineer test certificates furnished by the cement manufacturer giving the results of these tests. The acid-soluble alkali content of the Portland cement shall be determined in accordance with BS EN 196 part 21 or by an x-ray fluorescence technique calibrated against this Standard.

The equivalent sodium oxide (Na2O) in the mix shall be the sum of the equivalent sodium oxide (Na2O + 0.66K2O) in the Portland cement component, 0.76 times the chloride ion (Cl- ion) content of the aggregate and the amount of equivalent sodium oxide in any admixtures or water to be used in the mix.

The equivalent sodium oxide content of the coarse and fine aggregate shall be calculated from the quantity of chloride ion present, which shall be measured by the method in BS 812 part 117.”

Paragraph (f) Delivery and Storage of Aggregates: add the following:

All aggregates shall be kept free from deleterious matter and shall be stored and handled to avoid segregation.

Paragraph (h): Admixtures: after the first paragraph add the following:

If required by the Engineer, the Contractor shall demonstrate the action of an admixture by means of trial mixes.

Unless otherwise approved by the Engineer admixtures shall comply either with BS 5075 or BS 1014 (Pigments for Portland cement and Portland cement products).

After sub-paragraph (e) add

(f) compliance with the above standards

(g) the colour of any pigment

17.4S The Design of Concrete Mixes

Table 17.1 Delete “Maximum water/cement ratio” and substitute “Maximum free water/cement ratio”

Table 17.1 for 40/20 class of concrete the maximum water/cement ratio for any exposure condition shall be 0.42.

Table 17.2 for class 40/20 concrete the minimum cement content for any exposure condition shall be 375 kg/m3.

Add the following:

Maximum Cement Content

The cement content shall not exceed 550 kg/m3 unless otherwise described in the Contract or agreed by the Engineer.

Clause 17.4(b) Design of proposed mixes (i) add:

The overall grading of the aggregates shall be such as to produce concrete of the specified quality that will work readily into position without segregation or excessive bleeding. The overall grading shall be controlled throughout the work so that it conforms closely to that assumed in the selection of the mix proportions.

After 17.4 b(v) add the following:

(vi)	Concrete Exposed to Chemical Action

If required, alternative concrete mixes or special treatments shall be used, as directed by the Engineer, generally in accordance with the following table:-

| Concentrations of acid soluble sulphates (SO3) |  | Requirements for types of cement to be used in dense fully compacted concrete |  |  |
| --- | --- | --- | --- | --- |
| Soil (%) | Ground water (%) | Type of cement | Minimum cement content (kg/m3) | Maximum water cement ratio by weight |
| Less than 0.5 0.5 - 1.0 | Less than 0.12 0.12 - 0.25 | Sulphate resisting Portland Sulphate resisting Portland | 280 300 | 0.5 0.5 |

(vii) Concrete at or Below Ground Level or in Water

Where so instructed by the Engineer concrete at or below ground level, in water, or in close proximity with water, shall be manufactured with sulphate resisting Portland cement.

The concrete for use in above-ground works shall be manufactured with ordinary Portland cement unless otherwise instructed by the Engineer.

(viii)Target slump

The target slump of the concrete shall be between 0 and 75 mm.

In 17.4(c) Trial Mixes:

After first paragraph add:

The Contractor shall give notice to enable the Engineer to be represented at the making of trial mixes and testing of cubes.

After second paragraph add:

The means of transport employed to make the trial mixes and to transport them representative distances shall be similar to the corresponding transport to be used in the Works. A clean dry mixer shall be used and the first batch discarded.

Add the following:

Any change in the source of material or in mix proportions (except changes in cement content of not more than 20 kg/m3) shall be subject to the Engineer's prior approval.

Where Portland cement to BS 12 and pulverised fuel ash to BS 3892: Part 1 or Portland cement to BS 12 and ground granulated blastfurnace slag to BS 6699 have been combined by the Contractor then any change in the source material or in the mix proportions (except changes in cement content of not more than 15 kg/m3 and changes in pulverised fuel ash or ground granulated blastfurnace slag of not more than 10 kg/m3) shall be subject to the Engineer's prior approval.

In 17.4(d) Quality control of concrete production (i) Sampling:

After 3rd paragraph add:

Not less than one sample shall be taken in accordance with the schedule shown below:

| Type of structure | Length (m) |
| --- | --- |
| 450mm U-Drain | 100 |
| 600mm U-Drain | 80 |
| 750mm U-Drain | 50 |
| 900mm U-Drain | 50 |
| 1200mm U-Drain | 50 |
| Pipe culvert surround | Each day’s batch or up to 10m |
| Box culvert (base) | Each day’s batch |
| Box culvert (wall) | Each day’s batch |
| Box culvert (deck) | Each day’s batch |
| Slab | Each day’s batch or up to 10m |

In 17.4(d) Quality control of concrete production (ii)Testing

In (a) insert after first paragraph “The target slump of the concrete shall be between 0 and 75 mm”.

In 17.4(d) Quality control of concrete production (ii)Testing

Delete sub-clause (c) and substitute the following:

Air Content of Fresh Concrete

When the Contract requires air entrainment the average air content of the fresh concrete shall be:

for natural aggregates 10 mm nominal size 7%

for natural aggregates 14 mm nominal size 6%

for natural aggregates 20 mm nominal size 5%

for natural aggregates 40 mm nominal size 4%

The percentage air content determined from individual samples taken at the point of placing the concrete and representative of any given batch of concrete shall be with + 1.5% of the specified value. The average percentage air content from any four consecutive determinations from separate batches shall be within + 1.0% of the specified value.

The air content shall be checked as described in BS 1881: Part 106 as follows:-

(i)	for each batch;

(ii)	at such times as directed by the Engineer.

In 17.4(d)(ii)(e) Delete the third paragraph and table 17.3 and substitute the following:

The minimum current margins shall be as follows:

-	After 20 batches, two thirds of the specified characteristic strength for concrete up to class 10N/mm2 and 15N/mm2 for concrete of class 20N/mm2 and above.

-	After 50 batches, one third of the specified characteristic strength for concrete up to class 15N/mm2 and 7.5N/mm2 for concrete class 20N/mm2 and above.

17.5S Mixing Concrete

Add the following:

Separate weighing machines shall be used for cementitious materials and aggregates unless otherwise agreed by the Engineer.  Alternatively, cementitious materials may be measured by using a whole number of bags in each mix.

The weight of water and admixture added shall be within ± 3% of the weight per batch agreed by the Engineer. Different types of cement shall not be used. The mixing time shall be not less than that recommended by the manufacturer subject to the Engineer's approval of the trial mixes."

Delete the penultimate paragraph from "Mixers which.......normal batch" and substitute the following:

Mixers that have been out of use for more than 30 minutes shall be thoroughly cleaned before any fresh concrete is mixed. Unless otherwise agreed by the Engineer, the first batch of concrete through the mixer shall then contain an appropriate additional quantity of cement to be agreed with the Engineer. Mixing plants shall be thoroughly cleaned before changing from one type of cement to another.

Add to “Clause 17.6 Transport of Concrete” after the last paragraph

Ready Mixed Concrete

Ready-mixed concrete shall comply with this specification and the following special requirements. The concrete shall be carried in purpose-made agitators, operating continuously, or truck mixers. The concrete shall be compacted and in its final position within 2 hours of the introduction of cement to the aggregate, unless a longer time is agreed by the Engineer. The time of such introduction shall be recorded on the Delivery Note together with the weight of the constituents of each mix.

When truck-mixed concrete is used, water shall be added under supervision either at the Site or at the central batching plant as agreed by the Engineer, but in no circumstances shall water be added in transit.

Unless otherwise agreed by the Engineer, truckmixer units and their mixing and discharge performance shall comply with BS 4251.

17.8S Placing of Concrete

In 17.8 (c) add the following:

Concrete, when deposited, shall have a temperature of not less than 5oC and not more than 30oC.  Fresh concrete shall not be placed against in-situ concrete that has been in position for more than 30 minutes unless a construction joint is formed as described in Clause 17.17

Concrete shall not be pumped or discharged through aluminum alloy conduits.

Particular care shall be taken when concreting bridge decks of substantial thickness to avoid layering of concrete, and the whole thickness shall be placed in one pass.  In deck slabs when void formers are used, adequate means to prevent flotation shall be employed and care taken to ensure adequate compaction of the concrete placed beneath the void formers.

Concrete shall not be subjected to disturbance between 4 hours and 24 hours after compaction except with the agreement of the Engineer.  Recompaction of the upper layers of deep lifts to prevent or anneal settlement cracking shall be subject to the approval of the Engineer. Whenever vibration has to be applied externally, the design of formwork and disposition of vibrators shall ensure efficient compaction and the avoidance of surface blemishes.

No concrete shall be placed in flowing water. Underwater concrete shall be placed in position by tremies or by pipelines. Concreting operations shall not damage the faces of formwork.

There shall be no excess water on the top surface on completion of compaction.

17.9S Compaction of Concrete

At the end add:

Vibration shall be applied in a manner that does not promote segregation of ingredients and that produces a solid mass free from voids.

17.10S Curing of Concrete

In 17.10 (a) delete paragraphs 1 and 2 and substitute

Immediately after compaction and thereafter for the curing time given in (d) below, except where accelerated curing is used as described in (e) below, concrete shall be protected against the harmful effects of weather including rain, rapid temperature changes, temperature changes sufficient to cause cracking and drying out. The method of curing shall provide a suitable environment for the concrete to mature shall prevent harmful loss of moisture.

In the case of large areas of concrete or continuous pours curing shall commence on the completed section of the pour before the rest of the pour is finished.

In 17.10 (b) after the 5th paragraph insert

Details of all curing liquids, compounds, membranes and methods to be used, and subsequent removal where necessary shall be subject to the approval of the Engineer.  They shall not leave any residue which is detrimental to the appearance or quality of the concrete. Where the Contractor proposes to use a curing liquid, compound or membrane on surfaces on which a waterproofing system is to be laid then it shall be completely removable or compatible with the system and he shall demonstrate by comparative tests on site that adhesion of the primer to the concrete surface is not reduced.

Add the following:

(d)	Curing Time

The curing time shall be as long as is necessary to achieve the objectives but the minimum number of days shall be as given in Table 17/6 unless the average surface temperature of the concrete during the required number of days falls below 10C, in which case the period of curing shall be extended until the maturity of the concrete reaches the value given in the table.

TABLE 17/6 : Normal Curing Periods

| Conditions under which concrete is maturing | Minimum periods of protection for different types of cement |  |
| --- | --- | --- |
| Hot weather or drying winds Other conditions | Number of days where the average surface temperature of the concrete exceeds 10 deg. C during the whole period Other* SRPC OPC 7 4 3 4 3 2 | Equivalent maturity (degree hours) calculated as the age of the concrete in hours multiplied by the number of degrees Celsius by which the average surface temperature of the concrete exceeds -10 deg. C Other* SRPC OPC 3500 2000 1500 2000 1500 1000 |

NOTE. Other* includes all permitted cements except OPC and SRPC

KEY:    OPC = Ordinary Portland cement.

SRPC = Sulphate-resisting Portland cement

(e)	Accelerated curing.

Elevated-temperature curing as described below may be used only with ordinary Portland cement or sulphate resisting Portland cement: -

(i)	The formwork may be generally heated to no more than 20oC prior to the placing of concrete;

(ii)	Once placing is complete the concrete shall be left for 4 hours without additional heating.  The concrete temperature can then be raised at a maximum rate of 10OC/½hours;

(iii)	The concrete temperature shall at no time exceed 70oC;

(iv)	The rate of subsequent cooling shall not exceed the rate of heating;

(v)	Cubes shall be cured under identical conditions to those which the concrete is subjected to and in a manner to be approved by the Engineer.

The use of accelerated curing methods for concrete containing other types of cement or any admixture shall be subject to the Engineer's approval.

17.12S	Concreting in Hot Weather

In 17.12 (a) add the following:

During hot weather the Contractor shall ensure that the constituent materials of the concrete are sufficiently cool to prevent the concrete from stiffening in the interval between its discharge from the mixer and compaction in its final position.

The recommendations of the American Concrete Institute Standard “Recommended Practice for Hot Weather Concreting” ref. ACI-305R-91 shall be followed unless agreed otherwise by the Engineer.

Cement shall not be allowed to come into contact with water at a temperature greater than 60 OC.

In 17.12(b) add the following:

Notwithstanding the above recommendations concreting shall not be carried out when any of the following conditions apply:

- the shade air temperature exceeds 40 OC

- the formwork temperature exceeds 43 OC

- the concrete mix would exceed 30 OC within 5 minutes of placing

- the rate of evaporation from the surface exceeds 1 kg/m2/hour

Concreting in conditions when the shade air temperature exceeds 30 OC will only be permitted when the Contractor’s proposals for ensuring that the concrete quality will not be impaired have been accepted by the Engineer.

17.13S	Finishes on Unformed Surfaces

Immediately before table 17.4 add the following:

UF 4 Finish

This finish is for bridge decks that are to receive waterproofing systems. The concrete shall be levelled and screeded to produce a uniform surface. When the concrete has sufficiently hardened and the bleed water evaporated the surface shall be trowelled to produce a hard dense surface free from screed marks and exposed aggregate. Finally the surface shall be lightly textured with a wooden float or equivalent.

Alternatively the concrete shall be levelled, screeded and floated to produce a uniform surface and immediately before the waterproofing operation this surface shall be water jetted or grit blasted to provide a lightly textured finish.

The accuracy of the finish surface shall be as for class UF3.

UF 5 Finish

This finish is for footbridge surfaces that are to receive either separate or combined systems, or coatings of waterproofing and surfacing materials. The concrete shall be levelled and screeded to produce a uniform finish. When the concrete has sufficiently hardened to prevent laitance being worked to the surface it shall be floated to produce a surface free from screed marks and exposed aggregate. Finally the surface shall be textured as agreed by the Engineer to suit the requirements of the particular waterproofing and surfacing system. The accuracy of the finished surface shall be as for class UF3.

The surface tolerances given in table 17.4 shall be halved.

17.17S	Construction Joints

After paragraph 5 add

Kickers shall be constructed integrally with the lift of concrete below.

After paragraph 8 add

Alternatively proprietary steel open mesh permanent formwork may be used with the approval of the Engineer.

The joint surface shall be clean and damp but free of standing water immediately before any fresh concrete is placed against it.

17.23S Preparation of Formwork

Add the following:

Immediately before concreting, all forms shall be thoroughly cleaned out.

Release agents for formwork shall be to the approval of the Engineer. They shall enable the formwork to be removed without damage to the concrete surface and shall not leave any residue which is detrimental to the concrete surface or any applied finish or surface impregnation. Where a concrete surface is to be permanently exposed only one agent shall be used throughout the entire area. Release agents shall be applied evenly and shall not be permitted to come into contact with reinforcement, prestressing tendons and anchorages. Where the concrete is to receive an applied finish or surface impregnation the release agent shall be compatible.

In order to maintain consistency of colour on exposed faces the mix proportions and the grading (particularly of the fine aggregate) shall be maintained constant. The same type of plywood or timber shall be used in formwork throughout similar exposed areas. When stated in the Contract each constituent material shall be obtained from a single consistent source.

17.24S	Removal of Formwork

Delete the last three rows of table 17.5 from "Underside of arches....4 N/mm2" and substitute the following in the appropriate columns:

Underside of arches and slabs (formwork only)			 5 days	0.5C

Underside of beams (formwork only)					12 days	0.5C

Supports to underside of arches and slabs					14 days	 C

Supports to beams							18 days	 C

Add the following:

Ties and embedded metal parts shall be provided with a mortar cover equal to the nominal cover to the reinforcement as approved by the Engineer.

17.25S Surface Finishes

At the end of sub clause (c) add the following:

The formwork shall leave no stain or blemishes on the concrete. The resulting finish shall be smooth and of uniform texture and appearance. The Contractor shall make good any imperfections in finish to the approval of the Engineer. Internal ties and embedded metal parts shall not be allowed.

In sub clause (d) delete "F2 or F3" and substitute "F2, F3 or F4"

After sub clause (d) add:

(e)	Class F4 Finish

The requirements for class F4 are as for class F3 except that ties and embedded metal parts shall be permitted. The ties shall be positioned only in rebates or in other positions as described in the Contract or as agreed by the Engineer.

(f)	Trial Panels

When required by the Engineer and before commencing concreting the Contractor shall prepare trial panels of size not less than 6m x 4m and surface finishes F3 and F4 acceptable to the Engineer.

The panel shall be filled with the proposed concrete mix compacted by the method to be used in the work. As soon as practicable after compaction, the forms shall be removed to enable the Engineer to check the surface finish and compaction achieved.

(g)	Control of Colour

When stated in the Contract each constituent material shall be obtained from a single consistent source. The aggregates shall be free of any impurities that may cause staining. The mix proportions and the grading, particularly of the fine aggregate, shall be maintained constant. The same type of plywood or timber shall be used in formwork throughout similar exposed areas.

Permanently exposed concrete surfaces to all classes of finish other than F1 shall be protected from rust marks and stains of all kinds. All formwork joints for all classes of finish other than F1 shall form a regular pattern agreed by the Engineer with horizontal and vertical lines continuous throughout each structure and all construction joints shall coincide with these horizontal or vertical lines.

17.26S Tolerances

After table 17.6 add the following:

The tolerances given in Table 17.6 shall be halved. The same tolerance shall apply to F4 finish as to F3 finish.

17.28S Reinforcement for Concrete

Add the following:

Hot rolled and cold worked steel bars shall comply with BS 4449 except that no bar shall contain a flash weld.

17.29S Storage of Reinforcement

Add the following:

All bars for reinforcement shall be delivered to the Site firmly tied in bundles each bundle containing bars of the same diameter and length only and each clearly marked with the number, diameter and length of the bars it contains.

Steel reinforcement shall be stored in clean conditions off the ground and under cover in such a way as to minimise condensation. It shall be grit blasted to remove loose rust, loose mill scale, oil, dust, salt, grease or other deleterious material to the satisfaction of the Engineer, prior to fixing in position. If, after fixing, the surface condition of the steel reinforcement deteriorates because of prolonged exposure, it shall be further treated, to the satisfaction of the Engineer, prior to concreting.

If, in the opinion of the Engineer, reinforcing steel is severely corroded and pitted or otherwise fails to meet the requirements of the relevant British Standard, at least ten specimens shall be taken from the batch and tested in an approved independent laboratory. The laboratory shall be acceptable to the supplier and must be accustomed to testing reinforcing steel, and shall subject the samples to full tensile and rebend tests to the relevant British Standard, and a chemical analysis to determine the carbon equivalent value. Suspect samples shall be retained for inspection by the supplier.

No steel from any suspect batch shall be incorporated into the Works until such tests have indicated that it may be acceptable, and is approved by the Engineer.

17.30S Bending Reinforcement

Add the following:

The Bar Schedules are based on the dimensions of the concrete and the nominal cover to the reinforcement described in the Contract. The reinforcement shall be cut and bent within the tolerances given in BS 4466 but this shall not relieve the Contractor of his responsibility for the correct fit of the reinforcement and the achievement of the required cover as shown on drawings.

Bending at temperatures below 5oC or in excess of 100oC may only be carried out with the Engineer's approval and under his supervision.

Any reinforcement bar that has already been bent shall not be rebent at the location of the original bend without the Engineer's permission.

The Contractor may propose amendments to the details of the reinforcement to suit his proposed method of working, and shall, if the amendments are approved by the Engineer, prepare amended bending schedules.

17.31S Fixing Reinforcement

Add the following:

One or more competent steel fixers shall be in attendance during the placing and compaction of concrete to correct any displacement of the reinforcement, or other fixtures, that may occur.

No splices shall be made in the reinforcement except where described in the Contract or where approved by the Engineer.

All reinforcement shall be perfectly clean and free from loose scale, rust, oil, grease and other matter which might reduce the bond between the steel and the concrete. Loose pieces of binding wire, timber and other foreign matter shall be removed immediately prior to concreting.

The Contractor shall obtain the written approval of the Engineer for the reinforcement, when placed, before any concrete is deposited in the forms.

Reinforcement shall be secured against displacement. Unless specified otherwise, the actual concrete cover shall be not less than the required nominal cover, minus 5mm.

Strength of Structural Welded Joints

The strength of all structural welded joints shall be assessed following tests on trial joints to demonstrate that they achieve the strength of the parent bar.

17.32S	Precast Concrete

Add the following:

When the method of manufacture has been approved, no changes shall be made without the consent of the Engineer. The Contractor shall inform the Engineer in advance of the date of commencement of manufacture and casting of each type of member. A copy of all 28 day cube test results relating to the work shall be sent to the Engineer as soon as they become available.

17.39S	Handling and Storage of Precast Units

Add the following:

The accumulation of trapped water and deleterious matter in the units shall be prevented. Care shall be taken to avoid rust staining and efflorescence. When a stack is several units high, packings shall be vertically above each other to prevent additional bending stresses in any unit. Members shall be lifted or supported only at points agreed by the Engineer and shall be placed without impact. At all stages of construction, precast concrete units and other concrete associated therewith shall be properly d to prevent damage.

# Section VI.  Drawings

# Section VII.  Bill of Quantities

# Section VIII.  Security Forms

## Annex A Form:  Tender Security (Bank Guarantee)

Whereas, [name of Tenderer] (hereinafter called “the Tenderer”) has submitted his Tender dated [date] for the construction of [name of Contract] (hereinafter called “the Tender”).

Know all people by these presents that We [name of Bank] of [name of country] having our registered office at [address] (hereinafter called “the Bank”) are bound unto name of Employer] (hereinafter called “the Employer”) in the sum of [amount] for which payment well and truly to be made to the said Employer, the Bank binds itself, its successors, and assigns by these presents.

Sealed with the Common Seal of the said Bank this [day] day of [month], [year].

The conditions of this obligation are:

(1)	If, after Tender opening, the Tenderer withdraws his Tender during the period of Tender validity specified in the Form of Tender; or

(2)	If the Tenderer having been notified of the acceptance of his Tender by the Employer during the period of Tender validity:

(a)	fails or refuses to execute the Form of Agreement in accordance with the Instructions to Tenderers, if required; or

(b)	fails or refuses to furnish the Performance Security, in accordance with the Instruction to Tenderers; or

(c)	does not accept the correction of the Tender Price pursuant to Clause 27,

we undertake to pay to the Employer up to the above amount upon receipt of his first written demand, without the Employer’s having to substantiate his demand, provided that in his demand the Employer will note that the amount claimed by him is due to him owing to the occurrence of one or any of the three conditions, specifying the occurred condition or conditions.

This Guarantee will remain in force up to and including the date [number] days after the deadline for submission of Tenders as such deadline is stated in the Instructions to Tenderers or as it may be extended by the Employer, notice of which extension(s) to the Bank is hereby waived. Any demand in respect of this Guarantee should reach the Bank not later than the above date.

Date 		Signature of the Bank

Witness 		Seal

[signature, name, and address]

Annex B Form (Alternative 1):  Performance Bank Guarantee (Unconditional)

To:  [name and address of Employer]

Whereas [name and address of Contractor] (hereinafter called “the Contractor”) has undertaken, in pursuance of Contract No. [number] dated [date] to execute [name of Contract and brief description of Works] (hereinafter called “the Contract”);

And whereas it has been stipulated by you in the said Contract that the Contractor shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security for compliance with his obligations in accordance with the Contract;

And whereas we have agreed to give the Contractor such a Bank Guarantee;

Now therefore we hereby affirm that we are the Guarantor and responsible to you, on behalf of the Contractor, up to a total of [amount of Guarantee] [amount in words], such sum being payable in the types and proportions of currencies in which the Contract Price is payable, and we undertake to pay you, upon your first written demand and without cavil or argument, any sum or sums within the limits of [amount of Guarantee] as aforesaid without your needing to prove or to show grounds or reasons for your demand for the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the Contractor before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the Contract or of the Works to be performed thereunder or of any of the Contract documents which may be made between you and the Contractor shall in any way release us from any liability under this Guarantee, and we hereby waive notice of any such change, addition, or modification.

This Guarantee shall be valid until a date 28 days from the date of issue of the Certificate of Completion.

Signature and seal of the Guarantor

Name of Bank

Address

Date

## Annex B Form (Alternative 2):  Performance Bond

By this Bond, [name and address of Contractor] as Principal (hereinafter called “the Contractor”) and [name, legal title, and address of surety, bonding company, or insurance company] as Surety (hereinafter called “the Surety”), are held and firmly bound unto [name and address of Employer] as Obligee (hereinafter called “the Employer”) in the amount of [amount of Bond] [amount of Bond in words], for the payment of which sum well and truly to be made in the types and proportions of currencies in which the Contract Price is payable, the Contractor and the Surety bind themselves, their heirs, executors, administrators, successors, and assigns, jointly and severally, firmly by these presents.

Whereas the Contractor has entered into a Contract with the Employer dated the [day] day of [month], [year] for [name of Contract] in accordance with the documents, plans, specifications, and amendments thereto, which to the extent herein provided for, are by reference made part hereof and are hereinafter referred to as the Contract.

Now, therefore, the Condition of this Obligation is such that, if the Contractor shall promptly and faithfully perform the said Contract (including any amendments thereto), then this obligation shall be null and void; otherwise it shall remain in full force and effect.  Whenever the Contractor shall be, and declared by the Employer to be, in default under the Contract, the Employer having performed the Employer’s obligations thereunder, the Surety may promptly remedy the default, or shall promptly:

(1)	complete the Contract in accordance with its terms and conditions; or

(2)	obtain a Tender or Tenders from qualified Tenderers for submission to the Employer for completing the Contract in accordance with its terms and conditions, and upon determination by the Employer and the Surety of the lowest responsive Tenderer, arrange for a Contract between such Tenderer and Employer and make available as work progresses (even though there should be a default or a succession of defaults under the Contract or Contracts of completion arranged under this paragraph) sufficient funds to pay the cost of completion less the balance of the Contract Price; but not exceeding, including other costs and damages for which the Surety may be liable hereunder, the amount set forth in the first paragraph hereof.  The term “Balance of the Contract Price,” as used in this paragraph, shall mean the total amount payable by the Employer to the Contractor under the Contract, less the amount properly paid by the Employer to the Contractor; or

(3)	pay the Employer the amount required by the Employer to complete the Contract in accordance with its terms and conditions up to a total not exceeding the amount of this Bond.

The Surety shall not be liable for a greater sum than the specified penalty of this Bond.

Any suit under this Bond must be instituted before the expiration of one year from the date of issuance of the Certificate of Completion.

No right of action shall accrue on this Bond to or for the use of any person or corporation other than the Employer named herein or the heirs, executors, administrators, successors, and assigns of the Employer.

In testimony whereof, the Contractor has hereunto set its hand and affixed its seal, and the Surety has caused these presents to be sealed with its corporate seal duly attested by the signature of its legal representative, this [day] day of [month], [year].

Signed by

on behalf of [name of Surety] in the capacity of

In the presence of

Date

Signed by

on behalf of [name of Contractor] in the capacity of

In the presence of

Date

## Annex C Form:  Bank Guarantee for Advance Payment

To:	[name and address of Employer]

[name of Contract]

Gentlemen:

In accordance with the provisions of the Conditions of Contract, Clause 51 (“Advance Payment”) of the above-mentioned Contract, [name and address of Contractor] (hereinafter called “the Contractor”) shall deposit with [name of Employer] a Bank Guarantee to guarantee his proper and faithful performance under the said Clause of the Contract in an amount of [amount of Guarantee] [amount in words].

We, the [Bank], as instructed by the Contractor, agree unconditionally and irrevocably to guarantee as primary obligator and not as Surety merely, the payment to [name of Employer] on his first demand without whatsoever right of objection on our part and without his first claim to the Contractor, in the amount not exceeding [amount of Guarantee] [amount in words].

We further agree that no change or addition to or other modification of the terms of the Contract or of Works to be performed thereunder or of any of the Contract documents which may be made between [name of Employer] and the Contractor, shall in any way release us from any liability under this Guarantee, and we hereby waive notice of any such change, addition, or modification.

This Guarantee shall remain valid and in full effect from the date of the advance payment under the Contract until [name of Employer] receives full repayment of the same amount from the Contractor.

Yours truly,

Signature and seal:

Name of Bank:

Address:

Date:

SKETCH OF CONTRACT SIGN POST

1200 mm

1200mm

600mm

1000mm

CONTRACTOR: ……………………………………., P. O. BOX…………………….

CONTRACT SUM: GHc

FUNDING AGENCY: DISTRICT ASSEMBLY COMMON FUND (DACF)

TARKWA NSUAEM MUNICIPAL ASSEMBLY

GOVERNMENT OF GHANA

SUPERVISING DEPARTMENT/CONSULTANT: MUNICIPAL WORKS DEPARTMENT P.O. BOX 1 TARKWA

CONTRACT NAME: CONSTRUCTION OF 1NO. 6UNIT CLASSROOM BLOCK WITH ANCILLARY FACILTY AT BENSO ESSAMANG

MINISTRY OF LOCAL GOVERNMENT CHIEFTAINCY AND RELIGIOUS AFFAIRS

In lump sum contracts, delete “Bill of Quantities” and replace with “Activity Schedule,” and replace Sub-Clauses 37.1 and 37.2, as follows:

37.1	The Contractor shall provide updated Activity Schedules within 14 days of being instructed to by the Project Manager.  The activities on the Activity Schedule shall be coordinated with the activities on the Program.

37.2	The Contractor shall show delivery of Materials to the Site separately on the Activity Schedule if payment for Materials on Site shall be made separately.

In lump sum contracts, delete “Bill of Quantities” and replace with “Activity Schedule,” and replace entire Clause 38 with new Sub-Clause 38.1, as follows:

38.1	The Activity Schedule shall be amended by the Contractor to accommodate changes of Program or method of working made at the Contractor’s own discretion.  Prices in the Activity Schedule shall not be altered when the Contractor makes such changes to the Activity Schedule.

In lump sum contracts, add “and Activity Schedules” after “Programs”.

In lump sum contracts, delete this paragraph.

In lump sum contracts, add “or Activity Schedule” after “Program”.

In lump sum contracts, replace this paragraph with the following:  “The value of work executed shall comprise the value of completed activities in the Activity Schedule.”

The sum of the two coefficients Ac and Bc should be 1 (one) in the formula for each currency.  Normally, both coefficients will be the same in the formulae for all currencies, since coefficient A, for the nonadjustable portion of the payments, is a very approximate figure (usually 0.15) to take account of fixed cost elements or other nonadjustable components.  The sum of the adjustments for each currency are added to the Contract Price.

The maximum retention amount is usually 5 percent of the Contract Price and in any case the retention on an Interim Certificate should not exceed 10 percent of its value.

Usually liquidated damages are set between 0.05 percent and 0.10 percent per day, and the total amount is not to exceed between 5 percent and 10 percent of the delayed portion of the works.

The Tenderer should insert the amount of the Guarantee in words and figures denominated in the currency of the Employer’s country or an equivalent amount in a freely convertible currency.  This figure should be the same as shown in Clause 16.1 of the Instructions to Tenderers.

Usually 28 days after the end of the validity period of the Tender.  The date should be inserted by the Employer before the Tender documents are issued.

An amount is to be inserted by the Guarantor, representing the percentage of the Contract Price specified in the Contract, and denominated either in the currency(ies) of the Contract or in a freely convertible currency acceptable to the Employer.

An amount is to be inserted by the Surety, representing the percentage of the Contract Price specified in the Contract Data, and denominated either in the currency(ies) of the Contract or in a freely convertible currency of type and amount acceptable to the Employer.

Date of Letter of Acceptance or Agreement.

An amount is to be inserted by the Bank representing the amount of the Advance Payment, and denominated either in the currency(ies) of the Advance Payment as specified in the Contract, or in a freely convertible currency acceptable to the Employer.

An amount is to be inserted by the Bank representing the amount of the Advance Payment, and denominated either in the currency(ies) of the Advance Payment as specified in the Contract, or in a freely convertible currency acceptable to the Employer.