## Ground floor
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
BILL NO. 1
GENERAL ITEMS (PRELIMINARIES)
A | Performance security
B | All Risk Insurance works, plant equipment and persons
C | Offices and store for use by contractor
D | Watching and Protection of the work
E | Transport for work people
F | First Aid Equipment
G | Provision of progress photographs
H | Double face project signboard
J | Setting out of the work
K | Agent for foreman-in-charge
L | Plant, tools and vehicles
M | Hoarding around the site
N | Allow for providing all scaffolding, and apparatus profiles
and apparatus generaly required for the proper execution
of the work. the contractor shall provide without extra
charge all labour and equipment or apparatus required
by the Engineer for the testing and measuring the work
and works and for weighing, proving or testing the
efficiency of any portion of the works
P | Water for the work
Q | Allow a provisional sum of GH¢ 18,000for employers
agent / clerk of works
R | All Provisional sum for site meetings and other related cost
activities/Drawings/site meeting
BILL NO. 1 PRELIMINARIES
CARRIED TO GENERAL SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
GROUND FLOOR
BILL NO. 2
SUBSTRUCTURE (ALL PROVISIONAL)
D. GROUNDWORK
D20. Excavating and filling
Site Preparation
A | Removing trees girth 600 - 1.50m inlcuding grubbing up
| roots, disposal of materials and filling up voids |  | nr
B | Ditto - girth 1.50 - 3.00m girth |  | nr
C | Clearing site of all bushes including twigs,small trees not
| exceeding 600mm girth | 670 | m²
Excavating
D | Excavate over site average 250mm to remove vegetable top
| soil load and wheel to spoil | 167 | m³
E | Excavate pits maximum depth not exceeding 2.00m
| commencing from stripped level. (56nr) | 121 | m³
F | Excavate trenches; width exceeding 300mm;maximum depth
| not exceeding 2.00m; commencing from stripped level. | 127 | m³
Disposal
G | Disposal of excavated material off site. | 127 | m³
Filling to excavation
H | Excavated material arising from excavation; average
| thickness exceeding 250mm | 71 | m³
J | Hardcore to be obtained off site; filling to make up levels
| average thickness exceeding 250mm | 198 | m³
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE (CONT'D)
E. IN SITU CONCRETE / LARGE PRECAST CONCRETE
E10. In situ concrete
Plain ordinary prescribed mix: grade C15 concrete,
20mm machine-crushed aggregate as described in:
A | Blinding beds thickness not exceeding 100mm poured on or
| against earth | 11 | m³
Plain ordinary prescribed mix: grade C20 concrete, 20mm
machine-crushed aggregate as described in:-
B | Foundation poured on or against earth | 21 | m³
C | Bed thickness not exceeding 150mm thick | 69 | m³
Reinforced ordinary prescribed mix: grade C20 concrete,
20mm machine-crushed aggregate as described in:-
D | Foundations;poured on or against earth unblinded hardcore
| (Column bases) | 24 | m³
E | Columns | 5 | m³
F | Ground beam | 11 | m³
E20. Formwork for in situ concrete
Formwork and basic finish as described in:-
G | Edges of beds; plain vertical height not exceeding 250mm | 122 | m
H | Columns; square shape (48nr) | 55 | m²
J | Columns; isolated; square shape (8nr) | 10 | m²
K | Ground beam | 141 | m²
E30. Reinforcement for in situ concrete
Reinforcement bar; B.S. 4449 plain round mild steel straight or bent
as described in:
L | 12mm diameter bars in column base | 746 | kg
M | 12mm diameter bars in ground beam | 1574 | kg
N | 16mm diameter bars columns | 982 | kg
Reinforcement bar; B.S. 4449 plain round mild steel links/strrups
bent or curved as described in:-
P | 10mm diameter as stirrups column | 320 | kg
Q | 6mm diameter as stirrups in ground beam | 248 | kg
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE (CONT'D)
F. MASONRY
F10. Brick/Block walling
Solid sandcrete blocks size 450 x 225 in cement and sand
mortar (1:4) as described in:-
A | Walls; 150mm thick | 471 | m²
M: SURFACE FINISHES
M20. Plastered/Rendered/Roughcast coatings
13mm thick cement and sand (1:4) rendering as describe to block
or concrete;
B | Walls width exceeding 300mm | 188 | m²
C | Approved damproof membrane laid on hardcore filling to receive
| floor bed | 482 | m²
Tirmite control
D | Approved anti-termite treatment on hardcore filling | 482 | m²
M60. Painting / Clear finishing
Prepare and apply two undercoats and one finishing coat of
acrylic emulsion paint on general surfaces of:
E | Rendered walls, girth exceeding 300mm | 188 | m²
F | Allow a Provisional Sum of GH¢ …................................... for any
| additional works in the sub-structure (m/s) |  | item
To Collection
Collection
From page No. 2
From page No. 3
From page No. 4
SUBSTRUCTURE
Carried to Summary
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUPERSTRUCTRURE
E. IN SITU CONCRETE / LARGE PRECAST CONCRETE
E10. In situ concrete
Reinforced ordinary prescribed mix: grade C25 concrete,
20mm machine-crushed aggregate as described in:
A | Lintel/beam | 28 | m³
B | Columns; attached to walls | 13 | m³
C | Isolated square columns | 3 | m³
D | Suspended floor slab | 69 | m³
E | Steps and landing | 12 | m³
E20. Formwork for in situ concrete
Formwork and basic finish
F | Beam/Lintel: attached to walls; rectangular shaped | 188 | m²
G | Columns; attached to walls; square shape (48nr) | 173 | m²
H | Columns; isolated; square shape (8nr) | 29 | m²
J | Soffit of suspended floor slab | 482 | m²
K | 50mm x 100mm hardwood as prop | 1552 | nr
L | Soffit of steps and landing | 35 | m²
E30. Reinforcement for in situ concrete
Reinforcement bar; B.S. 4449 plain round mild steel straight or bent
as described in:
M | 16mm diameter in beam | 3971 | kg
N | 16mm diameter in columns | 1593 | kg
P | 12mm diameter in suspended floor | 5718 | kg
Q | 12mm diameter in steps and landing | 517 | kg
R | 12mm diameter in lintel | 120 | kg
Reinforcement bar; B.S. 4449 plain round mild steel links/strrups
bent or curved as described in:-
S | 10mm diameter as stirrups | 1484 | kg
E. IN SITU CONCRETE / LARGE PRECAST CONCRETE
Carried to Summary
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
F. MASONRY
F10. Brick/Block walling
Solid sandcrete blocks size 450 x 225 in cement and sand mortar
(1:4) as described in:-
A | Walls; 150mm thick | 775 | m²
B | Ramp wall | 55 | m2
F. MASONRY
Carried to Summary
Roofing - Appliance Bay
C | 0.45mm long span roofing sheets with two side laps | 67 | m2
and 150mm end laps nailed to hardwood
D | 600mm girth aluminium ridge capping | 9 | m
Sawn treated hardwood
E | 50mm x 100mm Ridge board | 9 | m
F | 50mm x 150mm Rafters | 70 | m
G | 50mm x 100mm purlin | 65 | m
H | 50mm x 100mm Wall Plate | 139 | m
Wrought Treated Hardwood
H | 20mm x 300mm fascia or barged board | 33 | m
Sundries
I | 10mm diameter mild steel straps for fixing timber
| trusses | 26 | m
ROOFING
Carried to Summary
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
L. WINDOWS/DOORS/STAIRS
L10. Windows/rooflights/screens/louvres
Work in welded mesh or expanded metal
A | 16mm diameter mild steel reinforcement bar, threaded
through the frames design as buglar proof to window
| overall size | 509 | m
Naco galvanised louvre carriers and fitting
B | Pair ditto 1125mm long with 8no. Clips with dual
| control do. | 154 | No
C | Pair ditto 600mm long with 4no. Clips with dual control do. | 11 | No
D | Window batten | 280 | m
L20. Doors/shutters/hatches
Timber doors
44mm (Finished) "Redwood" factory-made panel door,
wrot hardwood comprising 100mm stiles, top and middle rails
150mm bottom rail with 4no. hardwood panes as described in:
E | Single leaf size 900mm x 2050mm high | 24 | nr
F | Double leaf size 1500mm x 2050mm high | 3 | nr
Timber door frames
The following in 31nr door frame sets:
Wrot hardwood as described in:
G | Door frames, jambs, 50 x 150mm wide | 272 | m
| Window frames, jambs, 50 x 150mm wide | 278 | m
H | 20 x 20mm stop fillet | 259 | m
Nylon netting
I | Mosquito proof woven plastic guaze cut to size and fix to hardwood batterns(m/s) | 80 | m2
J | 25mm x 25mm Square approved galvanized metal wire mesh fix to hardwood (m/s) | 80 | m2
L40: General Glazing
Sheet glass panes fixed to putty to wrought hardwood casement
K | 6mm clear sheet glass louvre blades 150mm wide
but not exceeding 900mm length and slightly rounded
| edges fixed into metal clips of louvre carries | 345 | No
L. WINDOWS/DOORS/STAIRS
Carried to Summary
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
M. SURFACE FINISHES
M10. Sand cement / Concrete / Granolithic screeds / flooring
Cement and sand (1:4) beds as described in;
A | 30mm thick floor screeded bed trowelled hard and smooth
width exceeding 300mm; level and to falls and crossfalls
| and to slopes not exceeding 15 degrees from horizontal | 485 | m²
B | 13mm thick backing to receive ceramic wall tiles | 485 | m²
M20. Plastered/Rendered/Roughcast coatings
13mm thick cement and sand (1:4) rendering as describe to block
or concrete;
C | Wall; width exceeding 300mm | 1572 | m²
D | Isolated columns width exceeding 300mm | 29 | m²
E | Hoist Plaster of Paris (POP) Ceiling to supended | 485 | m²
floor slab
M40. Stone/Concrete/Quarry/Ceramic tiling/Mosaic
Tiles plain fixed on backings or beds with adhesive, pointed and
grouted in approved coloured grout to match as described in:
F | 600×600×10mm Thick polished porcelain floor tiles fixed with approved adhesive on cement and sand (1:4) on screeded backing (measured seperately) width exceeding 300mm
| Floor bed | 508 | m²
25 X 400 x 10mm thick non-slip polished porcelain tiles
laid beded and jointed in cement and sand (1:3) and
pointed in white cement in (measured separately)
G | Wall | 30 | m²
M60. Painting / Clear finishing
Prepare and apply two coats of "Coralatex" acrylic emulsion
paint to :
H | Wall; width exceeding 300mm | 1572 | m²
I | Isolated columns width exceeding 300mm | 29 | m²
J | Hoist Plaster of Paris (POP) Ceiling to supended | 436 | m²
floor slab
K | Soffit of staircase | 35 | m²
Prepare and apply one coat of aluminium primer on back of
joinery before fixing
L | General surfaces of hardwood not exceeding 300mm girth | 362 | m
M. SURFACE FINISHES
Carried to Summary
ITEM | DESCRIPTION | QTY | UNIT |  | AMOUNT
P. BUILDING FABRIC SUNDRIES
P21. Ironmongrey
Supply and fix the following or equally approved ironmongery
with screws to hardwood as described in:-
A | Mortice lock with a set of lever handle furniture | 27 | nr
B | Pair 150mm Heavy duty brass butt hinges. | 30 | nr
C | Pair heps & staple | 3 | nr
D | 150mm brass barrel bolt | 3 | nr
P. BUILDING FABRIC SUNDRIES
Carried to Summary
PLUMBING INSTALLATION
A | Include a provisional sum of GH¢ 70,000 for all plumbing |  |  |  | 70000
installations and fittings as directed by the consultants
ELEMENT NO. 7 -
| PLUMBING INSTALLATION |  |  |  | 70000
TO BILL NO. 2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELECTRICAL INSTALLATION
A | 3mm x 3mm metal box | 60 | No
B | 3mm x 6mm metal box | 30 | No
C | Circular box | 220 | No
D | Fan hooks | 15 | No
E | 4way 3 phase MCB | 2 | No
F | PVC pipes | 350 | No
G | Target Big size | 3 | No
H | 100 by 10 junction box | 2 | No
I | 1.5m2 cable | 22 | No
J | 2.5m2 cable | 10 | No
K | Earth wire | 6 | No
L | 16m2 cable | 2 | No
M | RCCD 3 phuse | 2 | No
N | 13AMP double socket | 30 | No
O | 1 gang switch | 25 | No
P | 2 gang switch | 20 | No
Q | 3 gang switch | 20 | No
R | Ceiling fan | 15 | No
S | 1.5m2 flexible cable | 5 | No
T | Star screw | 7 | No
U | Earth rod | 4 | No
V | Straight fitting | 30 | No
W | Include Provisional Sum for all Airconditioner piping works from Ground floor, First floor and Second floor offices and conference room
X | Include a Provisional sum for Connection to national grid and installation |  | P.SUM
2No. Prepaid Meters
ELECTRICAL INSTALLATIONS CARRIED TO SUMMARY
ITEM | DESCRIPTION | QTY | UNIT |  | AMOUNT
GROUND FLOOR
SUMMARY OF WORKS (MAIN BUILDING)
A | PRELIMINARIES
B | SUBSTRUCTURE
C | IN SITU CONCRETE / LARGE PRECAST CONCRETE
D | MASONRY
E | ROOFING
F | WINDOWS/DOORS /STAIRS
G | SURFACE FINISHES
H | BUILDING FABRIC SUNDRIES
I | PLUMBING INSTALLATION
J | ELECTRICAL INSTALLATION
BILL NO. 1 TOTAL COST OF GROUND FLOOR WORKS
CARRIED TO GENERAL SUMMARY

## First Floor
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
BILL NO. 2
FIRST FLOOR
SUPERSTRUCTURE
ELEMENT N0. 1. CONCRETE WORKS
Reinforced insitu concrete grade 20
A | Column | 13 | m3
B | Lintel/tie beam | 26 | m3
C | Suspended floor slab | 62 | m³
D | Steps and landing | 12 | m³
Mild Steel Round Bar Reinforced as
described
E | 16mm diameter bar in column | 1365 | kg
F | 10mm ditto in stirrups in column | 444 | kg
G | 16mm diameter bar in lintel/tie beam | 3618 | kg
H | 12mm diameter in suspended floor | 5494 | kg
I | 12mm diameter in steps and landing | 517 | kg
J | 10mm diameter bar in stirrups in lintel/tie beam | 970 | kg
Sawn Formwork
K | Sides and sofit of lintel/tie beam | 173 | m2
L | Vertical Sides of Column | 173 | m2
M | Sofit of suspended floor | 436 | m2
N | Sofit of steps and landing | 28 | m2
O | 50mm x 100mm hardwood as prop | 1281 | nr
ELEMENT NO. 1 CONCRETE WORKS
TO BILL NO. 2 SUMMARY
ELEMENT NO. 2
BLOCK WORK
Solid Sandcrete Blockwork in Cement
Mortar (1:4)
P | 150mm wall | 730 | m2
ELEMENT NO. 2 BLOCKWORK
TO BILL NO. 2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
ELEMENT NO.3
JOINERY
Windows
Wroughts treated hardwood
A | 20mm x 40mm cover batten | 302 | m
B | 50mm x 150mm window frame | 302 | m
16mm diameter mild steel reinforcement bar, threaded
C | through the frames design as buglar proof to window
| overall size | 545 | m
Doors
Wrought treated hardwood
F | 50mm x 150mm door frame | 182 | m
G | Panel door 1500mm x 2050mm x 40mm thick | 4 | No.
H | Ditto ditto size 900mm x 2050mm x 40mm thick | 22 | No.
Ironmongery
Provide and fix the following ironmongery to
hardwood with suitable screws
I | Pair 100mm brass butt hinges | 30 | No
J | Approved mortice lock with level handled furniture | 26 | No
| Pair heps & staple | 4 | nr
| 150mm brass barrel bolt | 4 | nr
K | 8 blade louvre carrier | 98 | pairs
L | Louvre blade | 368 | No.
Standard Units
M | Tygan aluminium mosquito netting or equall approved | 299 | m2
quality
N | 50 x 50mm grid galvanized welded mesh, 2.5mm thick
| nailed to hardwood. | 299 | m2
ELEMENT NO. 3 - JOINERY
TO BILL NO. 2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
ELEMENT NO. 4 ELECTRICAL INSTALLATION
A | 3mm x 3mm metal box | 60 | No
B | 3mm x 6mm metal box | 30 | No
C | Circular box | 220 | No
D | Fan hooks | 15 | No
E | 4way 3 phase MCB | 2 | No
F | PVC pipes | 350 | No
G | Target Big size | 3 | No
H | 100 by 10 junction box | 2 | No
I | 1.5m2 cable | 22 | No
J | 2.5m2 cable | 10 | No
K | Earth wire | 6 | No
L | 16m2 cable | 2 | No
M | RCCD 3 phuse | 2 | No
N | 13AMP double socket | 30 | No
O | 1 gang switch | 25 | No
P | 2 gang switch | 20 | No
Q | 3 gang switch | 20 | No
R | Ceiling fan | 15 | No
S | 1.5m2 flexible cable | 5 | No
T | Star screw | 7 | No
U | Earth rod | 2 | No
V | Straight fitting | 30 | No
Z | Include a Provisional sum for Connection to national grid and installation |  | Item
ELECTRICAL INSTALLATIONS CARRIED TO SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
ELEMENT NO. 5 -
PLUMBING INSTALLATION
TO BILL NO. 2 SUMMARY
PLUMBING INSTALLATION
A | Include a provisional sum of GH¢65,000 for all plumbing installations and fittings as directed by the consultants
PLUMBING INSTALLATION SUMMARY
ELEMENT NO. 6
WALL, FLOOR AND CEILING FINISHINGS
12mm thick cement and sand (1:4) render on
B | Concrete and Masonry Surfaces on walls | 1765 | m2
C | Sides of Column | 166 | m2
Beds and Backing
Cement and sand (1:3)
D | 38mm screeded backing | 730 | m2
Plain sheet finish in
G | Hoist Plaster of Paris (POP) Ceiling to supended floor slab | 436 | m²
elsewhere)
H | 600×600×10mm Thick polished porcelain floor tiles fixed with approved adhesive on cement and sand (1:4) on screeded backing (measured seperately)
| width exceeding 300mm - floor bed | 436 | m²
25 X 400 x 10mm thick non-slip polished porcelain tiles
laid beded and jointed in cement and sand (1:3) and
pointed in white cement in (measured separately)
I | Wall | 30 | m²
ELEMENT NO. 6
WALL, FLOOR AND CEILING FINISHINGS CARRIED TO SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
ELEMENT NO.7
PAINTING AND DECORATING
Prepare and apply one mist coat and two coats
of emulsion paint as described on
A | Wall | 1745 | m2
B | Column | 166 | m2
C | Soffit of Plaster of Paris (POP) Ceiling to supended floor slab | 436 | m2
Prepare and apply one undercoat and two
finishing coats of oil gloss paint on woodwork and metal
E | General surfaces of doors | 122 | m2
F | General surfaces of windows | 60 | m2
G | Door and window frames not exceeding 300mm girth | 103 | m2
ELEMENT NO. 7 - PAINTING AND DECORATING
TO BILL NO. 2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
BILL NO. 2. FIRE SERVICE STATION
SUMMARY
ELEMENT NO. 1 STRUCTURE FRAME
ELEMENT NO. 2 WALLING
ELEMENT NO. 3 JOINERY
ELEMENT NO.4 ELECTRICAL INSTALLATION
ELEMENT NO.5 PLUMBING INSTALLATION
ELEMENT NO. 6 WALL,FLOOR AND FINISHINGS
ELEMENT NO. 7 PAINTING AND DECORATING
BILL NO. 2 TOTAL COST OF FIRST FLOOR WORKS
CARRIED TO GENERAL SUMMARY

## Second Floor
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
BILL NO.3
SUPERSTRUCTURE
ELEMENT NO. 1
ELEMENT NO. 1. CONCRETE WORKS
Reinforced insitu concrete grade 20
A | Column | 13 | m3
B | Lintel/tie beam | 26 | m3
C | Suspended floor slab | 62 | m³
D | Steps and landing | 12 | m³
Mild Steel Round Bar Reinforced as
described
E | 16mm diameter bar in column | 1365 | kg
F | 10mm ditto in stirrups in column | 444 | kg
G | 16mm diameter bar in lintel/tie beam | 3618 | kg
H | 12mm diameter in suspended floor | 5494 | kg
I | 12mm diameter in steps and landing | 517 | kg
J | 10mm diameter bar in stirrups in lintel/tie beam | 970 | kg
Sawn Formwork
M | Sides and sofit of lintel/tie beam | 173 | m2
N | Vertical Sides of Column | 173 | m2
O | Sofit of suspended floor | 436 | m2
P | Sofit of steps and landing | 28 | m2
Q | 50mm x 100mm hardwood as prop | 1281 | nr
ELEMENT NO. 1 CONCRETE WORKS
TO BILL NO. 2 SUMMARY
ELEMENT NO. 2
BLOCK WORK
Solid Sandcrete Blockwork in Cement
Mortar (1:4)
R | 150mm wall | 730 | m2
ELEMENT NO. 2 BLOCKWORK
TO BILL NO. 2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
ELEMENT NO. 4
ROOFING
A | 0.45mm long span roofing sheets with two side laps | 574 | m2
and 150mm end laps nailed to hardwood
B | 600mm girth aluminium ridge capping | 75 | m
Sawn treated hardwood
C | 50mm x 100mm Ridge board | 75 | m
D | 50mm x 75mm ceiling joist | 478 | m
E | 50mm x 150mm Rafters | 420 | m
F | 50mm x 100mm purlin | 523 | m
G | 50mm x 100mm hip rafter | 120 | m
H | 50mm x 100mm Wall Plate | 314 | m
I | 50mm x 100mm Strut | 310 | m
Wrought Treated Hardwood
K | 20mm x 300mm fascia or barged board | 102 | m
Sundries
L | 10mm diameter mild steel straps for fixing timber
| trusses | 65 | m
ELEMENT NO. 4 - ROOFING
TO BILL NO. 2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
ELEMENT NO.3
JOINERY
Windows
Wroughts treated hardwood
A | 20mm x 40mm cover batten | 302 | m
B | 50mm x 150mm window frame | 302 | m
16mm diameter mild steel reinforcement bar, threaded
C | through the frames design as buglar proof to window
| overall size | 545 | m
Doors
Wrought treated hardwood
F | 50mm x 150mm door frame | 182 | m
G | Panel door 1500mm x 2050mm x 40mm thick | 7 | No.
H | Ditto ditto size 900mm x 2050mm x 40mm thick | 23 | No.
Ironmongery
Provide and fix the following ironmongery to
hardwood with suitable screws
I | Pair 100mm brass butt hinges | 37 | No
J | Approved mortice lock with level handled furniture | 30 | No
| Pair heps & staple | 7 | nr
| 150mm brass barrel bolt | 7 | nr
K | 8 blade louvre carrier | 98 | pairs
L | Louvre blade | 368 | No.
Standard Units
M | Tygan aluminium mosquito netting or equall approved | 299 | m2
quality
N | 50 x 50mm grid galvanized welded mesh, 2.5mm thick
| nailed to hardwood. | 299 | m2
ELEMENT NO. 3 - JOINERY
TO BILL NO. 2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
ELEMENT NO. 4 ELECTRICAL INSTALLATION
A | 3mm x 3mm metal box | 60 | No
B | 3mm x 6mm metal box | 30 | No
C | Circular box | 220 | No
D | Fan hooks | 17 | No
E | 4way 3 phase MCB | 2 | No
F | PVC pipes | 351 | No
G | Target Big size | 3 | No
H | 100 by 10 junction box | 2 | No
I | 1.5m2 cable | 14 | No
J | 2.5m2 cable | 8 | No
K | Earth wire | 6 | No
L | 16m2 cable | 2 | No
M | RCCD 3 phuse | 2 | No
N | 13AMP double socket | 30 | No
O | 1 gang switch | 25 | No
P | 2 gang switch | 20 | No
Q | 3 gang switch | 20 | No
R | Ceiling fan | 16 | No
S | 1.5m2 flexible cable | 5 | No
T | Star screw | 7 | No
U | Earth rod | 4 | No
V | Straight fitting | 30 | No
Z | Include a Provisional sum for Connection to national grid and installation(GHC6,000) |  | P.SUM |  | 6000
ELECTRICAL INSTALLATIONS CARRIED TO SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
ELEMENT NO. 5 -
PLUMBING INSTALLATION
TO BILL NO. 2 SUMMARY
PLUMBING INSTALLATION
A | Include a provisional sum of GH¢65,000 for all plumbing installations and fittings as directed by the consultants |  |  |  | 65000
PLUMBING INSTALLATION SUMMARY
ELEMENT NO. 6
WALL, FLOOR AND CEILING FINISHINGS
12mm thick cement and sand (1:4) render on
B | Concrete and Masonry Surfaces on walls | 1745 | m2
C | Sides of Column | 166 | m2
Beds and Backing
Cement and sand (1:3)
D | 38mm screeded backing | 730 | m2
Plain sheet finish in
E | Hoist Plaster of Paris (POP) Ceiling to supended floor slab | 436 | m²
elsewhere)
F | 600×600×10mm Thick polished porcelain floor tiles fixed with approved adhesive on cement and sand (1:4) on screeded backing (measured seperately)
| width exceeding 300mm | 436 | m²
25 X 400 x 10mm thick non-slip polished porcelain tiles
laid beded and jointed in cement and sand (1:3) and
pointed in white cement in (measured separately)
G | Wall | 30 | m²
ELEMENT NO. 6
WALL, FLOOR AND CEILING FINISHINGS CARRIED TO SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
ELEMENT NO.7
PAINTING AND DECORATING
Prepare and apply one mist coat and two coats
of emulsion paint as described on
A | Wall | 1745 | m2
B | Column | 166 | m2
C | Soffit of Plaster of Paris (POP) Ceiling to supended floor slab | 436 | m2
Prepare and apply one undercoat and two
finishing coats of oil gloss paint on woodwork and metal
E | General surfaces of doors | 132 | m2
F | General surfaces of windows | 60 | m2
G | Door and window frames not exceeding 300mm girth | 113 | m2
H | Fascia or barge board not exceeding 300mm girth | 31 | m2
ELEMENT NO. 7 - PAINTING AND DECORATING
TO BILL NO. 2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
ELEMENT NO. 8 EXTERNAL WORKS
EXTERNAL WORKS
A | Allow a Provisional Sum of GH¢ 34,000 for all external
| works including apron, drains, entrances steps, kerbs, ramps |  | item |  | 34680
as directed by lead consultant
B | Include a Provisional sum of GH₵70,000 for the |  | item |  | 70000
construction of septic tank with inspection chamber and
soakaway pit as directed by the lead consultant
C | Include a Provisional sum of GH₵25,000 for the
| construction of water tank and platform as directed by lead |  | item |  | 25000
consultant
EXTERNAL WORKS
CARRIED TO GENERAL SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
BILL NO. 2. 1NO. 2 - STOREY OFFICE COMPLEX
FOR FIRE SERVICE, AMBULANCE SERVICE, LEGAL AID COMMISSION, HEALTH INSURANCE AUTHORITY, IMMIGRATION SERVICE AND NATIONAL IDENTIFICATION AUTHORITY
SUMMARY
ELEMENT NO. 1 STRUCTURE FRAME
ELEMENT NO. 2 WALLING
ELEMENT NO. 4 ROOFING
ELEMENT NO. 3 JOINERY
ELEMENT NO.4 ELECTRICAL INSTALLATION
ELEMENT NO.5 PLUMBING INSTALLATION
ELEMENT NO. 6 WALL,FLOOR AND FINISHINGS
ELEMENT NO. 7 PAINTING AND DECORATING
ELEMENT NO. 8 EXTERNAL WORKS
BILL NO. 3 TOTAL COST OF SECOND FLOOR WORKS
CARRIED TO GENERAL SUMMARY

## Ramp
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
DISABILITY RAMP
Excavation and Earthwork
A | Excavate pit for column bases commencing at stripped
| level and not exceeding 1.5m deep. | 4 | m3
B | Backfill and well ram selected excavated materials around
| foundations. | 3 | m3
Concretework
Plain insitu concrete (1:3:6 - 40mm aggregate) in :
C | 150mm thick blinding bed | 1 | m3
Reinforced insitu concrete (1:2:4-20mm aggregate) in mix grade C20 concrete:
D | Column bases. | 1 | m3
E | Columns | 4 | m3
F | Suspended ramp slab | 10 | m3
G | Beam | 6 | m3
Reinforcement
Mild steel rod reinforcement, bent, cut, hoisted and fixed
in position
H | 14mm diameter bar in column bases | 69 | kg
I | 16mm diameter bar in columns | 213 | kg
J | 12mm diameter bar in suspended ramp slab | 786 | kg
K | 16mm diameter bar in beam | 812 | kg
L | 10mm diameter bars as links and stirrups | 335 | kg
L | 10mm diameter bars as links and stirrups | 335 | kg
Formwork
Sawn formwork to:
M | Vertical sides of column | 36 | m2
N | Edge of suspended ramp 150mm high. | 12 | m2
O | Side and soffit of beam | 137 | m2
P | Soffit of ramp | 135 | m2
c/f
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
b/f
Blockwork
Sandcrete blockwalling in cement and sand mortar (1:4):
A | 150mm Thick solid wall. | 99 | m2
Plasterwork and other finishes
12mm Thick Portland Cement mortar (1:4) rendering as
described to :
B | Block wall | 187 | m2
C | Concrete beam and column | 160 | m2
D | Soffit of Ramp | 73 | m2
Painting and Decorating
Prepare and apply two under coats and one finishing coat
of approved emulsion paint on:
E | Rendered walls | 187 | m2
F | Beams and Columns | 162 | m2
G | Soffit of Ramp | 73 | m2
In-situ Finishes
H | Terrazo Floor bed | 73 | m2
Total cost for constructing Disability Ramp

## GEN SUMMARY
CONSTRUCTION OF 1NO. 2-STOREY OFFICE COMPLEX FOR FIRE SERVICE, AMBULANCE SERVICE, LEGAL AID COMMISSION, HEALTH INSURANCE AUTHORITY, IMMIGRATION SERVICE AND NATIONAL IDENTIFICATION AUTHORITY AT OLD TAFO MUNICIPAL ASSEMBLY
ITEM | DESCRIPTION | QTY | UNIT | RATE(GH₵) | AMOUNT(GH₵)
A | BILL NO. 1: PRELIMINARIES AND GROUND FLOOR
B | BILL NO. 2: FIRST FLOOR
C | BILL NO. 3: SECOND FLOOR
D | BILL NO. 4: RAMP
SUB - TOTAL
TOTAL BID PRICE CARRIED TO FORM OF TENDER