## BOQ
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BILL NO. 1: GENERAL ITEMS (PRELIMINARIES)
(The Contractor is free to price for additional items under Preliminaries not included in the list below)
A | Performance Security
B | Provision of offices for the use by the Contractor
C | Maintenance of Contractor's office
D | Offices for the use by the Engineer
E | Progress photographs
F | Watching and protection of the works
G | Transportation for the workmen
H | First Aid Equipment
J | Safety clothing, and health and safety
K | Project signboard
L | Setting-out of the works
M | Supervision of works
N | Plant, tools, equipment and vehicles for the works
P | Permit acquisition fee
Total Carried to Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
A | Water for the works
B | Power for the works
C | Allow for providing all scaffolding and apparatus profiles and apparatus generally required for the proper execution of the works. The contractor shall provide without extra charge all labour and equipment of apparatus required by the Engineer for the testing and measuring the works and for weighing, providing or testing the efficiency of any portion of the works.
Total Carried to Collection
COLLECTION
Page No. 1/1
Page No. 1/2
BILL NO. 1 - PRELIMINARIES
CARRIED TO GENERAL SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BILL NO. 2: 1NO. 3-UNIT CLASSROOM BLOCK AT AGONA NKUM CATHOLIC BASIC SCHOOL
SUBSTRUCTURE (ALL PROVISIONAL)
D. GROUNDWORK
D20: Excavating and Filling
Site Preparation
Clear site vegetation; filling voids left by removal of roots with selected material arising from excavation
A | Bushes, shrub, undergrowth, hedges, trees and tree stumps not exceeding 600mm girth | 256 | m²
Excavating
Topsoil for preservation
B | Average 150mm deep | 256 | m²
Pits
C | Maximum depth not exceeding 1.00m; 26Nr | 20 | m³
Trenches width exceeding 0.30m
D | Maximum depth not exceeding 1.00m | 62 | m³
Excavated materials arising from excavation
Filling to excavation
E | Average thickness not exceeding 0.25m | 42 | m³
Disposal
F | Disposal of excavated material off site | 40 | m³
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Approved imported laterite or hardcore
Filling to make up levels; depositing and compacting in layers of 150mm maximum thickness
A | Average thickness exceeding 0.25m | 86 | m³
INSITU CONCRETE/ LARGE PRECAST CONCRETE
E10: INSITU CONCRETE
Plain insitu concrete; 1:4:8; 15N/mm², 25mm aggregate vibrated
Blinding beds
B | Thickness not exceeding 50mm thick | 20 | m²
Plain insitu concrete; 1:3:6; 15N/mm², 25mm aggregate vibrated
Foundations
C | Generally | 15 | m³
Beds
D | Thickness not exceeding 125mm | 35 | m³
Reinforced insitu concrete 1:2:4; 20N/mm², 19mm aggregate; vibrated
Pad foundations
E | Generally | 5 | m³
Reinforced insitu concrete 1:2:4; 30N/mm², 16mm aggregate; vibrated
Columns
F | Generally | 2 | m³
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
E20: FORMWORK FOR INSITU CONCRETE
Formwork and basic finsih
Edges of bed; plain vertical
A | Height not exceeding 250mm | 110 | m
Columns; Isolated
B | Regular shape; rectangular | 30 | m²
E30: REINFROCEMENT FOR INSITU CONCRETE
Reinforcement bars, steel grade 250N/mm², hot rolled plain round mild steel
Straight or Bent
C | 12mm diameter in footings | 245 | kg
D | Ditto in columns | 177 | kg
E | 8mm as stirrups | 51 | kg
MASONRY
F10: BRICK/BLOCK WALLING
Sandcrete blocks, B.S. 6073, 450 x 215mm solid compressive strength 5.2N/mm²; in cement and sand mortar (1:4)
Walls
F | 150mm thick; stretcher bond | 205 | m²
J30: DAMP PROOF MEMBRANES
Polythene sheeting; lapped joints; 250 microns; 0.02mm thick
Damp proofing
G | General surfaces | 233 | m²
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
SURFACE FINISHES
M20: PLASTERED/ RENDERED/ ROUGHCAST COATINGS
Mortar, cement and sand (1:4), trowelled smooth
13mm work to walls on brickwork or blockwork
A | Width exceeding 300mm | 97 | m²
M60: PAINTING/ CLEAR FINISHINGS
One coat sealer, two coats of 'coral' acrylic paint
Cement rendered general surface
B | Girth exceeding 300mm | 97 | m²
To Collection
Collection
Page No.''
Page No.''
Page No.''
Page No.''
SUBSTRUCTURE CARRIED TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
SUPERSTRUCTURE
GROUNDFLOOR
INSITU CONCRETE/ LARGE PRECAST CONCRETE
E30: INSITU CONCRETE
Reinforced insitu concrete 1:2:4; 30N/mm², 16mm aggregate; vibrated
Columns
A | Generally | 2 | m³
Beam
B | Generally | 5 | m³
Plain insitu concrete; 1:3:6; 15N/mm², 25mm aggregate vibrated
Steps
C | Generally | 5 | m³
Ramps
D | Generally | 3 | m³
E20: FORMWORK FOR INSITU CONCRETE
Formwork and basic finsih
Columns
E | Regular shape; square | 54 | m²
Sides of Beam
F | Regular shape; rectangular | 62 | m²
Soffits of Beam
G | Regular shape; rectangular | 78 | m
Sides and Soffits of Steps and Ramps
H | Regular shape; rectangular | 50 | m²
Total Carried Fwd
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Total Brought Fwd
INSITU CONCRETE/ LARGE PRECAST CONCRETE (Cont'd)
E30: REINFROCEMENT FOR INSITU CONCRETE
Reinforcement bars, grade 250N/mm², hot rolled plain round mild steel
Straight/Bent
A | 12mm diameter in columns | 310 | kg
B | 12mm diameter in beams | 487 | kg
C | 8mm as stirrups in columns | 75 | kg
D | 8mm as stirrups in beams | 163 | kg
INSITU CONCRETE TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
MASONRY
F10: BRICK/BLOCK WALLING
Sandcrete blocks, B.S. 6073, 450 x 215mm solid compressive strength 5.2N/mm²; in cement and sand mortar (1:4)
Walls
A | 150mm thick; stretcher bond | 300 | m²
B | Ditto, design blocks | 4 | m²
MASONRY TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
H: CLADDING/ COVERING
H72 - ALUMINIUM LONGSPAN COVERING
0.4mm IDT Aluzinc (Aluminium for coastal areas) longspan roofing sheets as roof covering laid on hardwood with and including all associated accessories
A | Pitch; 18 degrees | 372 | m²
B | Ditto, preformed ridge and hip caps, 450mm girth | 48 | m
CLADDING/ COVERING TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
G. STRUCTURAL/ CARCASING METAL/ TIMBER
G20: CARPENTRY/ TIMBER FRAMING/ FIRST FIXING
Sawn hardwood (Odum) treated with preservative
A | (50 x 100)mm wallplate | 73 | m
B | (50 x 150)mm purlins | 457 | m
C | (50 x 150)mm common rafters | 362 | m
D | (50 x 150)mm hip rafters | 83 | m
E | (50 x 150)mm ridge board | 20 | m
F | (50 x 50)mm ceiling noggins | 1116 | m
G | (50 x 50)mm ceiling hangers | 92 | m
H | (25 x 300)mm fascia board, on edge splayed | 76 | m
J | Include a Provisional Sum for carpenter's metal work |  | Item
STRUCTURAL/ CARCASING METAL/ TIMBER TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
WINDOWS/ DOORS/ STAIRS
L20: TIMBER DOORS/ SHUTTERS/ HATCHES
Panelled Doors
Polished Panelled doors in four panels; 144mm wide stiles and top rail;194mm wide intermediate rail; 244mm wide bottom rail; each panel open and rebated for wood
A | (800 x 2050 x 45)mm thick, overall size (900 x 2100)mm | 1 | Nr
B | (600 x 2050 x 45)mm thick, overall size (1200 x 2100)mm double-leaf | 1 | Nr
C | (600 x 2050 x 45)mm thick, overall size (1200 x 2100)mm double-leaf | 3 | Nr
Ledged Braced Battened Windows
20mm x 100mm vertical tongued and grooved boarding nailed to 20mm x 150mm top and bottom ledges and hanging stiles, 20mm x 150mm middle ledges and braces with mortice and tenon joints at corners
D | (675 x 1200 x 45)mm thick, overall size (1350 x 1200)mm, double-bay | 12 | Nr
E | (900 x 1200 x 45)mm thick, overall size (1800 x 1200)mm, double-bay | 6 | Nr
Total Carried Fwd
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Total Brought Fwd
WINDOWS/ DOORS/ STAIRS (Cont'd)
Hardwood treated with preservative; wrought
Door/ Window frames
A | (50 x 150)mm door/window frame plugged to blockwall or concrete, odum or equally approved | 138 | m
B | (12 x 50)mm window battens | 28 | m
C | (20 x 20)mm louvre stops | 18 | m
D | (12 x 50)mm door stop | 27 | m
'Naco' louvre carriers screwed to hardwood with clips to receive louvre blades size:
E | 1200mm long for 8Nr blades | 10 | prs
L40: General Glazing
6mm thick x 150mm wide thick louvre blades with rounded edges fixed into clips of louvre carriers
F | 900mm long | 80 | Nr
WINDOWS/ DOORS/ STAIRS TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
ELECTRICAL INSTALLATION
A | Include a Provisional sum for supply and installation of approved electrical cables/conduits, lighting points, fittings and accessories including testing and commissioning |  | Item
B | Include a Provisional sum for connection to the National Grid |  | Item
ELECTRICAL INSTALLATION TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
SURFACE FINISHES
M10: CEMENT SAND/ CONCRETE/ GRANOLITHIC/ SCREEDS/ FLOORING
Floor Finishings
Screed; Cement and Sand (1:3)
50mm thick work to floors on concrete base; screeded
A | Level and to falls only but not exceeding 15 degrees from the horizontal cast in bays of (1200 x 1200)mm | 233 | m²
M40: STONE/ CONCRETE/ QUARRY/ CERAMIC TILING/ MOSAIC
Porcelain floor tiles, unpolished finish; symmetrical layout; bedding in kerabond adhesive cement; pointing with grout
(600 x 600 x 10)mm units to floors on sand and cement base; level or to falls only not exceeding 15 degrees from horizontal
B | Plain, internally and externally | 31 | m²
M10: CEMENT SAND/ CONCRETE/ GRANOLITHIC/ SCREEDS/ FLOORING
Wall Finishings
Mortar, cement and sand (1:3)
12mm thick work to walls on concrete or blockwork base; backing
C | Width exceeding 300mm | 598 | m²
| To Collection |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
SURFACE FINISHES (Cont'd)
M60: PAINTING AND CLEAR FINISHING
One coat preparatory primer and two coats of 'coral' acrylic emulsion paint internally and externally on
Cement and Sand rendered walls
A | Girth exceeding 300mm | 598 | m²
Soffit of Plywood Ceiling
B | Girth exceeding 300mm | 260 | m²
One coat preparatory primer and two coats of oil paint on general hardwood surfaces
C | Girth exceeding 300mm | 332 | m²
One coat preparatory primer and two coats of oil paint on isolated hardwood surfaces frames
D | Girth not exceeding 300mm | 138 | m
E | Fascia or badge board | 46 | m²
Wood Primer
Prime back only of joinery before fixing
F | Girth not exceeding 300mm | 138 | m
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Collection
Page No.''
Page No.''
SURFACE FINISHES TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
LININGS/ SHEATING/ DRY PARTITIONING
K11: RIGID SHEET FLOORING/ SHEATHING/ LININGS/ CASINGS
CEILING FINISHES
Wrought treated hardwood
A | 12mm x 38mm cover battens | 177 | m
Plain sheet finishing
B | 1200mm x 1200mm x 6mm thick plywood fixed to 600 x 600mm hardwood soffits (measured elsewhere) | 213 | m²
C | 600mm x 600mm x 6mm thick exterior quality plywood fixed to 600 x 600mm hardwood soffits, as eaves (measured elsewhere) | 30 | m²
Marker Board
D | 38mm thick plywood with white formica finishing as marker board mounted and fixed to masonry size (4.0 x 1.5)m as approved by the Project Manager | 3 | Nr
LININGS/ SHEATING/ DRY PARTITIONING TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BUILDING FABRIC SUNDRIES
P21: IRONMONGERY
Ironmongery
To hardwood and the like
A | Pair, stainless steel double ball bearing butt hinges size (100 x 75 x 3)mm or any other approved make | 81 | Nr
B | Approved brass barrel bolt | 44 | Nr
C | Approved mortice lock with set lever handle furniture | 2 | Nr
D | Approved hasp and staple | 3 | Nr
E | Approved heavy duty padlock | 3 | Nr
Burglar proofing
F | (50 x 50)mm welded mesh nailed to hardwood with cover battens (ms) | 11 | m²
G | Fibre insect proof netting nailed to hardwood with cover battens (m/s) | 11 | m²
H | 19mm diameter reinforcement bar bored hole as buglar proofing | 69 | m
BUILDING FABRIC SUNDRIES TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
EXTERNAL AND DRAINAGE WORKS
Aprons and Drains
A | Include a Provisional Sum for construction of Aprons and Drains all around the entire structure to protect the structure as approved by the Project Manager |  | Item
EXTERNAL AND DRAINAGE WORKS TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BILL NO. 2: SUMMARY
SUBSTRUCTURE
SUPERSTRUCTURE
INSITU CONCRETE
MASONRY
CLADDING/ COVERING
STRUCTURAL/ CARCASING METAL/ TIMBER
WINDOWS/ DOORS/ STAIRS
ELECTRICAL INSTALLATION
SURFACE FINISHES
LININGS/ SHEATING/ DRY PARTITIONING
BUILDING FABRIC SUNDRIES
EXTERNAL AND DRAINAGE
BILL NO. 2: 1NO. 3-UNIT CLASSROOM BLOCK CARRIED TO GENERAL SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BILL NO.3: 1NO. 3-SEATER W.C. TOILET/ URINAL BLOCK
EXCAVATION AND EARTHWORKS
Site Clearance
A | Clear site of bushes and shrubs; cut down small trees; grubs up roots and burn on site | 41 | m²
B | Excavate oversite 150mm deep to remove top soil and other vegetable matter, load up and wheel a distance not exceeding 100 linear metres and deposit in spoil heaps where directed by the consultant | 41 | m²
Excavate and Earthworks
C | Excavate foundation trench not exceeding 1.50m deep commencing at formation level | 7 | m³
D | Excavate to pit for column base not exceeding 1.50m deep commencing at formation level | 12 | m³
E | Excavate to reduce levels commencing at stripped levels | 1 | m³
F | Extra over excavation and disposal for breaking up rock | 2 | m³
G | Backfill selected excavated material around foundations | 13 | m³
H | Remove surplus excavated materials from site | 6 | m³
J | Approved laterite filling in making up levels under floors | 3 | m³
K | 20mm diameter ganite chippings spread on compacted earth (m/s) 150mm thick | 36 | m²
L | Level and compact surfaces of excavation | 11 | m²
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Concrete Works
Plain in situ concrete grade 15
A | 50mm blinding | 5 | m²
B | Foundation | 1 | m³
C | Urinal slab average 150mm thick laid on compated earth (m/s) | 3 | m²
Reinforced in situ concrete grade 20
D | Column base | 1 | m³
E | Column | 1 | m³
F | 125mm floor bed | 11 | m²
Mild steel round bar reinforcement as described
G | 12mm diameter bar in column base | 85 | kg
H | 12mm diameter bar in column | 62 | kg
J | 10mm ditto in links ditto | 21 | kg
Sawn formwork
K | Side of column base | 7 | m²
L | Side of column | 5 | m²
M | Edge of slab 125mm high | 16 | m
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Blockwork
Solid Sandcrete Blockwork in cement mortar (1:4)
A | 150mm wall | 36 | m²
Finishings
B | 13mm thick cement and sand | 8 | m²
Painting and decorating
C | Prepare, seal and apply one undercoat and two finishing coats of emulsion paint on rendered wall | 8 | m²
To Collection
COLLECTION
Page No.''
Page No.''
Page No.''
SUBSTRUCTURE
CARRIED TO BILL No.3 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
CONCRETE WORKS
Reinforced in situ concrete grade 20
A | Column | 1 | m³
B | Lintel/tie beam | 1 | m³
Mild steel round bar reinforcement as described
C | 12mm diameter bar in column | 74 | kg
D | 10mm in ditto in stirrups in sitto | 33 | kg
E | 12mm diametern bar in lintel/tie beam | 24 | kg
F | 10mm ditto in links in ditto | 17 | kg
Sawn formwork
G | Sides and soffit of lintel | 4 | m²
H | Sides of column | 9 | m²
Precast concrete grade 20
J | (175 x 50)mm thick once weather twice throated precast concrete coping cast in convenient lengths and bedded in cement mortar (1:3) | 10 | m
CONCRETE WORKS
CARRIED TO BILL No. 3 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BLOCKWORK
A | Solid sandcrete block work, 150mm, in cement mortar (1:4) | 46 | m²
Erect, plumb, level and build in the following (50 x 100)mm hardwood frames as blockwork
B | Window frame size 750mm x 600mm | 3 | Nr.
C | Door frame size 750mm x 2100mm | 3 | Nr.
BLOCK WORK
CARRIED TO BILL No. 3 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
ROOFING
0.4mm thick corrugated chromate green coloured "aluzinc" roofing sheet fixed with one and half corrugations side laps and 150mm end laps to hardwood purlins (measured separately) with aluminium drive scews and washers
A | Sloping roofing sheets | 15 | m²
Sawn treated hardwood
B | 50mm x 75mm sprockets or purlins | 32 | m
C | 50mm x 100mm pulins | 10 | m
Wrought treated hardwood
D | 25mm x 300mm fascia board | 16 | m
ROOFING
CARRIED TO BILL No.3 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
JOINERY
Windows
Wrought treated hardwood
A | (20 x 20)mm planted stop | 8 | m
B | 50mm x 150mm window frame | 8 | m
Doors
Wrought treated hardwood
C | 12mm x 38mm planted stop | 14 | m
D | 50mm x 150mm door frame | 15 | m
E | Panelled doors; 144mm wide stiles and top rail; 194mm wide intermediate rail; 244mm wide bottom rail; each panel open and rebated for wood; Single leaf door; (750 x 2050 x 45)mm thick, overall size (800 x 2100)mm | 3 | Nr.
F | Prefabricated metal doors; size: (2100 x 750)mm, including painting | 2 | Nr.
G | Ditto; size: (900 x 750)mm, including painting | 2 | Nr.
H | (12 x 12)mm batten 450mm long fixed to window as stay | 3 | Nr.
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
JOINERY (Cont'd)
Ironmongery
Provide and fis the following ironmongery to hardwood with suitable screws
A | Set of 6mm thick straight bar L-shaped galvanized steel hasp and staple (90 x 152)mm as in door/windows details | 3 | Nr.
B | Pair 100mm brass butt hinges | 3 | Nr.
C | 150mmm brass barrel bolt | 3 | Nr.
D | Heavy duty padlock | 3 | Nr.
To Collection
COLLECTION
Page No.''
Page No.''
JOINERY
CARRIED TO BILL No.3 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
PLUMBING INSTALLATION
Sanitary Installation
Waste pipework
Unplastized PVC pipework and fittings to BSA514:1969 buried in blockwork for fixed to blockworks with PVC clips
A | 40mm diameter pipe | 20 | m
B | 40mm diameter bend | 4 | Nr.
C | Extra for 40mm diameter bottle trap | 2 | Nr.
Soil and vent pipework
Unplastized PVC pipework and fittings to BSA514:1969 buried in blockwork for fixed to blockworks with PVC clips
D | 100mm diameter vent pipe support with pipe clips at 1200mm centres | 12 | m
E | Extra for 100mm bend | 3 | Nr.
F | Extra for 100mm WC connector bend | 3 | Nr.
G | 100mm copper wire balloon grating fixed on to of vent pipe | 3 | Nr.
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
PLUMBING INSTALLATION (Cont'd)
Cold water installation
UPVC pipework built into chases in blockwork
A | 19mm diameter pipe | 10 | m
B | 19mm diameter bend | 2 | Nr.
C | 19mm diameter tee | 2 | Nr.
D | 19mm diameter tank connector | 3 | Nr.
E | 19mm - 12mm reducer | 1 | Nr.
F | 12mm diameter pipe | 20 | Nr.
G | 12mm diameter bend | 5 | Nr.
H | 12mm diameter tee | 2 | Nr.
Sanitary appliances
Provide, unload, assemble and install the following sanitary appliances where shown on drawings
J | Vitreous China squat-type W.C suite with strap complete with overhead ceamic sisten | 3 | Nr.
K | Chromium plated toilet roll holder | 3 | Nr.
L | Twyford regular shape vitreous china white wash hand basin (standard size) or approved equal including all necessary accessories | 3 | Nr.
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
COLLECTION
Page No. ''
Page No.''
PLUMBING INSTALLATION
CARRIED TO BILL NO.3 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
WALL, FLOOR AND CEILING FINISHINGS
13mm thick cement and sand (1:6) render
A | Wall | 90 | m²
B | Wall not exceeding 200mm wide | 1 | m²
Tile finishing
C | Glazed ceramic wall tiles fixed to screeded backing (m/s) | 10 | m²
D | Glazed ceramic floor tiles fixed to screeded backing (m/s) | 10 | m²
Beds and Backing
Cement and sand (1:3)
E | 13mm backing to recive wall tiles | 10 | m²
F | 25mm thick cement/sand (1:3) benching on urinal slab | 2 | m²
G | 38mm trowelled paving | 8 | m²
H | Extra over 25mm thick benching for forming 150mm diamter channel | 3 | m²
WALL, FLOOR AND CEILING FINISHING
TO BILL No. 3 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
PAINTING AND DECORATING
Prepare and apply one mist coat and two coats of emulsion paint as described on:
A | Wall | 48 | m²
B | Precast concrete coping | 2 | m²
Prepare and apply on undercoat and two finishing coats of oil gloss paint as described on:
C | Wall | 42 | m²
Prepare and apply on undercoat and two finishing coats of oil gloss paint as described on:
D | General surface (jalousie windows measured flat overall) | 3 | m²
E | General surfaces (doors) | 9 | m²
F | Door and window frames not exceeding 300mm girth | 7 | m²
G | Fascia or barge board not exceeding 300mm girth | 5 | m²
PAINTING AND DECORATING
CARRIED TO BILL No.3 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
EXTERNAL WORKS (A)
Entrance steps
A | Excavate for steps not exceeding 1.50m deep commencing at ground level | 2 | m³
B | Backfill around foundations with selected excavated material | 1 | m³
C | Load and cart away surplus excavated materials from site | 1 | m³
D | Laterite filling to make up levels under steps | 1 | m³
E | Concrete grade C15 in foundation to entrance steps | 1 | m³
F | Ditto in entrance steps | 2 | m³
G | Sawn formwork to riser of steps 150mm high | 7 | m
H | 13mm thick cement and sand render (1:4) to riser of steps 150mm high | 1 | m³
J | 38mm thick cement and sand (1:3) floated paving on tread 300mm high | 1 | m³
K | Prepare and apply two coats oil gloss paint on wall | 1 | m³
EXTERNAL WORKS (A)
TO BILL No. 3 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
EXTERNAL WORKS (B) DRAINAGE
(a) Septic Tank
A | Excavate pit for septic tank not exceeding 1.50m deep commencing at gound level | 19 | m³
B | Ditto over 1.50m but not exceeding 3.00m deep ditto | 16 | m³
C | Extra over for excavation in rock | 2 | m³
D | Backfill selected excavted material around foundations | 18 | m³
E | Remove surplus excavated material from site | 17 | m³
F | Plain in situ grade C15 in 50mm bed | 15 | m²
G | Plain in situ grade C20 in 150mm bed | 13 | m²
H | Reinforced in situ concrete grade C20 in column | 0.4 | m³
J | Ditto in 150mm horizonatal suspended slab | 6 | m²
K | 12mm diameter mild steel round bar reinforcement in column | 64 | kg
L | 10mm ditto ditto | 25 | kg
M | 12mm Diameter mild steel round bar reinforcement in slab | 45 | kg
N | 10mm ditto | 23 | kg
B/F
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
C/F
Septic Tank (Cont'd)
A | Sawn formwork ro soffit of suspended slab | 5 | m²
B | Ditto to sides of column | 10 | m²
C | Sawn formwork to edge of slab 150mm high | 18 | m²
D | (50 x 75)mm hardwood planted on formwork as rebate | 7 | m
E | 150mm thick (average) benching in bottom of septic tank | 4 | m²
F | 900mm x 900mm x 50mm precast grade C20 manhole cover reinforced with approximately 5kg of mild steel (m.s.) round bar reinforcement and finished fair on all exposed surface including 10mm diameter(m.s) lifting handles | 3 | nr.
G | 150mm solid sandcrete blockwork wall jointed in cement mortar (1:4) | 30 | m²
H | Ditto in baffle | 2 | m²
J | 13mm thick cement and sand render (1:4) on wall | 29 | m²
K | Ditto on concrete soffits | 4 | m²
L | 38mm thick cement and sand (1:4) screeded bed on slab | 6 | m²
M | 100mm PVC tee built into blockwork | 3 | m²
Septic Tank - To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
(b) Soakaway Pit
A | Excavate pit or soakaway not exceeding 1.50m deep commencing at ground level | 5 | m³
B | Ditto over 1.50m but exceeding 3.00m deep ditto | 3 | m³
C | Remove surplus excavated material from site | 8 | m³
D | Graded stone filling in soakaway pit | 8 | m³
E | Aluminium roofing sheet in covering to soakaway pit | 3 | m³
Soakaway Pit - To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
( c) Soil Pipework
A | Excavate trench for 100mm pipe not exceeding 1.50m deep (average 1.0m deep) part return, fill and well ram and remove surplus excavated material from site | 35 | m
B | 100mm diameter UPVC waste pipe laid and jointed in trench | 35 | m
Soil Pipework - To Collection
(d) The following in Inspection Chmabers
C | Excavate pit for inspection chamber not exceeding 1.50m deep commencing at ground | 3 | m³
D | Backfill selected excavated material around foundations | 2 | m³
E | Remove surplus excavated material from site | 1 | m³
F | Plain insitu concrete grade 15 in 100mm bed | 3 | m²
G | Sawn formwork to edge of bed 100mm high | 15 | m
H | 150mm solid sandcrete blockwork wall jointed cement : sand (1:4) mortar | 13 | m²
| Inspection Chambers - To Collection |  |  |  |  | 1500
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
(e) Water Connection
Builder's work in connection with water supply (Provisional)
A | Excavate trench for water pipe not exceeding 1.50m deep including planking and strutting. Levelling and ramming bottom of excavation to falls; backfilling and carting away surplus excavated material | 50 | m
B | Provide, lay and join 12mm diameter PVC pipe in trench | 50 | m
C | Ditto 12mm diameter PVC elbow | 4 | nr.
D | Ditto 12mm diameter PVC tee | 4 | nr.
Water Connection- To collection
COLLECTION
Septic Tank
Soakaway Pit
Soil Pipework
Inspection Chambers
Water Connection
EXTERNAL WORKS (B) DRAINAGE
CARRIED TO BILL No.3 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BILL NO.3: SUMMARY
SUBSTRUCTURE
CONCRETE WORKS
BLOCK WORK
ROOFING
JOINERY
PLUMBING INSTALLATION
WALL, FLOOR AND CEILING FINISHINGS
PAINTING AND DECORATING
EXTERNAL WORKS (A)
EXTERNAL WORKS (B) DRAINAGE
BILL NO.3: 1NO. 3-SEATER W.C. TOILET/URINAL BLOCK
CARRIED TO GENERAL SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
GENERAL SUMMARY
BILL NO. 1: PRELIMINARIES
BILL NO. 2: 1NO. 3-UNIT CLASSROOM BLOCK
BILL NO.3: 1NO. 3-SEATER W.C. TOILET/URINAL BLOCK
TOTAL ESTIMATED COST OF WORKS
CARRIED TO FORM OF TENDER