## BOQ
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BILLS OF QUANTITIES FOR THE CONSTRUCTION AND FURNISHING OF 1NO. CHPS COMPOUND AT NSUANAN
BILL NO. 1: GENERAL ITEMS (PRELIMINARIES)
(The Contractor is free to price for additional items under Preliminaries not included in the list below)
A | Performance Security
B | Provision of offices for the use by the Contractor
C | Maintenance of Contractor's office
D | Offices for the use by the Engineer
E | Progress photographs
F | Watching and protection of the works
G | Transportation for the workmen
H | First Aid Equipment
J | Safety clothing, and health and safety
K | Project signboard
L | Setting-out of the works
M | Supervision of works
N | Plant, tools, equipment and vehicles for the works
P | Permit acquisition fee
Total Carried to Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
A | Water for the works
B | Power for the works
C | Allow for providing all scaffolding and apparatus profiles and apparatus generally required for the proper execution of the works. The contractor shall provide without extra charge all labour and equipment of apparatus required by the Engineer for the testing and measuring the works and for weighing, providing or testing the efficiency of any portion of the works.
Total Carried to Collection
COLLECTION
| Page No. 1/1 |  |  |  | 0
| Page No. 1/2 |  |  |  | 0
BILL NO. 1 - PRELIMINARIES
CARRIED TO GENERAL SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BILL NO. 2: SUPERSTRUCTURE
(ALL PROVISIONAL)
D. GROUNDWORK
D20: Excavating and Filling
Site Preparation
Clear site vegetation; filling voids left by removal of roots with selected material arising from excavation
A | Bushes, shrub, undergrowth, hedges, trees and tree stumps not exceeding 600mm girth | 900 | m²
Excavating
Topsoil for preservation
B | Average 150mm deep | 120 | m²
Pits
C | Maximum depth not exceeding 1.00m | 10 | m³
Trenches width exceeding 0.30m
D | Maximum depth not exceeding 1.00m | 50 | m³
Excavated materials arising from excavation
Filling to excavation
E | Average thickness not exceeding 0.25m | 28 | m³
Disposal
F | Disposal of excavated material off site | 32 | m³
Approved imported laterite or hardcore
Filling to make up levels; depositing and compacting in layers of 150mm maximum thickness
G | Average thickness exceeding 0.25m | 68 | m³
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
INSITU CONCRETE/ LARGE PRECAST CONCRETE
E10: INSITU CONCRETE
Plain insitu concrete; 1:4:8; 15N/mm2, 25mm aggregate vibrated
Blinding beds
A | Thickness not exceeding 50mm thick | 11 | m²
Plain insitu concrete; 1:3:6; 15N/mm2, 25mm aggregate vibrated
Foundations
B | Generally | 17 | m³
Beds
C | Thickness exceeding 125mm | 26 | m³
Reinforced insitu concrete 1:2:4; 20N/mm2, 19mm aggregate; vibrated
Pad foundations
D | Generally | 3 | m³
Reinforced insitu concrete 1:2:4; 30N/mm2, 16mm aggregate; vibrated
Columns
E | Generally | 1 | m³
E20: FORMWORK FOR INSITU CONCRETE
Formwork and basic finish
Edges of bed; plain vertical
F | Height not exceeding 250mm | 76 | m
Columns; Isolated
G | Regular shape; rectangular | 25 | m²
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
E30: REINFROCEMENT FOR INSITU CONCRETE
Reinforcement bars, steel grade 250N/mm2, hot rolled plain round mild steel
Straight or Bent
A | 12mm diameter in pad | 213 | kg
B | 12mm diameter in columns | 294 | kg
C | 8mm ditto | 48 | kg
MASONRY
F10: BRICK/ BLOCK WALLING
Sandcrete blocks, B.S. 6073, 450 x 215mm solid compressive strength 5.2N/mm2; in cement and sand mortar (1:4)
Walls
D | 150mm thick; stretcher bond | 129 | m²
J30: DAMP PROOF MEMBRANES
Polythene sheeting; lapped joints; 250 microns; 0.02mm thick
Damp proofing
E | General surfaces | 174 | m²
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
SURFACE FINISHES
M20: PLASTERED/ RENDERED/ ROUGHCAST COATINGS
Mortar, cement and sand (1:4), trowelled smooth
13mm work to walls on brickwork or blockwork
A | Width exceeding 300mm | 57 | m²
M60: PAINTING/CLEAR FINISHINGS
One coat sealer, two coats of 'coral' acrylic paint
Cement rendered general surface
B | Girth exceeding 300mm | 57 | m²
To Collection
Collection
Page No. ''
Page No. ''
Page No. ''
SUBSTRUCTURE TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
SUPERSTRUCTURE
GROUND FLOOR
INSITU CONCRETE/ LARGE PRECAST CONCRETE
E30: INSITU CONCRETE
Reinforced insitu concrete 1:2:4; 30N/mm2, 16mm aggregate; vibrated
Columns
A | Generally | 4 | m³
Beam
B | Generally | 5 | m³
Plain insitu concrete; 1:3:6; 15N/mm2, 25mm aggregate vibrated
C | Ramp and steps, thickness exceeding 150mm | 6 | m³
E20: FORMWORK FOR INSITU CONCRETE
Formwork and basic finsih
Columns
D | Regular shape; rectangular | 82 | m²
Sides and Soffits of Beam
E | Regular shape; rectangular | 74 | m²
Sides of Ramps and Steps
G | Regular shape | 8 | m²
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
E30: REINFROCEMENT FOR INSITU CONCRETE
Reinforcement bars, grade 250N/mm2, hot rolled plain round mild steel
Straight/Bent
A | 12mm diameter in columns | 702 | kg
B | 12mm ditto in beams | 497 | kg
C | 8mm ditto in columns (stirrups) | 101 | kg
D | 8mm ditto in beams (stirrups) | 110 | kg
To Collection
Collection
Page No. ''
Page No. ''
INSITU CONCRETE TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
MASONRY
F10: BRICK/ BLOCK WALLING
Sandcrete blocks, B.S. 6073, 450 x 215mm solid compressive strength 5.2N/mm2; in cement and sand mortar (1:4)
Walls
A | 125mm thick; stretcher bond | 414 | m²
B | Ditto 100mm thick | 23 | m²
MASONRY TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
H: CLADDING/ COVERING
H72 - ALUMINIUM LONGSPAN COVERING
0.40mm IDT Aluzinc (Aluminium for coastal areas) longspan roofing sheets as roof covering laid on hardwood with and including all associated accessories
A | Pitch; 18o | 289 | m²
B | Ditto, preformed ridge capping, 450mm girth | 62 | m
CLADDING/COVERING TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
G. STRUCTURAL/ CARCASING METAL/ TIMBER
G20: CARPENTRY/ TIMBER FRAMING/ FIRST FIXING
Sawn hardwood (Odum) treated with preservative
A | (50 x 100)mm wallplate | 111 | m
B | (50 x 75)mm purlins | 332 | m
C | (50 x 150)mm common rafters | 245 | m
D | (50 x 150)mm hip rafters | 99 | m
E | (50 x 150)mm ridge board | 102 | m
F | (50 x 150)mm struts and tie piece | 126 | m
G | (50 x 150)mm collar | 104 | m
H | (50 x 150)mm post | 102 | m
J | (50 x 50)mm ceiling noggings | 160 | m
K | (50 x 50)mm ceiling joist | 431 | m
L | (50 x 50)mm ceiling hangers | 151 | m
M | (25 x 300)mm fascia board, on edge splayed | 90 | m
N | Include a Provisional Sum for carpenter's metal work |  | Item
STRUCTURAL/CARCASING METAL/TIMBER TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
WINDOWS/ DOORS/ STAIRS
L20: TIMBER DOORS/ SHUTTERS/ HATCHES
Panelled Doors
Polished Panelled doors in four panels; 144mm wide stiles and top rail;194mm wide intermediate rail; 244mm wide bottom rail; each panel open and rebated for wood;
A | Single leaf door; (800 x 2050 x 45)mm thick, overall size (900 x 2100)mm | 13 | nr
B | Double leaf door; size (900 x 2050 x 45)mm thick, overall size (1800 x 2100)mm | 1 | nr
40mm thick skeleton framed flush door faced both sides with exterior quality plywood and hardwood lipping to edges all round;
C | Single leaf door; (650 x 2050mm x 45)mm overall size (750 x 2100)mm | 6 | nr
E | Trap door size (825 x 2025)mm | 3 | nr
F | Metal folded gate size | 1 | nr
Hardwood treated with preservative; wrought
Door/ Window frames
G | (50 x 150)mm door/window frame plugged to blockwall or concrete, odum or equally approved | 197 | m
H | (12 x 50)mm window battens | 101 | m
J | (12 x 50)mm door stop and louvre stop | 69 | m
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
WINDOWS/ DOORS/ STAIRS (Cont'd)
'Naco' louvre carriers screwed to hardwood with clips to receive louvre blades size:
A | Pair, 1200mm long for 8nr blades | 39 | nr
B | Ditto, 600mm ditto for 5nr blades | 8 | nr
L40: General Glazing
6mm thick x 150mm wide thick louvre blades with rounded edges fixed into clips of louvre carriers
C | 900mm long | 280 | nr
D | 750mm long | 62 | nr
To Collection
Collection
Page No. ''
Page No. ''
WINDOWS/ DOORS/ STAIRS TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
ELECTRICAL INSTALLATION
A | Include a Provisional Sum for supply and installation of approved electrical cables/ conduits, lighting points, fittings and accessories including testing and commissioning |  | Item
B | Include a Provisional Sum for connection to the National Grid |  | Item
ELECTRICAL INSTALLATION TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
PLUMBING INSTALLATION
Waste Pipe
A | Include a Provisional Sum for all waste pipework and fittings to BS4514:1969 |  | Item
Soil and Vent Pipework
UPVC pipework and fittings to BS4514:1969
B | Include a Provisional Sum for all UPVC pipework and fittings to BS4514:1969 |  | Item
Cold Water Installation
C | Include a Provisional Sum for Cold Water Installation |  | Item
N13 SANITARY APPLIANCES AND FITTINGS
Sanitary Appliances
D | Twyford or approved equivalent, white vitreous china WC suite standard size comprising the following: | 4 | nr
i) WC pot with S trap.
ii) Cistern, with double flash plates for small & large volume control of 6 litre and 3 litre capacities
iii) Valve fitting with plastic syphon and support
iv) Inlet & outlet connections.
v) Plastic seat and cover.
E | Twyford regular shape vitreous china white wash hand basin (standard size) or approved equal including all necessary accessories | 3 | nr
F | 900mm long chromium plated towel rail | 2 | nr
G | 150mm long chromium plated toilet roll holder | 4 | nr
Total Carried Fwd
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Total Brought Fwd
PLUMBING INSTALLATION (Cont'd)
A | Chromium plated towel rail 600mm long plugging and screwing to block work | 2 | nr
B | Complete shower unit | 2 | nr
C | Fully recessed soap and sponge holder in vitreous China. Armitage Mayfair or approved equal | 2 | nr
D | Toilet brush holder and brush | 4 | nr
E | 6mm Polished plate glass mirror size (750 x 600)mm high plugged and screwed to blockwall with chromium plated dome headed screws including rubber washers. | 2 | nr
F | Single bowl double drain stainless steel kitchen sink fix into block and concrete stand as directed by the engineer | 1 | nr
PLUMBING INSTALLATION TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
SURFACE FINISHES
M10: CEMENT SAND/ CONCRETE/ GRANOLITHIC/ SCREEDS/ FLOORING
Beds and Backings
Cement and sand (1:4) as described
A | 40mm screeded bed laid level on concrete | 229 | m²
B | 31mm screeded backing to walls | 81 | m²
M40: STONE/ CONCRETE/ QUARRY/ CERAMIC TILING/ MOSAIC
Approved size ceramic tile bedded and jointed in tile cement mortar on screeded beds and backings (both measured seperately)
C | Rustic floor tiling | 205 | m²
D | Non-slip floor tiling | 22 | m²
E | Skirting | 224 | m
Approved size "China" ceramic tile beded and jointed in tile cement mortar on loated backings (both measured seperately)
F | Wall tiling | 98 | m²
Strips
G | Approved wall tile strips set at edges of wall tiles | 213 | m
Total Carried Fwd
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Total Brought Fwd
SURFACE FINISHES (Cont'd)
M10: CEMENT SAND/ CONCRETE/ GRANOLITHIC/ SCREEDS/ FLOORING
Wall Finishings
Mortar, cement and sand (1:3)
12mm thick work to walls on concrete or blockwork base; backing
A | Width exceeding 300mm | 827 | m²
M60: PAINTING AND CLEAR FINISHING
One coat preparatory primer and two coats of 'coral' acrylic emulsion paint internally and externally on
Cement and Sand rendered walls
B | Girth exceeding 300mm | 827 | m²
Soffit of Plywood Ceiling
C | Girth exceeding 300mm | 229 | m²
One coat preparatory primer and two coats of oil paint on general hardwood surfaces
D | Girth exceeding 300mm | 80 | m²
E | Ditto in narrow width girth not exceeding 300mm | 243 | m
Wood Primer
Prime back only of joinery before fixing
F | Girth not exceeding 300mm | 127 | m
SURFACE FINISHES TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
LININGS/ SHEATING/ DRY PARTITIONING
K11: RIGID SHEET FLOORING/ SHEATHING/ LININGS/ CASINGS
CEILING FINISHES
Plain sheet finishing
A | 5mm thick approved plywood in ceiling fixed to hardwood ceiling joist (measured seperately) with ceiling battens | 229 | m²
B | Ditto exterior qualty -do- at eaves | 47 | m²
LININGS/ SHEATING/ DRY PARTITIONING TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BUILDING FABRIC SUNDRIES
P21: IRONMONGERY
Ironmongery
To hardwood and the like
A | Pair, stainless steel double ball bearing butt hinges size (100 x 75 x 3)mm or any other approved make | 21 | nr
B | Mortice lock with set lever handle furniture | 20 | nr
C | Approved brass barrel bolt | 2 | nr
Burglar proofing
D | (50 x 50)mm welded mesh nailed to hardwood with cover battens (ms) | 30 | m²
E | Fibre insect proof netting nailed to hardwood with cover battens (m/s) | 30 | m²
BUILDING FABRIC SUNDRIES TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
N: FURNITURE/ EQUIPMENT
Provide and install the following, electrical appliances, and general furniture and its associated accessories according to the manufacturer's specifications:
Medical Equipment, Furniture/ Other logistics
A | Examination bed | 1 | nr
B | Office table | 3 | nr
C | Office chair | 3 | nr
D | Clients chair | 3 | nr
E | Patients waiting chair | 3 | nr
F | Curtains, 2 in 1 size: (1350 x 2400)mm high, complete with rods and hooks | 12 | nr
G | Fridge (tabletop) | 1 | nr
H | Folders cabinet | 1 | nr
J | Notice board | 1 | nr
K | Wall clock | 2 | nr
L | Fire extinguisher | 2 | nr
FURNITURE/ EQUIPMENT TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
EXTERNAL AND DRAINAGE WORKS
(A) Aprons and Drains
A | Include a Provisional Sum for construction of Aprons and Drains all around the entire structure to protect the structure as approved by the Project Manager |  | Item
Apron and Drains
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
(B) Septic Tank
A | Excavate pits maximum depth not exceeding 3.00m | 54 | m³
Filling
B | Backfilling to excavations with selected excavated materials | 9 | m³
C | Remove surplus excavated material from site | 45 | m³
Plain in-situ concrete (Grade 20) in:
D | 225mm thick bed | 17 | m²
Reinforced vibrated in-situ concrete (Grade 25) in:
E | 150mm thick suspended slab | 17 | m²
F | Columns | 1 | m³
G | Beams | 1 | m³
Reinforcement bars; BS 4449 hot rolled plain round mild steel:
H | 12mm diameter bars in slab | 258 | kg
J | 12mm diameter bar in beams | 66 | kg
K | 12mm diameter bar in columns | 75 | kg
L | 10mm diameter bars as stirrups in column | 45 | kg
M | 10mm diameter bars as links in beams | 57 | kg
Total Carried Fwd
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Total Brought Fwd
(B) Septic Tank (Cont'd)
Sawn formwork to:
A | Soffit of slab | 17 | m²
B | Sides of beam | 14 | m²
C | Sides of columns | 12 | m²
D | Edges of slab | 17 | m
Solid sandcrete blockwork in cement and sand (1:6) mortar
Walls:
E | 150mm thick | 52 | m²
Cement and Sand (1:4) render:
F | 13mm thick render to internal walls | 62 | m²
G | 13mm thick render to plinth walls; width not exceeding 300mm | 5 | m²
H | 50mm thick screeded bed in pit | 17 | m²
J | Ditto surface of slab | 17 | m²
K | 600mm x 600mm x 75mm thick r.c. cover slabs with 10mm diameter rod handles | 3 | nr
Septic Tank
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
(C) Soak Away
Excavating
A | Pits maximum depth not exceeding 3.00m | 16 | m³
B | Backfilling to excavations with selected excavated materials | 3 | m³
C | Remove surplus excavated material from site | 13 | m³
Boulders Fill
D | Selected boulders in soakaway not 300mm sizes | 13 | m³
Plain in-situ concrete (Grade 15) in:
E | 225mm thick bed | 4 | m²
Reinforced Pre-cast concrete Slab
F | (560 x 2150 x 75)mm thick precast concrete cover slab on soak away chamber reinforced with 12mm diameter mild steel bars at 150mm centres in both ways | 5 | nr
Sawn formwork to:
G | Edges of bed 225mm wide | 15 | m
Solid sandcrete blockwork in cement and sand (1:6) mortar:
H | 150mm thick honeycomb wall | 21 | m²
Plasterwork and other finishing
J | 13mm thick render to wall internal | 21 | m²
Soak Away
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
(D) Inspection Chambers
A | Construct 125mm thick solid sandcrete block manhole; internal size 600mm x 600mm x depth not exceeding 750mm and of 100mm thick concrete base, 13mm thick internal plastering to walls and 100mm thick benching as per Project Manager's instructions include all excavation and backfill | 4 | nr
B | (750 x 750)mm ditto | 3 | nr
C | (700 x 700)mm ditto | 2 | nr
Pre-Cast Concrete Slab
D | (600 x 600 x 75)mm thick precast concrete cover slab on soak away chamber reinforced with 12mm diameter mild steel bars at 150mm centres in both ways | 4 | nr
E | (700 x 700)mm ditto | 3 | nr
F | (750 x 750)mm ditto | 2 | nr
Inspection Chambers
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
(E) Soil Pipe
Excavation
A | Excavate trench for 100mm diameter pipe average depth 750mm and backfill after pipes laid in trench | 45 | m
Pipe Works
B | 100mm diameter PVC pipe class "O" jointed with approved adhesive and lay in trench | 45 | m
C | Ditto 100mm elbows | 8 | nr
D | Ditto 100mm T'' | 8 | nr
E | Ditto 100mm Bend ''90°'' | 4 | nr
Soil Pipes
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Collection
Aprons and Drains
Septic Tank
Soak Away
Inspection Chambers
Soil Pipes
EXTERNAL AND DRAINAGE WORKS TO BILL NO.2 SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BILL NO. 2: SUMMARY (1NO. CHPS COMPOUND)
SUBSTRUCTURE
SUPERSTRUCTURE
INSITU CONCRETE
MASONRY
CLADDING/ COVERING
STRUCTURAL/ CARCASING METAL/ TIMBER
WINDOWS/ DOORS/ STAIRS
ELECTRICAL INSTALLATION
PLUMBING INSTALLATION
SURFACE FINISHES
LININGS/ SHEATING/ DRY PARTITIONING
BUILDING FABRIC SUNDRIES
FURNITURE/ EQUIPMENT
EXTERNAL AND DRAINAGE WORKS
BILL NO. 2: 1NO. CHPS COMPOUND CARRIED TO GENERAL SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BILL NO. 3: CONSTRUCTION OF WATER TANK SUPPORT & DRILLING OF MECHANISED BOREHOLE
(A) Construction of Water Tank Support
Substructure
A | Clear site of all weeds, undergrowth, bushes and shrubs; cut down small trees not exceeding 100mm girth; grub up roots rake to heaps and burn on site | 12 | m²
B | Excavate foundation trench not exceeding 1.50m deep commencing at stripped level | 1 | m³
C | Excavate pit for column base not exceeding 1.50m deep commencing at stripped level | 7 | m³
D | Remove surplus excavated material from site | 2 | m³
E | Backfill around foundations with selected excavated material | 7 | m³
F | Approved laterite filling deposited and compacted in layers not exceeding 150mm thick in making up levels under floors beds | 2 | m³
Plain in-situ concrete (Grade 15) as described in
G | 50mm thick blinding | 9 | m²
H | Foundation | 1 | m³
J | Benching fillet at base of tank | 1 | m
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Reinforced in-situ vibrated concrete (Grade 20) as described in:
A | Column base | 1 | m³
B | Column | 1 | m³
C | 125mm thick floor slab | 4 | m²
Reinforcement
Rolled mild steel round bar reinforcement to BS 449 as described in:
D | 12mm diameter bar in column base | 47 | kg
E | 16mm ditto in column | 51 | kg
F | 10mm ditto in stirrups in column | 29 | kg
BRC - 8mm thick Steel fabric mesh reinforcement as described in:
G | 125mm thick floor bed | 4 | m²
Sawn Formwork:
H | Sides of column base | 5 | m²
J | Sides of column | 3 | m²
K | Edge of floor bed 150mm high | 8 | m
Blockwork
Solid sandcrete blockwork in cement mortar (1:4):
L | 150mm thick wall in foundation | 4 | m²
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Finishings
13mm thick cement and sand render (1:6):
A | Sides of external wall | 4 | m²
Superstructure
Reinforced in-situ vibrated concrete (Grade 20) as described in:
B | Column | 1 | m³
C | 125mm thick floor slab | 4 | m²
Reinforcement
Rolled mild steel round bar reinforcement to BS 449 as described in:
D | 12mm diameter bar in Slab | 99 | kg
E | 16mm ditto in column | 58 | kg
F | 10mm ditto in stirrups in column | 34 | kg
Sawn Formwork:
G | Soffit of slab | 4 | m²
H | Sides of column | 8 | m²
J | Edge of floor bed 150mm high | 8 | m
Plasterwork and other finishing:
K | Rendering to column | 8 | m²
L | Rendering to soffit of slab | 12 | m²
To Collection
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
Beds and backings
Cement and sand (1:3):
A | 50mm thick float paving on slab | 4 | m²
Painting and Decorating
Prepare, seal and apply one undercoat and two finishing coats of oil gloss paint on rendered surfaces:
B | Columns | 8 | m²
Water Tanks and Associated Pipeworks
C | "Polytank Rambo" plastic water tank (5000 litres) with 13mm brass tap mounted on blockwork water tank supports ( measured separately) | 1 | nr
D | Pipework in connection with the above | 100% | Item
To Collection
Collection
Page No. ''
Page No. ''
Page No. ''
Page No. ''
Construction of Water Tank Support
To Bill No. 3 Summary
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
(B) Drilling of Mechanised Borehole
A | Include a Provisional Sum for construction of mechanised bore hole, including the supply and installation of 5kw submersible pump of approved make, and necessary pipe connection to storage system |  | Item
Waste Water Pipework
Excavation
B | Excavate trench for 75mm diameter pipe average depth 750mm and backfill after pipes laid in trench | 3 | m³
Pipe Works
C | 75mm diameter PVC pipe class "O" jointed with approved adhesive and lay in trench | 3 | m
D | 75mm x 75mm floor grating | 1 | nr
E | 75mm 90o bend | 1 | nr
Drilling of Mechanised Borehole
To Bill No. 3 Summary
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
BILL NO. 3 SUMMARY
CONSTRUCTION OF WATER STAND SUPPORT
DRILLING OF MECHANISED BOREHOLE
BILL NO. 3: CONSTRUCTION OF WATER TANK SUPPORT & DRILLING OF MECHANISED BOREHOLE TO GENERAL SUMMARY
ITEM | DESCRIPTION | QTY | UNIT | RATE (GH¢) | AMOUNT (GH¢)
GENERAL SUMMARY
BILL NO. 1: GENERAL ITEMS (PRELIMINARIES)
BILL NO. 2: 1NO. CHPS COMPOUND CARRIED TO GENERAL SUMMARY
BILL NO. 3: CONSTRUCTION OF WATER TANK SUPPORT & DRILLING OF MECHANISED BOREHOLE
TOTAL ESTIMATED COST OF WORKS
CARRIED TO FORM OF TENDER